## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-02 14:15:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.2 | 48.5 | 32.1 | 48.55 | 32.25 | 48.65 | 1.5 | 1 | 30.1 | 30.45 | 30.2 | 30.05 | 29.95 | 29.95 | 29.95 | 204.9 | 114.4 | 146.05 | 223.75 | 422.5 | 217.4
2026-09-02 14:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31.97 | 48.7 | 31.78 | 49.01 | 31.73 | 49.41 | 1.91 | 1.91 | 29.94 | 29.87 | 29.58 | 29.28 | 29.81 | 29.66 | 29.37 | 82.85 | 94.93 | 168.12 | 158.81 | 119.03 | 30.58 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.27 | 48.32 | 32.22 | 48.3 | 32.29 | 48.45 | 1.93 | 1.82 | 30.31 | 30.5 | 30.22 | 30.06 | 30.1 | 30 | 30 | 235.52 | 164.88 | 186.62 | 245.99 | 508.84 | 257.56
2026-09-02 14:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.08 | 48.67 | 32.02 | 48.67 | 31.79 | 49.36 | 1.34 | 1.33 | 31.62 | 31.49 | 30.64 | 30.53 | 30.66 | 30.23 | 29.79 | 38.54 | 51.76 | 107.01 | 85.53 | 58.49 | 25.55 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.31 | 48.32 | 32.25 | 48.23 | 32.22 | 48.76 | 1.33 | 1.24 | 30.24 | 30.48 | 30.26 | 30.11 | 29.92 | 29.84 | 29.89 | 233.68 | 128.04 | 164.3 | 249.35 | 471.72 | 236.19
2026-09-02 15:15:00 | [122 empty] | 0.02 | 29.84 | 63.26 | 998 | 300.49
2026-09-02 15:30:00 | [122 empty] | 0.02 | 30.13 | 62.9 | 998 | 307.25
2026-09-02 15:45:00 |  |  |  |  | 41.21 | 0 | 59.87 | 79.45 | 67.16 | -0.5 | 50.84 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 16:45:00 |  |  |  |  | 55.5 | 2 | 0.5 | 38.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:00:00 |  |  |  |  | 27.97 | 0.72 | 0.19 | 15.75 | 0.26 | 0 | 0 | 0 | 0.08 | 0 | 0 | 0 | 0.03 | 0 | 0 | 0
2026-09-03 17:00:00 | 1 | 25.75 | 1 | 0
2026-09-05 11:45:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.45 | 29.65 | 29.45 | 29.25 | 28.9 | 28.7 | 28.95
2026-09-05 12:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.66 | 29.78 | 29.57 | 29.4 | 29.14 | 29.02 | 29.11
2026-09-05 15:45:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33 | 30.2 | 32.2 | 29.7 |  |  | 20 | 4 | 29.8 | 29.9 | 29.8 | 29.9 | 29.6 | 29.7 | 29.7 | 807.6 | 348.5 | 1459.8 | 1000.4 |  | 1913.8
2026-09-05 16:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.6 | 29 | 32.4 | 30.2 |  |  | 20 | 4 | 29.93 | 29.97 | 29.87 | 29.83 | 29.6 | 29.6 | 29.63 | 760.8 | 2151.6 | 1429.8 | 976.9 | 11921.2 | 1991.4
2026-09-05 16:15:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.28 | 31.13 | 31.28 | 32.68 |  |  | 15 | 30.75 | 29.55 | 29.7 | 29.68 | 29.7 | 29.48 | 29.45 | 29.58 | 813.33 | 1768.5 | 1667.2 | 797.7 | 7347.85 | 1964.08
2026-09-05 16:30:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.33 | 31.38 | 31.18 | 33.1 | 32.78 | 31.25 | 11.5 | 26.25 | 29.78 | 29.95 | 30.1 | 30.18 | 29.9 | 29.83 | 29.9 | 589.68 | 1391.2 | 5897.15 | 593.08 | 4580 | 3646.2
2026-09-05 17:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30.35 | 29.05 | 29.1 | 29.15 | 28.95 | 28.5 | 28.95
2026-09-05 17:15:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.1 | 37.95 | 28.5 | 39.1 | 28.95 | 39.05 | 1 | 1 | 29.97 | 29.2 | 29.4 | 29.5 | 198.5 | 28.23 | 28.63 | 60.5 | 250.75 | 104.3 | 66.2 | 327.85 | 108.8

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-08-08 00:00:00 | To | 2026-09-06 23:59:59 | Data interval | 15 minute(s)
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 1 | 1 | 1 | 4
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 23 | 25.75 | 30 | 4
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 4
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 4
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 0 | 38.57 | 55.5 | 564
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 0 | 0.26 | 2 | 564
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 0 | 42.95 | 67 | 564
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 0 | 62.3 | 176 | 564
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 0 | 48.19 | 78 | 564
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | -0.5 | -0.36 | 0 | 564
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | -0.5 | 36.42 | 61.5 | 564
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0.03 | 1 | 564
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0.01 | 1 | 564
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 564
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 31.8 | 32.05 | 32.3 | 293
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 48 | 48.68 | 51.7 | 293
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 31.6 | 31.96 | 32.2 | 291
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 48.1 | 48.76 | 52.2 | 291
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 31.6 | 31.77 | 31.9 | 292
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 48.7 | 49.38 | 53.2 | 292
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 1 | 1.5 | 2 | 290
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 1 | 1.49 | 2 | 292
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 29.6 | 31.17 | 33.1 | 330
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 29.5 | 31.05 | 32.7 | 330
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C | 29.2 | 30.36 | 31.8 | 330
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C | 28.9 | 30.19 | 31.9 | 330
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 29.6 | 30.43 | 31.6 | 330
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.5 | 30.08 | 30.7 | 330
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 28.8 | 29.68 | 30.3 | 330
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 7.1 | 50.72 | 105.9 | 291
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 13.5 | 63.63 | 123.7 | 291
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 48.5 | 123.72 | 227.2 | 289
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 21 | 105.61 | 198.1 | 292
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 10.1 | 75.21 | 148.9 | 268
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 8.5 | 26.93 | 58.3 | 293
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 850
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 850
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 850
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 850
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 850
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 850
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 29.1 | 32.28 | 33.6 | 824
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 29 | 48.08 | 49.9 | 824
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 28.5 | 32.21 | 32.4 | 816
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 29.7 | 48.05 | 49.4 | 816
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 28.9 | 32.25 | 33.1 | 820
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 30.7 | 48.48 | 51.2 | 820
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1.84 | 20 | 826
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1.84 | 38 | 829
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 29.2 | 30.26 | 30.8 | 850
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 29 | 30.47 | 30.8 | 845
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 29.1 | 30.21 | 30.6 | 850
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 29 | 30.06 | 30.5 | 850
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 28.8 | 30.4 | 367.9 | 849
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 28 | 29.9 | 30.3 | 850
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 28.5 | 29.93 | 30.3 | 850
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 60.4 | 240.11 | 854.1 | 825
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 39.9 | 166.04 | 2151.6 | 828
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 103.2 | 214.82 | 6272.9 | 829
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 66.1 | 253.03 | 1000.4 | 827
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 59.9 | 565.84 | 11921.2 | 752
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 44.6 | 277.05 | 3851.2 | 825
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.01 | 0.02 | 0.04 | 194
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 29.7 | 30.02 | 30.2 | 194
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 62.4 | 63.04 | 63.6 | 194
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 998 | 998 | 998 | 194
WS-MOD-01 | WS-DIR | Arah Angin | ° | 279 | 304.58 | 346.6 | 190

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.