## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-01-VOLT - PZEM 1 Voltage [V] | PZEM-01-CURR - PZEM 1 Current [A] | PZEM-01-POWER - PZEM 1 Active Power [W] | PZEM-01-ENERGY - PZEM 1 Energy [kWh] | PZEM-01-FREQ - PZEM 1 Frequency [Hz] | PZEM-01-PF - PZEM 1 Power Factor | PZEM-02-VOLT - PZEM 2 Voltage [V] | PZEM-02-CURR - PZEM 2 Current [A] | PZEM-02-POWER - PZEM 2 Active Power [W] | PZEM-02-ENERGY - PZEM 2 Energy [kWh] | PZEM-02-FREQ - PZEM 2 Frequency [Hz] | PZEM-02-PF - PZEM 2 Power Factor | PZEM-03-VOLT - PZEM 3 Voltage [V] | PZEM-03-CURR - PZEM 3 Current [A] | PZEM-03-POWER - PZEM 3 Active Power [W] | PZEM-03-ENERGY - PZEM 3 Energy [kWh] | PZEM-03-FREQ - PZEM 3 Frequency [Hz] | PZEM-03-PF - PZEM 3 Power Factor | PZEM-04-VOLT - PZEM 4 Voltage [V] | PZEM-04-CURR - PZEM 4 Current [A] | PZEM-04-POWER - PZEM 4 Active Power [W] | PZEM-04-ENERGY - PZEM 4 Energy [kWh] | PZEM-04-FREQ - PZEM 4 Frequency [Hz] | PZEM-04-PF - PZEM 4 Power Factor | PZEM-05-VOLT - PZEM 5 Voltage [V] | PZEM-05-CURR - PZEM 5 Current [A] | PZEM-05-POWER - PZEM 5 Active Power [W] | PZEM-05-ENERGY - PZEM 5 Energy [kWh] | PZEM-05-FREQ - PZEM 5 Frequency [Hz] | PZEM-05-PF - PZEM 5 Power Factor | PZEM-06-VOLT - PZEM 6 Voltage [V] | PZEM-06-CURR - PZEM 6 Current [A] | PZEM-06-POWER - PZEM 6 Active Power [W] | PZEM-06-ENERGY - PZEM 6 Energy [kWh] | PZEM-06-FREQ - PZEM 6 Frequency [Hz] | PZEM-06-PF - PZEM 6 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-02 14:29:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.2 | 48.5 | 32.1 | 48.55 | 32.25 | 48.65 | 1.5 | 1 | 30.1 | 30.45 | 30.2 | 30.05 | 29.95 | 29.95 | 29.95 | 204.9 | 114.4 | 146.05 | 223.75 | 422.5 | 217.4
2026-09-02 14:30:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.15 | 48.58 | 32.1 | 48.62 | 32.2 | 48.57 | 1.4 | 1 | 30.18 | 30.47 | 30.23 | 30.01 | 30.06 | 30.01 | 30.02 | 190.74 | 112.49 | 142.38 | 209.57 | 404.39 | 208.95
2026-09-02 14:30:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.17 | 48.65 | 32.11 | 48.68 | 32.18 | 48.73 | 1.44 | 1 | 30.16 | 30.41 | 30.2 | 30.04 | 30.13 | 30.04 | 30.04 | 182.94 | 103.12 | 143.68 | 213.56 | 410.88 | 211.9
2026-09-02 14:31:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.19 | 48.43 | 32.11 | 48.43 | 32.21 | 48.55 | 1.33 | 1 | 30.07 | 30.33 | 30.13 | 30.05 | 29.98 | 29.91 | 29.95 | 171.11 | 105.63 | 135.39 | 185.67 | 365.94 | 196.7
2026-09-02 14:31:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.17 | 48.46 | 32.12 | 48.46 | 32.21 | 48.51 | 2 | 1.8 | 30.16 | 30.35 | 30.09 | 29.99 | 30 | 29.92 | 29.92 | 201.47 | 159.61 | 174.24 | 221.01 | 473.15 | 244.63
2026-09-02 14:32:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.19 | 48.49 | 32.14 | 48.48 | 32.24 | 48.51 | 2 | 2 | 30.26 | 30.47 | 30.18 | 30.04 | 30.13 | 29.99 | 29.96 | 215.23 | 168.81 | 186.38 | 224.13 | 459.35 | 252.15
2026-09-02 14:32:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.22 | 48.79 | 32.18 | 48.73 | 32.25 | 48.84 | 2 | 2.24 | 30.49 | 30.59 | 30.25 | 30.08 | 30.26 | 30.12 | 30.07 | 253.76 | 192.04 | 191.81 | 268.48 | 551.32 | 263.26
2026-09-02 14:33:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.22 | 48.52 | 32.16 | 48.48 | 32.25 | 48.62 | 2 | 2.13 | 30.34 | 30.51 | 30.22 | 29.99 | 30.04 | 29.92 | 29.91 | 229.81 | 188.81 | 199.03 | 259.67 | 529.35 | 271.69
2026-09-02 14:33:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.24 | 48.67 | 32.17 | 48.59 | 32.24 | 48.68 | 2 | 2.25 | 30.24 | 30.39 | 30.13 | 29.92 | 30.14 | 29.98 | 29.94 | 245.96 | 190.47 | 208.73 | 273.74 | 572.98 | 286.18
2026-09-02 14:34:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.27 | 48.53 | 32.2 | 48.46 | 32.29 | 48.61 | 2 | 2 | 30.23 | 30.37 | 30.08 | 29.92 | 30.07 | 29.91 | 29.89 | 238.17 | 183.55 | 199.71 | 247.51 | 542.37 | 271.25
2026-09-02 14:34:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.24 | 48.63 | 32.19 | 48.59 | 32.25 | 48.82 | 2 | 2.07 | 30.17 | 30.32 | 30.03 | 29.9 | 30.01 | 29.89 | 29.81 | 243.79 | 193.07 | 203.89 | 252.77 | 519.71 | 272.79
2026-09-02 14:35:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.26 | 48.58 | 32.19 | 48.55 | 32.28 | 48.8 | 2 | 2.18 | 30.22 | 30.38 | 30.09 | 29.94 | 30.1 | 29.95 | 29.9 | 229.43 | 183.86 | 194.19 | 226.47 | 481.25 | 261.46
2026-09-02 14:35:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.28 | 48.59 | 32.2 | 48.59 | 32.26 | 48.76 | 2 | 2.38 | 30.33 | 30.44 | 30.13 | 29.98 | 30.19 | 30.06 | 29.96 | 232.93 | 195.24 | 202.49 | 239.14 | 503.76 | 277.04
2026-09-02 14:36:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.27 | 48.33 | 32.19 | 48.37 | 32.29 | 48.48 | 2 | 2.27 | 30.23 | 30.39 | 30.07 | 29.91 | 30.02 | 29.89 | 29.86 | 238.54 | 196.37 | 202.46 | 231.96 | 500.47 | 274.78
2026-09-02 14:36:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.28 | 48.22 | 32.25 | 48.22 | 32.29 | 48.43 | 2 | 2.25 | 30.24 | 30.46 | 30.18 | 30.04 | 30.08 | 29.98 | 29.94 | 241.48 | 194.15 | 201.41 | 227.48 | 497.01 | 270.79
2026-09-02 14:37:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.31 | 48.38 | 32.22 | 48.36 | 32.31 | 48.56 | 2 | 2.38 | 30.43 | 30.58 | 30.26 | 30.01 | 30.19 | 30.1 | 29.96 | 270.43 | 206.86 | 218.6 | 292.26 | 635.07 | 306.52
2026-09-02 14:37:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 48.33 | 32.21 | 48.29 | 32.28 | 48.55 | 2 | 2.25 | 30.36 | 30.53 | 30.21 | 30.02 | 30.11 | 30.04 | 29.92 | 241.59 | 193.13 | 202.43 | 246.71 | 537.68 | 274.88
2026-09-02 14:38:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.29 | 48.31 | 32.24 | 48.32 | 32.29 | 48.59 | 2 | 2 | 30.43 | 30.61 | 30.34 | 30.17 | 30.17 | 30.09 | 30.1 | 256.87 | 183.44 | 202.12 | 273.43 | 562.29 | 284.35
2026-09-02 14:38:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 48.35 | 32.25 | 48.34 | 32.32 | 48.57 | 2 | 2.13 | 30.44 | 30.59 | 30.27 | 30.07 | 30.26 | 30.09 | 30.07 | 278.79 | 186.73 | 209.65 | 302.23 | 618.86 | 295.19
2026-09-02 14:39:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.29 | 48.2 | 32.26 | 48.14 | 32.29 | 48.42 | 2 | 2 | 30.47 | 30.64 | 30.3 | 30.14 | 30.18 | 30.11 | 30.11 | 246.56 | 169.46 | 189.96 | 248.32 | 510.07 | 263.88
2026-09-02 14:39:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.33 | 48.13 | 32.24 | 48.14 | 32.34 | 48.37 | 2 | 1.56 | 30.43 | 30.64 | 30.32 | 30.16 | 30.12 | 30.02 | 30.05 | 227.15 | 133.47 | 171.48 | 235.32 | 482.16 | 235.21
2026-09-02 14:40:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.31 | 48.12 | 32.26 | 48.05 | 32.3 | 48.25 | 2 | 1 | 30.45 | 30.63 | 30.24 | 30.05 | 30.23 | 30.05 | 30.05 | 223.03 | 112.5 | 157.45 | 237.71 | 462.81 | 221.73
2026-09-02 14:40:30 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 48.06 | 32.27 | 48.01 | 32.33 | 48.17 | 1.94 | 1 | 30.36 | 30.59 | 30.32 | 30.11 | 30.12 | 29.99 | 30.02 | 212.51 | 110.43 | 147.66 | 215.74 | 427.16 | 208.28
2026-09-02 14:41:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 29.6 | 29.3 | 29 | 29.7 | 29.7 | 29.2 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.28 | 47.9 | 32.27 | 47.87 | 32.29 | 48 | 2 | 1 | 30.28 | 30.51 | 30.25 | 30.03 | 30.06 | 29.99 | 30.03 | 228.81 | 122.95 | 160.31 | 234.29 | 443.27 | 227.4
2026-09-02 14:41:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.78 | 29.73 | 29.38 | 29.03 | 29.6 | 29.6 | 29.23 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 47.94 | 32.26 | 47.94 | 32.33 | 48.06 | 2 | 1.25 | 30.36 | 30.58 | 30.27 | 30.11 | 30.08 | 29.98 | 30.06 | 221.16 | 139.65 | 165.05 | 223.77 | 445.07 | 227.53
2026-09-02 14:42:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31.94 | 48.9 | 31.74 | 49.16 | 31.7 | 49.44 | 2 | 2 | 29.74 | 29.62 | 29.33 | 29.04 | 29.64 | 29.56 | 29.23 | 76.63 | 106.86 | 193.25 | 165.09 | 126.19 | 36.11 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.33 | 48.01 | 32.28 | 48.08 | 32.35 | 48.1 | 2 | 2 | 30.33 | 30.47 | 30.33 | 30.16 | 29.99 | 29.86 | 29.99 | 277.71 | 184.92 | 202.99 | 282.81 | 573.73 | 275.23
2026-09-02 14:42:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31.93 | 48.67 | 31.77 | 48.93 | 31.71 | 49.27 | 2 | 2 | 29.71 | 29.69 | 29.39 | 29.04 | 29.65 | 29.6 | 29.26 | 102.11 | 111.04 | 197.59 | 192.76 | 144.54 | 35.93 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 47.99 | 32.25 | 47.97 | 32.35 | 48.07 | 2 | 2.07 | 30.41 | 30.55 | 30.31 | 30.17 | 30.09 | 29.94 | 30.01 | 254.43 | 193.15 | 207.96 | 256.69 | 556.63 | 284.36
2026-09-02 14:43:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31.93 | 48.67 | 31.77 | 48.93 | 31.71 | 49.42 | 2 | 2 | 29.91 | 29.79 | 29.57 | 29.25 | 29.79 | 29.63 | 29.37 | 96.95 | 105.55 | 186.07 | 180.93 | 134.54 | 33.46 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 48.05 | 32.26 | 48.01 | 32.34 | 48.16 | 2 | 2.13 | 30.41 | 30.57 | 30.31 | 30.12 | 30.15 | 30.08 | 30.06 | 247.81 | 181.92 | 200.79 | 252.45 | 563.53 | 270.06
2026-09-02 14:43:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31.99 | 48.79 | 31.78 | 49.16 | 31.71 | 49.6 | 2 | 2 | 29.8 | 29.78 | 29.5 | 29.17 | 29.87 | 29.69 | 29.4 | 92.57 | 99.37 | 171.99 | 171.95 | 129.49 | 31.16 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 48.22 | 32.29 | 48.23 | 32.35 | 48.32 | 2 | 2 | 30.45 | 30.62 | 30.4 | 30.25 | 30.26 | 30.14 | 30.24 | 250.21 | 167.71 | 193.11 | 240.83 | 524.48 | 257.31
2026-09-02 14:44:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32 | 48.69 | 31.81 | 49 | 31.77 | 49.43 | 2 | 2 | 29.99 | 29.98 | 29.69 | 29.41 | 29.91 | 29.73 | 29.46 | 55.87 | 65.99 | 121.27 | 113.69 | 86.62 | 21.95 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.31 | 48.25 | 32.24 | 48.18 | 32.34 | 48.3 | 2 | 2 | 30.19 | 30.42 | 30.24 | 30.16 | 30.05 | 29.96 | 30.08 | 266.75 | 151.94 | 201.27 | 288.27 | 594.81 | 280.84
2026-09-02 14:44:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.01 | 48.51 | 31.83 | 48.91 | 31.8 | 49.29 | 1.3 | 1.3 | 30.67 | 30.52 | 30.17 | 29.96 | 30.08 | 29.75 | 29.55 | 60.78 | 79.99 | 134.71 | 118.09 | 89.09 | 25 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 47.99 | 32.26 | 47.99 | 32.33 | 48.18 | 1.88 | 1.13 | 30.27 | 30.49 | 30.29 | 30.11 | 29.84 | 29.81 | 29.94 | 238.76 | 140.12 | 178.89 | 267.61 | 529.93 | 252.5
2026-09-02 14:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 31.67 | 31.3 | 30.3 | 30.37 | 30.33 | 29.87 | 29.63 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.31 | 47.8 | 32.27 | 47.84 | 32.33 | 48.08 | 1.31 | 1 | 30.18 | 30.46 | 30.25 | 30.17 | 29.79 | 29.71 | 29.83 | 225.74 | 105.74 | 164.43 | 251.78 | 488.03 | 240.29
2026-09-02 14:45:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 31.95 | 31.53 | 30.43 | 30.53 | 30.58 | 29.95 | 29.65 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 47.87 | 32.24 | 47.92 | 32.29 | 48.16 | 1.07 | 1 | 30.08 | 30.34 | 30.16 | 30.08 | 29.74 | 29.71 | 29.79 | 213.01 | 99.83 | 149.14 | 218.72 | 422.55 | 209.53
2026-09-02 14:46:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 32.07 | 31.73 | 30.73 | 30.8 | 30.67 | 30.03 | 29.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 48.06 | 32.25 | 48.09 | 32.28 | 48.28 | 1 | 1 | 30.31 | 30.47 | 30.24 | 30.03 | 30 | 29.85 | 29.86 | 211.79 | 90.19 | 145.61 | 217.32 | 423.21 | 207.92
2026-09-02 14:46:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 32.28 | 31.83 | 30.93 | 30.98 | 30.78 | 30.1 | 29.85 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.29 | 48.21 | 32.24 | 48.23 | 32.24 | 48.41 | 1 | 1 | 30.42 | 30.63 | 30.39 | 30.18 | 30.11 | 29.96 | 29.99 | 211.38 | 91.36 | 146.21 | 215.73 | 419.32 | 206.14
2026-09-02 14:47:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 32.33 | 31.93 | 31 | 30.9 | 30.9 | 30.13 | 29.87 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.29 | 48.23 | 32.25 | 48.31 | 32.26 | 48.62 | 1.44 | 1 | 30.31 | 30.57 | 30.29 | 30.16 | 30.03 | 29.93 | 30.03 | 240.63 | 106.48 | 171.49 | 274.59 | 526.55 | 245.14
2026-09-02 14:47:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 32.3 | 31.93 | 30.93 | 31 | 30.97 | 30.2 | 29.93 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.29 | 48.21 | 32.23 | 48.24 | 32.21 | 48.61 | 1.27 | 1 | 30.29 | 30.55 | 30.29 | 30.17 | 29.95 | 29.85 | 29.95 | 228.14 | 91.56 | 167 | 260.95 | 528.4 | 245.1
2026-09-02 14:48:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 32.4 | 32.13 | 31.03 | 31.1 | 30.95 | 30.23 | 29.95 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.29 | 48.42 | 32.23 | 48.36 | 32.2 | 48.66 | 1.25 | 1 | 30.37 | 30.61 | 30.36 | 30.22 | 30.09 | 29.97 | 29.94 | 231.54 | 109.96 | 168.02 | 263.15 | 508.51 | 247.92
2026-09-02 14:48:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 32.5 | 32.13 | 31.13 | 31.33 | 30.97 | 30.3 | 30 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.29 | 48.58 | 32.25 | 48.68 | 32.21 | 49.16 | 1.36 | 1 | 30.43 | 30.56 | 30.35 | 30.17 | 30.03 | 29.91 | 29.92 | 242.22 | 125.17 | 169.67 | 275.3 | 522.1 | 250.33
2026-09-02 14:49:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31.99 | 50.16 | 31.87 | 50.55 | 31.69 | 51.71 | 1 | 1 | 32.63 | 32.21 | 31.23 | 31.41 | 31.02 | 30.37 | 30.01 | 51.08 | 65.36 | 110.31 | 98.31 | 72.18 | 21.79 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 48.55 | 32.22 | 48.9 | 32.21 | 49.54 | 1.06 | 1 | 30.27 | 30.5 | 30.31 | 30.19 | 30.03 | 29.94 | 30.03 | 225.84 | 112 | 163.58 | 252.45 | 479.25 | 238.76
2026-09-02 14:49:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.03 | 49.02 | 31.94 | 49.15 | 31.73 | 49.89 | 1 | 1 | 32.76 | 32.36 | 31.29 | 31.47 | 31.2 | 30.46 | 30.06 | 47.93 | 55.59 | 92.68 | 91.04 | 68.47 | 17.84 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.31 | 48.12 | 32.25 | 48.24 | 32.21 | 48.69 | 1 | 1 | 30.31 | 30.67 | 30.48 | 30.31 | 29.92 | 29.91 | 29.99 | 219.4 | 88.91 | 158.59 | 245.81 | 459.42 | 234.54
2026-09-02 14:50:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.03 | 48.53 | 31.95 | 48.71 | 31.77 | 49.35 | 1 | 1 | 32.87 | 32.44 | 31.35 | 31.53 | 31.29 | 30.53 | 30.14 | 46.45 | 61.91 | 97.59 | 89.12 | 70.1 | 20.9 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 47.98 | 32.28 | 48.06 | 32.24 | 48.42 | 1 | 1 | 30.22 | 30.51 | 30.33 | 30.11 | 29.94 | 29.86 | 29.97 | 221.49 | 102.13 | 157.97 | 243.5 | 471.65 | 232.01
2026-09-02 14:50:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.07 | 48.48 | 32.01 | 48.58 | 31.77 | 49.19 | 1 | 1 | 32.93 | 32.57 | 31.35 | 31.65 | 31.26 | 30.52 | 30.18 | 45.91 | 61.15 | 87.22 | 81.05 | 66.65 | 17.18 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 48.91 | 32.27 | 48.31 | 32.23 | 48.75 | 1 | 1 | 30.11 | 30.31 | 30.13 | 29.96 | 29.83 | 29.73 | 29.76 | 215.8 | 69.96 | 149.76 | 236.43 | 447.38 | 229.51
2026-09-02 14:51:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.04 | 48.64 | 31.99 | 48.52 | 31.78 | 49.21 | 1 | 1 | 32.96 | 32.61 | 31.43 | 31.63 | 31.32 | 30.58 | 30.17 | 54.06 | 44.92 | 88.64 | 103.44 | 77.07 | 17.57 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 48.43 | 32.25 | 48.17 | 32.23 | 48.88 | 1 | 1 | 30.13 | 30.36 | 30.23 | 30.12 | 29.84 | 29.86 | 29.86 | 211.72 | 115.6 | 143.99 | 229.32 | 424.59 | 221.79
2026-09-02 14:51:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.08 | 48.62 | 32.03 | 48.54 | 31.8 | 49.15 | 1 | 1 | 33.04 | 32.61 | 31.56 | 31.76 | 31.38 | 30.62 | 30.21 | 47.81 | 40.87 | 61.51 | 100.78 | 71.37 | 11.46 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.29 | 49.2 | 32.27 | 48.35 | 32.21 | 50.43 | 1 | 1 | 30.33 | 30.59 | 30.29 | 30.12 | 30.17 | 30.09 | 30.05 | 208.08 | 111.68 | 121.12 | 204.13 | 259.14 | 191.56
2026-09-02 14:52:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.08 | 48.85 | 32.06 | 48.54 | 31.84 | 49.16 | 1.41 | 1.41 | 32.86 | 32.53 | 31.61 | 31.62 | 31.48 | 30.62 | 30.19 | 45.16 | 65.7 | 124.27 | 100.58 | 72.33 | 28.35 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.27 | 48.33 | 32.25 | 48.13 | 32.19 | 48.89 | 1.53 | 1.47 | 30.37 | 30.53 | 30.16 | 29.96 | 30.18 | 30.03 | 29.95 | 232.23 | 149.56 | 163.66 | 233.38 | 441.09 | 238.65
2026-09-02 14:52:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.11 | 48.47 | 32.05 | 48.44 | 31.81 | 48.98 | 2 | 2 | 30.75 | 31.04 | 30.3 | 29.85 | 30.48 | 30.31 | 29.8 | 22.34 | 45.3 | 106.65 | 45.11 | 34.12 | 27.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.31 | 48.18 | 32.27 | 48.03 | 32.19 | 48.58 | 2 | 2 | 30.23 | 30.43 | 30.2 | 30.05 | 29.84 | 29.78 | 29.89 | 282.18 | 154.08 | 185.55 | 280.19 | 574.89 | 265.26
2026-09-02 14:53:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.12 | 48.39 | 32.08 | 48.56 | 31.83 | 48.91 | 2 | 2 | 30.22 | 30.57 | 29.88 | 29.33 | 30.04 | 30.09 | 29.56 | 25.07 | 49.91 | 119.86 | 68.47 | 38.42 | 31.78 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.31 | 48.1 | 32.25 | 47.9 | 32.21 | 48.39 | 2 | 2.07 | 30.11 | 30.37 | 30.21 | 30.11 | 29.73 | 29.67 | 29.77 | 323.84 | 199.06 | 207.13 | 342.07 | 688.61 | 282.39
2026-09-02 14:53:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.13 | 48.13 | 32.08 | 48.18 | 31.84 | 48.9 | 2 | 2 | 30.05 | 30.37 | 29.75 | 29.23 | 29.97 | 29.99 | 29.48 | 27.43 | 46.58 | 110.34 | 77.51 | 42.63 | 29.27 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.33 | 48.15 | 32.26 | 47.95 | 32.19 | 48.39 | 2 | 2 | 30.1 | 30.35 | 30.2 | 30.11 | 29.74 | 29.69 | 29.81 | 233.81 | 216.69 | 154.38 | 223.74 | 403.47 | 226.06
2026-09-02 14:54:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.11 | 48.41 | 32.05 | 48.41 | 31.81 | 49.14 | 2 | 2 | 29.96 | 30.23 | 29.69 | 29.18 | 29.84 | 29.89 | 29.41 | 43.63 | 66.98 | 159.74 | 112.19 | 65.08 | 42.86 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.33 | 48.35 | 32.25 | 48.24 | 32.2 | 48.67 | 2 | 2 | 30.34 | 30.56 | 30.34 | 30.2 | 29.9 | 29.89 | 29.99 | 271.34 | 220.23 | 208.85 | 295.04 | 555.14 | 302.31
2026-09-02 14:54:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.14 | 48.47 | 32.08 | 48.29 | 31.81 | 48.98 | 1.44 | 1.31 | 29.9 | 30.1 | 29.6 | 29.09 | 29.68 | 29.76 | 29.24 | 27.65 | 41.45 | 126.6 | 78.88 | 39.84 | 34.56 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 48.39 | 32.23 | 48.29 | 32.17 | 48.96 | 1.94 | 1.63 | 30.04 | 30.34 | 30.13 | 30.06 | 29.71 | 29.67 | 29.7 | 258.99 | 188.76 | 195.37 | 287.61 | 537.69 | 283.56
2026-09-02 14:55:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.14 | 48.61 | 32.06 | 48.52 | 31.78 | 49.29 | 1 | 1 | 29.94 | 29.99 | 29.61 | 29.15 | 29.77 | 29.73 | 29.11 | 20.21 | 32.48 | 99.86 | 60.56 | 36.02 | 30.38 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.32 | 48.43 | 32.23 | 48.35 | 32.16 | 49.08 | 1.06 | 1 | 30.18 | 30.48 | 30.13 | 29.99 | 29.72 | 29.68 | 29.73 | 220.17 | 141.69 | 160.31 | 210.33 | 399.86 | 176.56
2026-09-02 14:55:30 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.13 | 48.45 | 32.04 | 48.4 | 31.73 | 49.21 | 1 | 1 | 29.8 | 29.73 | 29.42 | 29.04 | 29.76 | 29.72 | 29.06 | 29.64 | 40.97 | 119.97 | 87.87 | 52.01 | 28.34 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.33 | 48.44 | 32.22 | 48.42 | 32.11 | 49.09 | 1 | 1 | 30.26 | 30.36 | 30.06 | 29.91 | 29.97 | 29.89 | 29.8 | 209.39 | 130 | 169.2 | 216.54 | 395.65 | 223.98
2026-09-02 15:23:00 | [110 empty] | 0.04 | 29.7 | 63.5 | 998 | 279
2026-09-02 15:23:30 | [110 empty] | 0.02 | 29.72 | 63.48 | 998 | 298.62
2026-09-02 15:24:00 | [110 empty] | 0.02 | 29.73 | 63.43 | 998 | 298.3
2026-09-02 15:24:30 | [110 empty] | 0.03 | 29.8 | 63.32 | 998 | 301.27
2026-09-02 15:25:00 | [110 empty] | 0.02 | 29.8 | 63.23 | 998 | 311.03
2026-09-02 15:25:30 | [110 empty] | 0.03 | 29.8 | 63.35 | 998 | 303.28
2026-09-02 15:26:00 | [110 empty] | 0.03 | 29.8 | 63.25 | 998 | 304.77
2026-09-02 15:26:30 | [110 empty] | 0.02 | 29.88 | 63.35 | 998 | 295.2
2026-09-02 15:27:00 | [110 empty] | 0.03 | 29.9 | 63.4 | 998 | 292.77
2026-09-02 15:27:30 | [110 empty] | 0.02 | 29.9 | 63.15 | 998 | 300.9
2026-09-02 15:28:00 | [110 empty] | 0.02 | 29.9 | 63.05 | 998 | 300.12
2026-09-02 15:28:30 | [110 empty] | 0.02 | 29.9 | 62.98 | 998 | 298.58
2026-09-02 15:29:00 | [110 empty] | 0.02 | 29.9 | 63.27 | 998 | 306.43
2026-09-02 15:29:30 | [110 empty] | 0.02 | 29.93 | 63.12 | 998 | 301.3
2026-09-02 15:30:00 | [110 empty] | 0.02 | 30 | 63.32 | 998 | 293.16
2026-09-02 15:30:30 | [110 empty] | 0.02 | 30 | 63.15 | 998 | 295.88
2026-09-02 15:31:00 | [110 empty] | 0.03 | 30 | 63.06 | 998 | 302.72
2026-09-02 15:31:30 | [110 empty] | 0.02 | 30.06 | 62.94 | 998 | 304.86
2026-09-02 15:32:00 | [110 empty] | 0.03 | 30.07 | 62.83 | 998 | 307.87
2026-09-02 15:32:30 | [110 empty] | 0.03 | 30.08 | 63 | 998 | 296.15
2026-09-02 15:33:00 | [110 empty] | 0.02 | 30.1 | 62.78 | 998 | 307.37
2026-09-02 15:33:30 | [110 empty] | 0.02 | 30.1 | 62.95 | 998 | 300.3
2026-09-02 15:34:00 | [110 empty] | 0.02 | 30.1 | 63.07 | 998 | 314.92
2026-09-02 15:34:30 | [110 empty] | 0.03 | 30.1 | 62.98 | 998 | 309.28
2026-09-02 15:35:00 | [110 empty] | 0.03 | 30.13 | 63.05 | 998 | 320.13
2026-09-02 15:35:30 | [110 empty] | 0.02 | 30.17 | 63.02 | 998 | 310.15
2026-09-02 15:36:00 | [110 empty] | 0.02 | 30.18 | 62.88 | 998 | 309.04
2026-09-02 15:36:30 | [110 empty] | 0.02 | 30.2 | 62.87 | 998 | 310.02
2026-09-02 15:37:00 | [110 empty] | 0.02 | 30.2 | 62.76 | 998 | 309.88
2026-09-02 15:37:30 | [110 empty] | 0.03 | 30.2 | 62.83 | 998 | 309.7
2026-09-02 15:38:00 | [110 empty] | 0.02 | 30.2 | 62.73 | 998 | 309.45
2026-09-02 15:38:30 | [110 empty] | 0.02 | 30.2 | 62.68 | 998 | 309.73
2026-09-02 15:39:00 | [110 empty] | 0.02 | 30.2 | 62.63 | 998 | 310.47
2026-09-02 15:39:30 | [110 empty] | 0.02 | 30.2 | 62.66 | 998 | 308.95
2026-09-02 15:40:00 | [110 empty] | 0.02 | 30.2 | 62.8 | 998 | 308.12
2026-09-02 15:46:30 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:47:00 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:47:30 |  |  |  |  | 26.57 | 0 | 52.64 | 67.57 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:48:00 |  |  |  |  | 46.5 | 0 | 67 | 89 | 70 | -0.5 | 14.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:48:30 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:49:00 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:49:30 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:50:00 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:50:30 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:51:00 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:51:30 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:52:00 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:52:30 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:53:00 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:53:30 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:54:00 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:54:30 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 15:55:00 |  |  |  |  | 46.5 | 0 | 67 | 89 | 78 | -0.5 | 61.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 16:59:00 |  |  |  |  | 55.5 | 2 | 0.5 | 38.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 16:59:30 |  |  |  |  | 55.5 | 2 | 0.5 | 38.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:00:00 |  |  |  |  | 55.5 | 2 | 0.5 | 38.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:00:30 |  |  |  |  | 55.5 | 2 | 0.5 | 38.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:01:00 |  |  |  |  | 29.38 | 1.76 | 0.5 | 38.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:01:30 |  |  |  |  | 0 | 0 | 0 | 11.32 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:02:00 |  |  |  |  | 0 | 0 | 0 | 0 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:02:30 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13 | 0 | 0 | 0 | 0.27 | 0 | 0 | 0
2026-09-02 17:03:00 |  |  |  |  | 33.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:03:30 |  |  |  |  | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:04:00 |  |  |  |  | 42 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-02 00:00:00 | To | 2026-09-02 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 0 | 38.57 | 55.5 | 564
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 0 | 0.26 | 2 | 564
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 0 | 42.95 | 67 | 564
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 0 | 62.3 | 176 | 564
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 0 | 48.19 | 78 | 564
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | -0.5 | -0.36 | 0 | 564
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | -0.5 | 36.42 | 61.5 | 564
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0.03 | 1 | 564
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0.01 | 1 | 564
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 564
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 330
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 31.8 | 32.05 | 32.3 | 293
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 48 | 48.68 | 51.7 | 293
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 31.6 | 31.96 | 32.2 | 291
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 48.1 | 48.76 | 52.2 | 291
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 31.6 | 31.77 | 31.9 | 292
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 48.7 | 49.38 | 53.2 | 292
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 1 | 1.5 | 2 | 290
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 1 | 1.49 | 2 | 292
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 29.6 | 31.17 | 33.1 | 330
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 29.5 | 31.05 | 32.7 | 330
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C | 29.2 | 30.36 | 31.8 | 330
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C | 28.9 | 30.19 | 31.9 | 330
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 29.6 | 30.43 | 31.6 | 330
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.5 | 30.08 | 30.7 | 330
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 28.8 | 29.68 | 30.3 | 330
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 7.1 | 50.72 | 105.9 | 291
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 13.5 | 63.63 | 123.7 | 291
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 48.5 | 123.72 | 227.2 | 289
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 21 | 105.61 | 198.1 | 292
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 10.1 | 75.21 | 148.9 | 268
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 8.5 | 26.93 | 58.3 | 293
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 818
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 818
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 818
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 818
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 818
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 818
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 32.1 | 32.29 | 32.4 | 812
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 47.6 | 48.32 | 49.9 | 812
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 32 | 32.23 | 32.4 | 804
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 47.6 | 48.27 | 49.4 | 804
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 32 | 32.26 | 32.5 | 814
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 47.8 | 48.58 | 51.2 | 814
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1.68 | 2 | 814
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1.57 | 3 | 817
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 29.9 | 30.28 | 30.6 | 818
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 29.9 | 30.49 | 30.8 | 818
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 29.9 | 30.24 | 30.6 | 818
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 29.8 | 30.08 | 30.5 | 818
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 29.6 | 30.03 | 30.5 | 818
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 29.5 | 29.93 | 30.3 | 818
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 29.5 | 29.95 | 30.3 | 818
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 155.3 | 234.67 | 390.5 | 813
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 39.9 | 149.32 | 271.6 | 816
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 103.2 | 177.15 | 238 | 817
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 147.1 | 247.34 | 370 | 815
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 59.9 | 492.88 | 785.6 | 741
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 44.6 | 248.47 | 344.8 | 813
PWR-01 | PZEM-01-VOLT | PZEM 1 Voltage | V
PWR-01 | PZEM-01-CURR | PZEM 1 Current | A
PWR-01 | PZEM-01-POWER | PZEM 1 Active Power | W
PWR-01 | PZEM-01-ENERGY | PZEM 1 Energy | kWh
PWR-01 | PZEM-01-FREQ | PZEM 1 Frequency | Hz
PWR-01 | PZEM-01-PF | PZEM 1 Power Factor
PWR-02 | PZEM-02-VOLT | PZEM 2 Voltage | V
PWR-02 | PZEM-02-CURR | PZEM 2 Current | A
PWR-02 | PZEM-02-POWER | PZEM 2 Active Power | W
PWR-02 | PZEM-02-ENERGY | PZEM 2 Energy | kWh
PWR-02 | PZEM-02-FREQ | PZEM 2 Frequency | Hz
PWR-02 | PZEM-02-PF | PZEM 2 Power Factor
PWR-03 | PZEM-03-VOLT | PZEM 3 Voltage | V
PWR-03 | PZEM-03-CURR | PZEM 3 Current | A
PWR-03 | PZEM-03-POWER | PZEM 3 Active Power | W
PWR-03 | PZEM-03-ENERGY | PZEM 3 Energy | kWh
PWR-03 | PZEM-03-FREQ | PZEM 3 Frequency | Hz
PWR-03 | PZEM-03-PF | PZEM 3 Power Factor
PWR-04 | PZEM-04-VOLT | PZEM 4 Voltage | V
PWR-04 | PZEM-04-CURR | PZEM 4 Current | A
PWR-04 | PZEM-04-POWER | PZEM 4 Active Power | W
PWR-04 | PZEM-04-ENERGY | PZEM 4 Energy | kWh
PWR-04 | PZEM-04-FREQ | PZEM 4 Frequency | Hz
PWR-04 | PZEM-04-PF | PZEM 4 Power Factor
PWR-05 | PZEM-05-VOLT | PZEM 5 Voltage | V
PWR-05 | PZEM-05-CURR | PZEM 5 Current | A
PWR-05 | PZEM-05-POWER | PZEM 5 Active Power | W
PWR-05 | PZEM-05-ENERGY | PZEM 5 Energy | kWh
PWR-05 | PZEM-05-FREQ | PZEM 5 Frequency | Hz
PWR-05 | PZEM-05-PF | PZEM 5 Power Factor
PWR-06 | PZEM-06-VOLT | PZEM 6 Voltage | V
PWR-06 | PZEM-06-CURR | PZEM 6 Current | A
PWR-06 | PZEM-06-POWER | PZEM 6 Active Power | W
PWR-06 | PZEM-06-ENERGY | PZEM 6 Energy | kWh
PWR-06 | PZEM-06-FREQ | PZEM 6 Frequency | Hz
PWR-06 | PZEM-06-PF | PZEM 6 Power Factor
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.01 | 0.02 | 0.04 | 194
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 29.7 | 30.02 | 30.2 | 194
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 62.4 | 63.04 | 63.6 | 194
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 998 | 998 | 998 | 194
WS-MOD-01 | WS-DIR | Arah Angin | ° | 279 | 304.58 | 346.6 | 190

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.