## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-10-11 00:00:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.2 | 75.5 | 25.1 | 75.4 | 24.8 | 76.68 | 1 | 1 | 24.98 | 25.37 | -31.09 | -21.74 | 25.68 | 25.63 | 25.68 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 227.2 | 0.09 | 9.1 | 7.95 | 50 | 0.45 | 227.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 227 | 0 | 0 | 5.06 | 50 | 0 | 1.37 | 22.8 | 89 | 908 | 247.6
2026-10-11 00:01:00 |  |  |  |  | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.2 | 75.5 | 25.1 | 75.72 | 25 | 76.67 | 1 | 1 | 24.95 | 25.36 | -33.62 | -21.48 | 25.63 | 25.61 | 25.68 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 227 | 0.09 | 9.1 | 7.95 | 49.9 | 0.45 | 226.9 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.7 | 0 | 0 | 5.06 | 49.9 | 0 | 0.89 | 22.8 | 89 | 908 | 225
2026-10-11 00:02:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 75.61 | 25.1 | 75.82 | 24.8 | 76.79 | 1 | 1 | 24.85 | 25.3 | -31.18 | -21.42 | 25.61 | 25.64 | 25.57 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 227.1 | 0.09 | 9.6 | 7.95 | 50 | 0.45 | 227.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.9 | 0 | 0 | 5.06 | 50 | 0 | 1.38 | 22.8 | 89 | 908 | 192.3
2026-10-11 00:03:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 75.5 | 25.1 | 75.72 | 24.8 | 77.1 | 1 | 1 | 24.95 | 25.37 | -30.62 | -21.47 | 25.62 | 25.57 | 25.57 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 227 | 0.09 | 9.3 | 7.95 | 50 | 0.45 | 227 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.9 | 0 | 0 | 5.06 | 49.9 | 0 | 0.14 | 22.8 | 89 | 908 | 223.8
2026-10-11 00:04:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 75.61 | 25.1 | 75.82 | 24.8 | 77 | 1 | 1 | 24.84 | 25.41 | -30.47 | -21.68 | 25.48 | 25.61 | 25.59 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 227.1 | 0.09 | 9.2 | 7.95 | 50 | 0.44 | 227.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 227 | 0 | 0 | 5.06 | 50 | 0 | 2.13 | 22.9 | 88.9 | 908 | 217.2
2026-10-11 00:05:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 75.72 | 25.1 | 75.93 | 24.8 | 77.1 | 1 | 1 | 24.87 | 25.37 | -31.59 | -21.59 | 25.57 | 25.64 | 25.61 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 227.4 | 0.1 | 9.7 | 7.95 | 50 | 0.45 | 227.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 227.2 | 0 | 0 | 5.06 | 50 | 0 | 0.89 | 22.9 | 88.7 | 908 | 279.8
2026-10-11 00:06:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.2 | 75.61 | 25 | 76.14 | 24.8 | 77.1 | 1 | 1 | 24.83 | 25.34 | -30.65 | -21.56 | 25.52 | 25.55 | 25.59 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 227.4 | 0.1 | 9.8 | 7.95 | 49.9 | 0.45 | 227.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 227.2 | 0 | 0 | 5.06 | 50 | 0 | 0.64 | 22.9 | 88.6 | 908 | 240.2
2026-10-11 00:07:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 75.61 | 25 | 76.04 | 24.8 | 77.32 | 1 | 1 | 24.87 | 25.31 | -28.82 | -21.5 | 25.52 | 25.59 | 25.57 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 227.4 | 0.1 | 9.5 | 7.95 | 49.9 | 0.44 | 227.3 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 227.1 | 0 | 0 | 5.06 | 49.9 | 0 | 0.88 | 23 | 88.5 | 908 | 349.2
2026-10-11 00:08:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 75.93 | 25.1 | 76.25 | 24.7 | 77.21 | 1 | 1 | 24.94 | 25.34 | -30.12 | -21.56 | 25.52 | 25.49 | 25.55 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 227.3 | 0.09 | 9.1 | 7.96 | 50 | 0.44 | 227.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 227.2 | 0 | 0 | 5.06 | 49.9 | 0 | 1.38 | 22.9 | 88.5 | 908 | 256.5
2026-10-11 00:09:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 75.82 | 25 | 76.46 | 24.7 | 77.32 | 1 | 1 | 24.92 | 25.3 | -31.24 | -21.65 | 25.46 | 25.55 | 25.59 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.1 | 0.09 | 9 | 7.96 | 49.9 | 0.44 | 223.9 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.1 | 0 | 0 | 5.06 | 49.9 | 0 | 4.84 | 22.9 | 88.6 | 908 | 258.2
2026-10-11 00:10:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 75.82 | 24.9 | 76.36 | 24.7 | 77.32 | 1 | 1 | 24.74 | 25.31 | -29.91 | -21.42 | 25.45 | 25.59 | 25.54 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.3 | 0.09 | 9.1 | 7.96 | 50 | 0.45 | 224.2 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224 | 0 | 0 | 5.06 | 49.9 | 0 | 0.64 | 22.8 | 89 | 908 | 208.1
2026-10-11 00:11:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 75.93 | 25 | 76.67 | 24.7 | 77.43 | 1 | 1 | 24.8 | 25.23 | -30.38 | -21.07 | 25.41 | 25.5 | 25.55 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.09 | 8.8 | 7.96 | 50 | 0.43 | 224.2 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.3 | 0 | 0 | 5.06 | 50 | 0 | 2.38 | 22.8 | 89 | 908 | 244
2026-10-11 00:12:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 75.93 | 24.9 | 76.46 | 24.7 | 77.43 | 1 | 1 | 24.91 | 25.41 | -30.61 | -21.36 | 25.41 | 25.49 | 25.49 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.09 | 9.3 | 7.96 | 50 | 0.45 | 224.2 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.06 | 49.9 | 0 | 2.13 | 22.8 | 89.2 | 908 | 277.3
2026-10-11 00:13:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 76.03 | 24.9 | 76.46 | 24.7 | 77.43 | 1 | 1 | 24.84 | 25.23 | -29.67 | -21.33 | 25.44 | 25.48 | 25.49 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [18 empty] | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.3 | 0 | 0 | 5.06 | 50 | 0 | 1.11 | 22.7 | 89.4 | 908 | 254.1
2026-10-11 00:14:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 75.93 | 24.9 | 76.46 | 24.7 | 77.74 | 1 | 1 | 24.83 | 25.34 | -31.47 | -21.59 | 25.41 | 25.57 | 25.54 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.3 | 0.09 | 9.2 | 7.96 | 49.9 | 0.44 | 224.1 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.9 | 0 | 0 | 5.06 | 49.9 | 0 | 1.13 | 22.8 | 89.4 | 908 | 243.8
2026-10-11 00:15:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 76.03 | 25 | 76.46 | 24.6 | 77.43 | 1 | 1 | 24.8 | 25.3 | -31.11 | -21.56 | 25.43 | 25.59 | 25.49 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.2 | 0.09 | 9.1 | 7.96 | 49.9 | 0.44 | 224.2 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224 | 0 | 0 | 5.06 | 49.9 | 0 | 2.62 | 22.8 | 89.3 | 908 | 223.4
2026-10-11 00:16:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 76.14 | 25 | 76.57 | 24.7 | 77.64 | 1 | 1 | 24.87 | 25.26 | -30.41 | -21.36 | 25.5 | 25.5 | 25.56 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.3 | 0.1 | 9.3 | 7.96 | 50 | 0.43 | 224.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.1 | 0 | 0 | 5.06 | 49.9 | 0 | 2.11 | 22.8 | 89.1 | 908 | 320
2026-10-11 00:17:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.1 | 76.14 | 24.9 | 76.68 | 24.6 | 77.64 | 1 | 1 | 24.71 | 25.34 | -30.41 | -21.53 | 25.41 | 25.5 | 25.55 | 0 | 0 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.5 | 0.1 | 9.7 | 7.96 | 49.9 | 0.45 | 224.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.3 | 0 | 0 | 5.06 | 49.9 | 0 | 2.85 | 22.7 | 89.5 | 908 | 262.9
2026-10-11 00:18:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 76.15 | 24.9 | 76.68 | 24.7 | 77.64 | 1 | 1 | 24.69 | 25.3 | -31.12 | -21.24 | 25.43 | 25.52 | 25.52 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.6 | 0.09 | 9.1 | 7.96 | 50 | 0.44 | 224.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.06 | 50 | 0 | 2.62 | 22.7 | 89.6 | 908 | 260.7
2026-10-11 00:19:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 76.14 | 24.9 | 76.78 | 24.7 | 77.96 | 1 | 1 | 24.76 | 25.21 | -30.7 | -20.92 | 25.34 | 25.54 | 25.46 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.1 | 9.6 | 7.96 | 50 | 0.44 | 224.4 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.3 | 0 | 0 | 5.06 | 50 | 0 | 3.87 | 22.6 | 89.9 | 908 | 232.1
2026-10-11 00:20:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 76.25 | 24.9 | 76.46 | 24.7 | 77.96 | 1 | 1 | 24.87 | 25.34 | -31.32 | -21.07 | 25.48 | 25.54 | 25.5 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.3 | 0.1 | 9.7 | 7.96 | 49.9 | 0.44 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.06 | 49.9 | 0 | 4.63 | 22.6 | 90.2 | 908 | 240.2
2026-10-11 00:21:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 76.46 | 24.8 | 76.68 | 24.5 | 78.07 | 1 | 1 | 24.67 | 25.25 | -31.64 | -21.13 | 25.39 | 25.59 | 25.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.5 | 0.1 | 9.5 | 7.96 | 50 | 0.45 | 224.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.06 | 50 | 0 | 1.37 | 22.5 | 90.4 | 908 | 208.8
2026-10-11 00:22:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 76.36 | 24.9 | 76.78 | 24.5 | 78.07 | 1 | 1 | 24.64 | 25.3 | -31.85 | -21.47 | 25.34 | 25.45 | 25.43 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.6 | 0.1 | 9.6 | 7.96 | 50 | 0.45 | 224.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.06 | 50 | 0 | 2.62 | 22.6 | 90.3 | 908 | 167
2026-10-11 00:23:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 76.46 | 24.8 | 77 | 24.5 | 78.18 | 1 | 1 | 24.65 | 25.23 | -31.08 | -21.38 | 25.39 | 25.49 | 25.43 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.7 | 0.1 | 9.7 | 7.96 | 50 | 0.45 | 224.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 5.06 | 50 | 0 | 2.86 | 22.6 | 90.2 | 908 | 239
2026-10-11 00:24:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 76.46 | 24.8 | 76.79 | 24.6 | 78.28 | 1 | 1 | 24.64 | 25.27 | -31.61 | -21.33 | 25.39 | 25.41 | 25.43 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.6 | 0.1 | 9.8 | 7.96 | 50 | 0.45 | 224.6 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.06 | 50 | 0 | 4.1 | 22.6 | 90.1 | 908 | 257.5
2026-10-11 00:25:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 76.57 | 24.8 | 77.1 | 24.5 | 78.39 | 1 | 1 | 24.62 | 25.19 | -31.73 | -21.39 | 25.38 | 25.49 | 25.46 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.7 | 0.09 | 9 | 7.96 | 50 | 0.44 | 224.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 5.06 | 50 | 0 | 1.39 | 22.6 | 90.1 | 908 | 221.4
2026-10-11 00:26:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 76.57 | 24.8 | 77 | 24.5 | 78.39 | 1 | 1 | 24.8 | 25.31 | -32.47 | -21.3 | 25.41 | 25.41 | 25.44 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.7 | 0.1 | 9.5 | 7.96 | 50 | 0.45 | 224.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 5.06 | 50 | 0 | 3.87 | 22.5 | 90.2 | 908 | 215.5
2026-10-11 00:27:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 76.67 | 24.8 | 77.1 | 24.5 | 78.39 | 1 | 1 | 24.71 | 25.32 | -30.7 | -21.1 | 25.39 | 25.41 | 25.36 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.7 | 0.09 | 9.2 | 7.96 | 50 | 0.44 | 224.7 | 0 | 0 | 10.71 | 50 | 0 | [6 empty] | 224.6 | 0 | 0 | 5.06 | 50 | 0 | 0.4 | 22.5 | 90.4 | 908 | 263.8
2026-10-11 00:28:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25 | 76.67 | 24.8 | 77.1 | 24.5 | 78.49 | 1 | 1 | 24.65 | 25.26 | -31.55 | -21.38 | 25.41 | 25.39 | 25.46 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.9 | 0.1 | 9.6 | 7.96 | 50 | 0.44 | 224.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.7 | 0 | 0 | 5.06 | 50 | 0 | 0.39 | 22.6 | 90.4 | 908 | 332
2026-10-11 00:29:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 76.68 | 24.8 | 77.53 | 24.5 | 78.6 | 1 | 1 | 24.62 | 25.18 | -33.05 | -20.87 | 25.31 | 25.37 | 25.41 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.8 | 0.1 | 9.7 | 7.96 | 49.9 | 0.44 | 224.7 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.6 | 0 | 0 | 5.06 | 49.9 | 0 | 4.6 | 22.5 | 90.3 | 908 | 234.5
2026-10-11 00:30:00 |  |  |  |  | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 76.78 | 24.8 | 77.32 | 24.4 | 78.6 | 1 | 1 | 24.76 | 25.19 | -32.23 | -21.24 | 25.31 | 25.31 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225 | 0.09 | 9.1 | 7.96 | 50 | 0.44 | 225.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.06 | 50 | 0 | 5.12 | 22.4 | 90.7 | 908 | 246.5
2026-10-11 00:31:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 76.68 | 24.7 | 77.43 | 24.3 | 79.03 | 1 | 1 | 24.62 | 25.16 | -32.2 | -20.89 | 25.23 | 25.39 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9.6 | 7.96 | 50 | 0.45 | 225 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.06 | 50 | 0 | 1.89 | 22.4 | 91 | 908 | 5.5
2026-10-11 00:32:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 76.89 | 24.8 | 77.32 | 24.4 | 79.03 | 1 | 1 | 24.52 | 25.23 | -31.73 | -21.18 | 25.27 | 25.39 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225 | 0.09 | 9.2 | 7.96 | 50 | 0.45 | 224.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.7 | 0 | 0 | 5.06 | 50 | 0 | 2.12 | 22.5 | 90.9 | 908 | 244.6
2026-10-11 00:33:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 76.89 | 24.8 | 77.21 | 24.4 | 79.13 | 1 | 1 | 24.54 | 25.19 | -31.44 | -20.98 | 25.2 | 25.41 | 25.39 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.9 | 0.1 | 9.7 | 7.96 | 49.9 | 0.45 | 224.9 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.7 | 0 | 0 | 5.06 | 49.9 | 0 | 2.13 | 22.5 | 90.7 | 908 | 13.4
2026-10-11 00:34:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 77 | 24.7 | 77.32 | 24.3 | 79.03 | 1 | 1 | 24.66 | 25.16 | -31.17 | -21.04 | 25.27 | 25.44 | 25.38 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.2 | 0.1 | 9.7 | 7.96 | 50 | 0.45 | 225.2 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 5.06 | 50 | 0 | 2.13 | 22.6 | 90.5 | 908 | 296.4
2026-10-11 00:35:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 77.1 | 24.8 | 77.53 | 24.2 | 78.93 | 1 | 1 | 24.58 | 25.19 | -32.64 | -21.04 | 25.18 | 25.41 | 25.39 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.2 | 0.1 | 9.6 | 7.96 | 50 | 0.45 | 225 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.06 | 50 | 0 | 4.86 | 22.6 | 90.4 | 908 | 220.8
2026-10-11 00:36:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.1 | 24.7 | 77.53 | 24.3 | 79.14 | 1 | 1 | 24.52 | 25.19 | -33.2 | -20.52 | 25.3 | 25.44 | 25.28 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.09 | 9.1 | 7.96 | 50 | 0.45 | 225.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.06 | 50 | 0 | 1.97 | 22.6 | 90.4 | 908 | 262.7
2026-10-11 00:37:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.1 | 24.7 | 77.32 | 24.3 | 79.24 | 1 | 1 | 24.49 | 25.16 | -31.67 | -20.46 | 25.16 | 25.34 | 25.31 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9.8 | 7.96 | 50 | 0.45 | 224.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.06 | 49.9 | 0 | 1.61 | 22.5 | 90.4 | 908 | 286
2026-10-11 00:38:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 77.21 | 24.7 | 77.43 | 24.3 | 79.24 | 1 | 1 | 24.52 | 25.13 | -31.73 | -20.52 | 25.18 | 25.37 | 25.37 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.09 | 9 | 7.96 | 50 | 0.44 | 225.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.06 | 50 | 0 | 1.39 | 22.5 | 90.6 | 908 | 173.6
2026-10-11 00:39:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.21 | 24.7 | 77.64 | 24.3 | 79.24 | 1 | 1 | 24.56 | 25.16 | -30.84 | -21.04 | 25.16 | 25.28 | 25.28 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.2 | 0.1 | 9.7 | 7.96 | 50 | 0.45 | 225.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225 | 0 | 0 | 5.06 | 50 | 0 | 1.13 | 22.5 | 90.6 | 908 | 78.3
2026-10-11 00:40:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.21 | 24.8 | 77.64 | 24.3 | 79.14 | 1 | 1 | 24.54 | 25.23 | -31.32 | -21.35 | 25.25 | 25.25 | 25.26 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9.7 | 7.96 | 49.9 | 0.45 | 225.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.06 | 49.9 | 0 | 2.12 | 22.6 | 90.5 | 908 | 216.4
2026-10-11 00:41:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.32 | 24.7 | 77.85 | 24.3 | 79.14 | 1 | 1 | 24.45 | 25.14 | -30.82 | -21.15 | 25.27 | 25.41 | 25.27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.3 | 0.09 | 9.1 | 7.96 | 50 | 0.45 | 225.2 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 5.06 | 50 | 0 | 2.61 | 22.5 | 90.5 | 908 | 271.4
2026-10-11 00:42:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.32 | 24.6 | 77.54 | 24.3 | 79.14 | 1 | 1 | 24.65 | 25.18 | -31.7 | -21.04 | 25.23 | 25.38 | 25.25 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225 | 0.1 | 9.7 | 7.96 | 50 | 0.45 | 225 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0 | 5.06 | 50 | 0 | 2.87 | 22.5 | 90.5 | 908 | 295.1
2026-10-11 00:43:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.7 | 77.64 | 24.3 | 79.03 | 1 | 1 | 24.46 | 25.25 | -31.41 | -21.06 | 25.34 | 25.34 | 25.28 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | [12 empty] | 225 | 0.1 | 9.4 | 7.96 | 49.9 | 0.44 | 225 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0 | 5.06 | 49.9 | 0 | 2.86 | 22.5 | 90.7 | 908 | 236.4
2026-10-11 00:44:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.32 | 24.7 | 77.64 | 24.3 | 79.24 | 1 | 1 | 24.56 | 25.14 | -31.4 | -21.15 | 25.25 | 25.37 | 25.28 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9.5 | 7.96 | 50 | 0.44 | 225.2 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.06 | 50 | 0 | 2.86 | 22.5 | 90.8 | 908 | 254.3
2026-10-11 00:45:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.7 | 77.53 | 24.3 | 79.24 | 1 | 1 | 24.51 | 25.23 | -31.34 | -21.21 | 25.28 | 25.41 | 25.31 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9.8 | 7.96 | 50 | 0.45 | 225.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225 | 0 | 0 | 5.06 | 50 | 0 | 2.63 | 22.4 | 90.9 | 908 | 188
2026-10-11 00:46:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.7 | 77.43 | 24.4 | 79.24 | 1 | 1 | 24.41 | 25.19 | -31.2 | -20.66 | 25.21 | 25.27 | 25.27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225 | 0.09 | 9 | 7.96 | 50 | 0.44 | 225.2 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225 | 0 | 0 | 5.06 | 50 | 0 | 2.37 | 22.4 | 91 | 908 | 226
2026-10-11 00:47:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.7 | 77.74 | 24.3 | 79.14 | 1 | 1 | 24.6 | 25.18 | -32.67 | -21.01 | 25.25 | 25.32 | 25.28 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9.6 | 7.96 | 50 | 0.45 | 225.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.06 | 50 | 0 | 1.88 | 22.4 | 91.1 | 908 | 251.9
2026-10-11 00:48:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.7 | 77.64 | 24.5 | 79.03 | 1 | 1 | 24.64 | 25.12 | -32.11 | -21.38 | 25.21 | 25.39 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.1 | 9.7 | 7.96 | 50 | 0.45 | 225.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.2 | 0 | 0 | 5.06 | 50 | 0 | 0.4 | 22.4 | 91.1 | 908 | 281.7
2026-10-11 00:49:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.53 | 24.7 | 77.53 | 24.4 | 78.92 | 1 | 1 | 24.54 | 25.13 | -31.93 | -21.5 | 25.21 | 25.39 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.2 | 0.09 | 9.2 | 7.96 | 50 | 0.44 | 225.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 5.06 | 50 | 0 | 0.63 | 22.5 | 90.9 | 908 | 307.8
2026-10-11 00:50:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.6 | 77.75 | 24.5 | 78.92 | 1 | 1 | 24.42 | 25.12 | -31.58 | -21.21 | 25.27 | 25.34 | 25.28 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.3 | 0.09 | 9.6 | 7.96 | 49.9 | 0.47 | 225.3 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 5.06 | 49.9 | 0 | 2.87 | 22.4 | 90.8 | 908 | 245.2
2026-10-11 00:51:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.7 | 77.74 | 24.4 | 78.92 | 1 | 1 | 24.54 | 25.1 | -32.08 | -21.18 | 25.23 | 25.34 | 25.25 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.09 | 9.1 | 7.96 | 50 | 0.45 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 5.06 | 50 | 0 | 3.86 | 22.4 | 91.1 | 908 | 215.3
2026-10-11 00:52:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.6 | 77.64 | 24.3 | 79.03 | 1 | 1 | 24.46 | 25.12 | -31.55 | -20.92 | 25.27 | 25.36 | 25.27 | 0 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.09 | 9.7 | 7.96 | 50 | 0.46 | 225.3 | 0 | 0 | 10.71 | 50 | 0 | [6 empty] | 225.1 | 0 | 0 | 5.06 | 50 | 0 | 2.87 | 22.3 | 91.4 | 908 | 254.7
2026-10-11 00:53:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.7 | 77.85 | 24.4 | 79.03 | 1 | 1 | 24.36 | 25.09 | -32.9 | -21.58 | 25.3 | 25.38 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.09 | 9.6 | 7.96 | 50 | 0.46 | 225.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.2 | 0 | 0 | 5.06 | 50 | 0 | 2.63 | 22.4 | 91.3 | 908 | 250
2026-10-11 00:54:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.32 | 24.7 | 77.74 | 24.4 | 78.92 | 1 | 1 | 24.41 | 25.05 | -31.96 | -21.15 | 25.18 | 25.34 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.3 | 0.09 | 9.5 | 7.96 | 49.9 | 0.45 | 225.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.2 | 0 | 0 | 5.06 | 50 | 0 | 0.39 | 22.4 | 91.2 | 908 | 158.8
2026-10-11 00:55:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.32 | 24.6 | 77.85 | 24.4 | 79.03 | 1 | 1 | 24.41 | 25.12 | -30.93 | -21.01 | 25.18 | 25.34 | 25.36 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.5 | 0.09 | 9.7 | 7.96 | 50 | 0.46 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.3 | 0 | 0 | 5.06 | 50 | 0 | 1.37 | 22.4 | 91.2 | 908 | 249.1
2026-10-11 00:56:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.6 | 78.07 | 24.4 | 78.92 | 1 | 1 | 24.54 | 25.14 | -31.63 | -21.18 | 25.16 | 25.27 | 25.38 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.09 | 9.6 | 7.96 | 50 | 0.46 | 225.4 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.3 | 0 | 0 | 5.06 | 50 | 0 | 2.85 | 22.3 | 91 | 908 | 226
2026-10-11 00:57:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.6 | 77.85 | 24.4 | 78.92 | 1 | 1 | 24.55 | 25.1 | -31.4 | -21.15 | 25.23 | 25.28 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.6 | 0.09 | 9.2 | 7.96 | 50 | 0.45 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.5 | 0 | 0 | 5.06 | 50 | 0 | 1.13 | 22.3 | 91.2 | 908 | 268.7
2026-10-11 00:58:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.7 | 77.85 | 24.3 | 78.93 | 1 | 1 | 24.4 | 25.13 | -30.07 | -21.52 | 25.21 | 25.27 | 25.31 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.6 | 0.1 | 9.7 | 7.96 | 50 | 0.45 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 50 | 0 | 2.12 | 22.4 | 91.1 | 908 | 212.1
2026-10-11 00:59:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.6 | 77.64 | 24.5 | 78.81 | 1 | 1 | 24.54 | 25.09 | -30.93 | -21.29 | 25.25 | 25.28 | 25.27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.6 | 0.09 | 8.9 | 7.96 | 50 | 0.45 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 50 | 0 | 0.15 | 22.4 | 91 | 908 | 263.7
2026-10-11 01:00:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.7 | 77.74 | 24.5 | 78.71 | 1 | 1 | 24.64 | 25.21 | -31.46 | -21.03 | 25.31 | 25.34 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.09 | 9.6 | 7.96 | 50 | 0.46 | 225.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.06 | 50 | 0 | 1.61 | 22.4 | 90.8 | 908 | 226
2026-10-11 01:01:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.32 | 24.7 | 77.53 | 24.5 | 78.6 | 1 | 1 | 24.46 | 25.13 | -32.1 | -21.29 | 25.28 | 25.43 | 25.36 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.5 | 0.09 | 9.3 | 7.96 | 50 | 0.45 | 225.4 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.3 | 0 | 0 | 5.06 | 49.9 | 0 | 2.39 | 22.4 | 90.9 | 908 | 252.6
2026-10-11 01:02:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.21 | 24.7 | 77.43 | 24.5 | 78.28 | 1 | 1 | 24.6 | 25.18 | -32.63 | -21.27 | 25.28 | 25.41 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.1 | 9.7 | 7.96 | 50 | 0.45 | 225.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.5 | 0 | 0 | 5.06 | 50 | 0 | 3.6 | 22.3 | 91 | 908 | 234.9
2026-10-11 01:03:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.32 | 24.7 | 77.43 | 24.6 | 78.38 | 1 | 1 | 24.62 | 25.13 | -31.81 | -21.12 | 25.34 | 25.44 | 25.34 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.09 | 9.5 | 7.96 | 50 | 0.45 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 50 | 0 | 2.61 | 22.4 | 91.2 | 908 | 188.8
2026-10-11 01:04:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.32 | 24.7 | 77.43 | 24.5 | 78.39 | 1 | 1 | 24.54 | 25.18 | -31.93 | -21.18 | 25.41 | 25.43 | 25.43 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.5 | 0.09 | 9.6 | 7.96 | 50 | 0.45 | 225.5 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 50 | 0 | 0.63 | 22.4 | 91.2 | 908 | 323.1
2026-10-11 01:05:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.11 | 24.7 | 77.32 | 24.6 | 78.38 | 1 | 1 | 24.53 | 25.16 | -31.11 | -21.49 | 25.34 | 25.48 | 25.36 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.5 | 0.09 | 9.1 | 7.96 | 50 | 0.45 | 225.5 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 50 | 0 | 0.39 | 22.4 | 91 | 908 | 237.3
2026-10-11 01:06:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.21 | 24.7 | 77.53 | 24.6 | 78.28 | 1 | 1 | 24.62 | 25.07 | -30.81 | -21.18 | 25.3 | 25.45 | 25.3 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.5 | 0.09 | 9.5 | 7.96 | 50 | 0.46 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1.61 | 22.4 | 91 | 908 | 206.4
2026-10-11 01:07:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.21 | 24.7 | 77.53 | 24.4 | 78.39 | 1 | 1 | 24.45 | 25.08 | -30.96 | -21.32 | 25.28 | 25.38 | 25.41 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.6 | 0.09 | 9.7 | 7.96 | 50 | 0.46 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.3 | 0 | 0 | 5.06 | 50 | 0 | 1.89 | 22.4 | 90.9 | 908 | 146.7
2026-10-11 01:08:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.1 | 24.7 | 77.53 | 24.6 | 78.49 | 1 | 1 | 24.53 | 25.13 | -30.99 | -21.09 | 25.28 | 25.32 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.5 | 0.1 | 9.7 | 7.96 | 50 | 0.45 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.3 | 0 | 0 | 5.06 | 50 | 0 | 1.14 | 22.5 | 90.9 | 908 | 320.5
2026-10-11 01:09:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.21 | 24.7 | 77.53 | 24.5 | 78.39 | 1 | 1 | 24.55 | 25.16 | -32.2 | -20.83 | 25.16 | 25.34 | 25.37 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.5 | 0.09 | 9.6 | 7.96 | 49.9 | 0.45 | 225.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 50 | 0 | 4.33 | 22.5 | 90.9 | 908 | 251.1
2026-10-11 01:10:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.21 | 24.6 | 77.75 | 24.4 | 78.5 | 1 | 1 | 24.54 | 25.1 | -31.37 | -21.18 | 25.23 | 25.31 | 25.25 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.8 | 0.09 | 9.7 | 7.96 | 50 | 0.46 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.7 | 0 | 0 | 5.06 | 50 | 0 | 2.6 | 22.4 | 91 | 908 | 213.9
2026-10-11 01:11:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.32 | 24.7 | 77.74 | 24.5 | 78.71 | 1 | 1 | 24.63 | 25.09 | -30.66 | -20.89 | 25.19 | 25.28 | 25.34 | 0 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.09 | 9.3 | 7.96 | 50 | 0.46 | 225.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.06 | 50 | 0 | 2.88 | 22.4 | 91.2 | 908 | 264.8
2026-10-11 01:12:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.32 | 24.7 | 77.85 | 24.4 | 78.71 | 1 | 1 | 24.51 | 25.01 | -31.6 | -21.03 | 25.23 | 25.3 | 25.3 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.5 | 0.09 | 9.5 | 7.96 | 49.9 | 0.45 | 225.5 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 49.9 | 0 | 1.38 | 22.4 | 91.2 | 908 | 220.9
2026-10-11 01:13:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.32 | 24.7 | 77.85 | 24.4 | 78.82 | 1 | 1 | 24.4 | 25 | -33.37 | -20.86 | 25.34 | 25.34 | 25.21 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.09 | 9.6 | 7.97 | 49.9 | 0.45 | 225.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 49.9 | 0 | 1.13 | 22.4 | 91.3 | 908 | 195.3
2026-10-11 01:14:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.32 | 24.7 | 78.06 | 24.5 | 78.81 | 1 | 1 | 24.37 | 25.1 | -31.1 | -21.29 | 25.19 | 25.28 | 25.31 | 0 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.6 | 0.09 | 9 | 7.97 | 49.9 | 0.45 | 225.6 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 50 | 0 | 1.89 | 22.4 | 91.3 | 908 | 238.6
2026-10-11 01:15:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.6 | 77.85 | 24.4 | 78.92 | 1 | 1 | 24.45 | 25.1 | -31.22 | -21.18 | 25.23 | 25.25 | 25.31 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | [12 empty] | 225.8 | 0.09 | 9.7 | 7.97 | 50 | 0.46 | 225.7 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.06 | 50 | 0 | 2.63 | 22.4 | 91.3 | 908 | 261.9
2026-10-11 01:16:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.6 | 77.85 | 24.4 | 78.92 | 1 | 1 | 24.4 | 25.08 | -32.92 | -21.15 | 25.19 | 25.27 | 25.31 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.09 | 9.8 | 7.97 | 50 | 0.46 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.7 | 0 | 0 | 5.06 | 50 | 0 | 1.38 | 22.4 | 91.3 | 908 | 156.7
2026-10-11 01:17:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.53 | 24.6 | 77.85 | 24.3 | 78.82 | 1 | 1 | 24.47 | 25.03 | -31.1 | -21.09 | 25.2 | 25.21 | 25.23 | 0 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.8 | 0.09 | 9.1 | 7.97 | 50 | 0.45 | 225.8 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.5 | 0 | 0 | 5.06 | 50 | 0 | 0.01 | 22.4 | 91.3 | 908 | 320.4
2026-10-11 01:18:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.7 | 77.74 | 24.5 | 78.71 | 1 | 1 | 24.46 | 25.05 | -32.72 | -21.55 | 25.23 | 25.34 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.09 | 9 | 7.97 | 50 | 0.44 | 225.7 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.06 | 50 | 0 | 0.61 | 22.4 | 91.3 | 908 | 246.8
2026-10-11 01:19:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 77.53 | 24.8 | 77.74 | 24.4 | 78.71 | 1 | 1 | 24.55 | 25.1 | -32.99 | -21.87 | 25.28 | 25.34 | 25.21 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | [12 empty] | 225.6 | 0.1 | 9.6 | 7.97 | 50 | 0.45 | 225.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.5 | 0 | 0 | 5.06 | 50 | 0 | 2.38 | 22.3 | 91.5 | 908 | 212.5
2026-10-11 01:20:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.64 | 24.6 | 77.75 | 24.4 | 78.71 | 1 | 1 | 24.66 | 25.01 | -30.75 | -21.58 | 25.21 | 25.41 | 25.27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.6 | 0.1 | 9.6 | 7.97 | 50 | 0.45 | 225.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 50 | 0 | 0.39 | 22.3 | 91.5 | 908 | 221.3
2026-10-11 01:21:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.8 | 77.64 | 24.6 | 78.49 | 1 | 1 | 24.58 | 25.12 | -32.63 | -21.58 | 25.26 | 25.32 | 25.36 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.8 | 7.97 | 50 | 0.45 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.7 | 0 | 0 | 5.06 | 50 | 0 | 1.37 | 22.4 | 91.5 | 908 | 212.5
2026-10-11 01:22:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.8 | 77.74 | 24.4 | 78.6 | 1 | 1 | 24.58 | 25.07 | -31.55 | -21.18 | 25.21 | 25.32 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | [12 empty] | 225.7 | 0.09 | 9.6 | 7.97 | 50 | 0.45 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.06 | 50 | 0 | 1.62 | 22.4 | 91.5 | 908 | 258.7
2026-10-11 01:23:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.7 | 77.74 | 24.5 | 78.6 | 1 | 1 | 24.54 | 25.1 | -31.45 | -21.52 | 25.25 | 25.39 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.09 | 9.3 | 7.97 | 50 | 0.45 | 225.7 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.06 | 50 | 0 | 1.59 | 22.4 | 91.4 | 908 | 192.1
2026-10-11 01:24:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.7 | 77.74 | 24.5 | 78.71 | 1 | 1 | 24.47 | 25.05 | -32.57 | -21.52 | 25.26 | 25.32 | 25.28 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.09 | 9.2 | 7.97 | 50 | 0.44 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.8 | 0 | 0 | 5.06 | 50 | 0 | 3.07 | 22.4 | 91.5 | 908 | 251.1
2026-10-11 01:25:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.42 | 24.7 | 77.85 | 24.5 | 78.71 | 1 | 1 | 24.54 | 25.05 | -31.22 | -21.17 | 25.2 | 25.39 | 25.27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.09 | 9.1 | 7.97 | 49.9 | 0.44 | 225.7 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.5 | 0 | 0 | 5.06 | 50 | 0 | 0.88 | 22.4 | 91.7 | 908 | 221.8
2026-10-11 01:26:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 77.42 | 24.8 | 77.64 | 24.4 | 78.71 | 1 | 1 | 24.41 | 25.03 | -31.96 | -21.15 | 25.28 | 25.41 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.09 | 9.2 | 7.97 | 49.9 | 0.43 | 226 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.4 | 0 | 0 | 5.06 | 49.9 | 0 | 0.85 | 22.4 | 91.6 | 908 | 138
2026-10-11 01:27:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.7 | 77.96 | 24.4 | 78.82 | 1 | 1 | 24.44 | 25.1 | -32.07 | -21.26 | 25.16 | 25.26 | 25.31 | 0 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | [12 empty] | 226.2 | 0.09 | 9.5 | 7.97 | 50 | 0.45 | 226.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.9 | 0 | 0 | 5.06 | 50 | 0 | 2.87 | 22.3 | 91.5 | 908 | 198
2026-10-11 01:28:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 77.43 | 24.7 | 77.96 | 24.4 | 78.82 | 1 | 1 | 24.37 | 25.05 | -32.36 | -21.06 | 25.23 | 25.34 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226 | 0.09 | 9.4 | 7.97 | 50 | 0.44 | 226 | 0 | 0 | 10.71 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.9 | 0 | 0 | 5.06 | 50 | 0 | 2.61 | 22.3 | 91.8 | 908 | 264

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-10-11 00:00:00 | To | 2026-10-11 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 1 | 1 | 1 | 87
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 26 | 26 | 26 | 87
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 87
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 87
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 89 | 89 | 89 | 89
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 89 | 89 | 89 | 89
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 90 | 90.01 | 90.5 | 89
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 89 | 89 | 89 | 89
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 89 | 89 | 89 | 89
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 89 | 89 | 89 | 89
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 89 | 89 | 89 | 89
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 89 | 89 | 89 | 89
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 89
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 89
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 89
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 89
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 89
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 89
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 89
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 89
MB-L3-01 | L3-AI-01 | Analog Input 1 | V
MB-L3-01 | L3-AI-02 | Analog Input 2 | V
MB-L3-01 | L3-AI-03 | Analog Input 3 | V
MB-L3-01 | L3-AI-04 | Analog Input 4 | V
MB-L3-01 | L3-AI-05 | Analog Input 5 | V
MB-L3-01 | L3-AI-06 | Analog Input 6 | V
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m²
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m²
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 89
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 89
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 89
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 89
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 89
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 89
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 24.7 | 24.87 | 25.2 | 89
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 75.5 | 76.89 | 77.64 | 89
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 24.6 | 24.78 | 25.1 | 89
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 75.4 | 77.26 | 78.07 | 89
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 24.2 | 24.5 | 25 | 89
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 76.67 | 78.43 | 79.24 | 89
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 89
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 89
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24.36 | 24.61 | 24.98 | 89
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 25 | 25.18 | 25.41 | 89
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -33.62 | -31.5 | -28.82 | 89
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -21.87 | -21.24 | -20.46 | 89
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 25.16 | 25.32 | 25.68 | 89
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 25.21 | 25.41 | 25.64 | 89
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 25.21 | 25.38 | 25.68 | 89
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 89
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0 | 0.1 | 0.1 | 89
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0 | 0.09 | 0.1 | 89
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0.07 | 0.1 | 89
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 89
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 0.1 | 0.1 | 89
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 224.1 | 225.41 | 227.4 | 88
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.09 | 0.09 | 0.1 | 88
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 8.8 | 9.43 | 9.8 | 88
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 7.95 | 7.96 | 7.97 | 88
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.98 | 50 | 88
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.43 | 0.45 | 0.47 | 88
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 223.9 | 225.37 | 227.4 | 89
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 89
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 89
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 10.71 | 10.71 | 10.71 | 89
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.97 | 50 | 89
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 89
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0 | 0 | 0 | 87
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 0 | 0 | 0 | 87
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 0 | 0 | 0 | 87
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 0 | 0 | 0 | 87
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0 | 0 | 0 | 87
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 223.9 | 225.25 | 227.2 | 88
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 88
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0 | 0 | 88
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 5.06 | 5.06 | 5.06 | 88
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.98 | 50 | 88
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0 | 0 | 88
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.01 | 2.03 | 5.12 | 89
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 22.3 | 22.52 | 23 | 89
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 88.5 | 90.51 | 91.8 | 89
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 908 | 908 | 908 | 89
WS-MOD-01 | WS-DIR | Arah Angin | ° | 5.5 | 233.4 | 349.2 | 89

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.