## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-RAD-03 - Radiasi Luar Barat [W/m²] | MB-L5-01 · L5-RAD-04 - Radiasi Luar Utara [W/m²] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Daya AC L3 · PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | Sensor Daya AC L3 · PZEM-L3-03-CURR - PZEM L3-03 Current [A] | Sensor Daya AC L3 · PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | Sensor Daya AC L3 · PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | Sensor Daya AC L3 · PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | Sensor Daya AC L3 · PZEM-L3-03-PF - PZEM L3-03 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-11-03 00:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.73 | 25 | 74.17 | 25.1 | 74.84 | 1 | 1 | 29.08 | 23.44 | -9.48 | -12.09 | 29.2 | 28.57 | 27.67 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.5 | 0.11 | 11 | 1.17 | 50 | 0.45 | 226.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.87 | 20.9 | 90.3 | 910 | 99.2
2026-11-03 00:01:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.73 | 24.9 | 74.17 | 25.1 | 74.84 | 1 | 0 | 29.12 | 23.37 | -9.89 | -12.64 | 29.15 | 28.62 | 27.67 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.7 | 0.11 | 11.1 | 1.17 | 50 | 0.45 | 226.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.37 | 20.9 | 90.5 | 910 | 74.6
2026-11-03 00:02:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 25 | 74.17 | 25 | 74.85 | 1 | 0 | 29.14 | 23.35 | -9.45 | -11.9 | 29.17 | 28.65 | 27.73 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.5 | 0.11 | 11 | 1.17 | 49.9 | 0.44 | 226.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.62 | 20.9 | 90.5 | 910 | 67.2
2026-11-03 00:03:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 25 | 74.85 | 0 | 0 | 29.08 | 23.4 | -9.42 | -12.37 | 29.2 | 28.66 | 27.65 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.7 | 0.11 | 10.9 | 1.17 | 50 | 0.44 | 226.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.34 | 20.9 | 90.5 | 910 | 96.6
2026-11-03 00:04:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 25 | 74.97 | 1 | 0 | 29.07 | 23.45 | -9.39 | -12.43 | 29.17 | 28.59 | 27.65 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.7 | 0.11 | 10.9 | 1.17 | 50 | 0.44 | 226.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.09 | 20.9 | 90.6 | 910 | 67.7
2026-11-03 00:05:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.61 | 25 | 74.17 | 25 | 74.97 | 1 | 0 | 29.14 | 23.41 | -9.73 | -12.06 | 29.2 | 28.62 | 27.64 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.7 | 0.11 | 11 | 1.17 | 50 | 0.44 | 226.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.6 | 20.9 | 90.8 | 910 | 52.8
2026-11-03 00:06:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 25 | 74.85 | 1 | 1 | 29.1 | 23.39 | -9.45 | -12.18 | 29.15 | 28.64 | 27.62 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11 | 1.17 | 50 | 0.44 | 226.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.11 | 20.8 | 90.9 | 910 | 61.6
2026-11-03 00:07:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.62 | 25 | 74.17 | 25 | 74.73 | 1 | 0 | 29.08 | 23.48 | -10.02 | -13.38 | 29.16 | 28.65 | 27.65 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.7 | 0.11 | 11.1 | 1.17 | 50 | 0.44 | 226.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.1 | 20.9 | 90.7 | 910 | 70.2
2026-11-03 00:08:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 25 | 74.17 | 25 | 74.85 | 1 | 1 | 29.07 | 23.3 | -10.11 | -12.52 | 29.16 | 28.51 | 27.65 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.6 | 0.11 | 11 | 1.17 | 49.9 | 0.44 | 226.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.87 | 20.8 | 90.8 | 910 | 91.8
2026-11-03 00:09:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 25 | 74.85 | 1 | 0 | 29.12 | 23.39 | -9.73 | -12.46 | 29.17 | 28.57 | 27.7 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11 | 1.17 | 50 | 0.44 | 226.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.61 | 20.8 | 91 | 910 | 81.8
2026-11-03 00:10:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.73 | 25 | 74.28 | 25 | 74.97 | 1 | 0 | 29.03 | 23.41 | -9.89 | -12.4 | 29.09 | 28.58 | 27.71 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.7 | 0.11 | 11 | 1.17 | 49.9 | 0.44 | 226.7 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.1 | 20.8 | 91 | 910 | 70.2
2026-11-03 00:11:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 25 | 74.17 | 25 | 74.85 | 1 | 1 | 29.1 | 23.26 | -10.99 | -13.78 | 29.16 | 28.52 | 27.62 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11.1 | 1.17 | 50 | 0.44 | 226.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.86 | 20.9 | 90.9 | 910 | 73.1
2026-11-03 00:12:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.85 | 25.1 | 74.16 | 25 | 74.85 | 1 | 0 | 29.01 | 23.27 | -9.7 | -12.27 | 29.15 | 28.55 | 27.6 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.7 | 0.11 | 11.1 | 1.17 | 50 | 0.44 | 226.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.6 | 20.9 | 90.7 | 910 | 63.4
2026-11-03 00:13:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.73 | 24.9 | 74.17 | 25 | 74.85 | 1 | 1 | 29.12 | 23.25 | -9.99 | -12.67 | 29.02 | 28.64 | 27.64 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.7 | 0.11 | 10.9 | 1.17 | 49.9 | 0.43 | 226.7 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.1 | 20.8 | 90.7 | 910 | 83.9
2026-11-03 00:14:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 25 | 74.17 | 24.9 | 74.86 | 1 | 0 | 28.92 | 23.33 | -9.67 | -12.09 | 29.14 | 28.6 | 27.58 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11 | 1.17 | 50 | 0.44 | 226.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.87 | 20.8 | 90.8 | 910 | 85.7
2026-11-03 00:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.8 | 74.18 | 25 | 74.85 | 1 | 1 | 29.03 | 23.39 | -10.14 | -13.32 | 29.09 | 28.52 | 27.62 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11.1 | 1.17 | 50 | 0.44 | 226.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.86 | 20.8 | 91.1 | 910 | 70.8
2026-11-03 00:16:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.73 | 24.9 | 74.17 | 25 | 74.85 | 1 | 0 | 29.05 | 23.21 | -9.42 | -12.73 | 29.07 | 28.59 | 27.66 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11 | 1.17 | 50 | 0.44 | 226.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.62 | 20.8 | 91 | 910 | 78.9
2026-11-03 00:17:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 25 | 74.85 | 1 | 0 | 29 | 23.28 | -9.29 | -12.15 | 29.08 | 28.64 | 27.6 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11.1 | 1.17 | 49.9 | 0.44 | 226.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.87 | 20.8 | 90.8 | 910 | 82.1
2026-11-03 00:18:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.73 | 25 | 74.17 | 25 | 74.85 | 1 | 1 | 28.92 | 23.4 | -10.17 | -12.18 | 29.12 | 28.57 | 27.66 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11 | 1.17 | 50 | 0.44 | 226.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.6 | 20.9 | 90.5 | 910 | 92.6
2026-11-03 00:19:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 25 | 74.85 | 1 | 0 | 28.96 | 23.35 | -10.11 | -13.17 | 29.17 | 28.57 | 27.64 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11.1 | 1.17 | 49.9 | 0.44 | 226.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.37 | 20.9 | 90.7 | 910 | 72.8
2026-11-03 00:20:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 25 | 74.73 | 1 | 0 | 29.05 | 23.34 | -9.67 | -12.15 | 29.12 | 28.59 | 27.7 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.8 | 0.11 | 11.1 | 1.17 | 49.9 | 0.45 | 226.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.86 | 20.9 | 90.6 | 910 | 53.4
2026-11-03 00:21:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 25 | 74.85 | 1 | 1 | 29.03 | 23.26 | -10.46 | -13.63 | 29.12 | 28.55 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.9 | 0.11 | 11.1 | 1.17 | 49.9 | 0.44 | 226.9 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.86 | 20.8 | 90.9 | 910 | 55.2
2026-11-03 00:22:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.62 | 24.9 | 74.29 | 25 | 74.85 | 1 | 0 | 28.97 | 23.33 | -10.71 | -13.44 | 29.03 | 28.59 | 27.57 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.9 | 0.11 | 11 | 1.17 | 50 | 0.44 | 227 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.6 | 20.9 | 90.4 | 910 | 84.6
2026-11-03 00:23:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 24.9 | 74.97 | 1 | 0 | 28.98 | 23.23 | -9.98 | -12.15 | 29.05 | 28.55 | 27.62 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.9 | 0.11 | 11.1 | 1.17 | 49.9 | 0.44 | 226.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.61 | 20.9 | 90.1 | 910 | 116
2026-11-03 00:24:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.17 | 25 | 74.85 | 1 | 1 | 29.07 | 23.21 | -9.67 | -12.09 | 29.09 | 28.55 | 27.62 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228 | 0.11 | 11 | 1.17 | 50 | 0.44 | 227.1 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.59 | 20.9 | 90 | 910 | 100.9
2026-11-03 00:25:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 25 | 74.17 | 24.9 | 74.86 | 1 | 0 | 28.92 | 23.23 | -10.27 | -12.55 | 29.05 | 28.57 | 27.6 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228 | 0.11 | 11 | 1.17 | 49.9 | 0.44 | 227 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.34 | 21 | 89.7 | 910 | 87.8
2026-11-03 00:26:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.85 | 24.9 | 74.29 | 25 | 74.85 | 1 | 0 | 28.94 | 23.39 | -9.92 | -12.43 | 29.15 | 28.55 | 27.53 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 227.9 | 0.11 | 11 | 1.17 | 50 | 0.44 | 226.9 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 1.38 | 21 | 89.8 | 910 | 74.5
2026-11-03 00:27:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.85 | 24.9 | 74.29 | 25 | 74.85 | 1 | 1 | 29.01 | 23.28 | -10.02 | -12.33 | 29.07 | 28.52 | 27.59 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228 | 0.11 | 11.1 | 1.17 | 50 | 0.45 | 227 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.6 | 20.9 | 89.7 | 910 | 141
2026-11-03 00:28:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.29 | 25 | 74.97 | 1 | 0 | 28.94 | 23.32 | -10.2 | -12.24 | 29.09 | 28.52 | 27.58 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.1 | 0.11 | 11 | 1.17 | 50 | 0.45 | 227.1 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 0.62 | 20.9 | 89.8 | 910 | 138.9
2026-11-03 00:29:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 25 | 74.28 | 24.9 | 74.74 | 1 | 1 | 28.98 | 23.33 | -10.02 | -12.4 | 29.05 | 28.53 | 27.58 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.1 | 0.11 | 11.1 | 1.17 | 49.9 | 0.44 | 227.1 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.36 | 21 | 89.4 | 910 | 66.1
2026-11-03 00:30:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 25 | 74.97 | 1 | 1 | 28.95 | 23.27 | -11.21 | -12.06 | 29.08 | 28.55 | 27.62 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.2 | 0.11 | 11.1 | 1.17 | 50 | 0.44 | 227.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.1 | 20.9 | 89.8 | 910 | 77.7
2026-11-03 00:31:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.85 | 24.9 | 74.29 | 25 | 74.85 | 1 | 1 | 28.91 | 23.33 | -10.14 | -12.61 | 29.07 | 28.55 | 27.52 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.1 | 0.11 | 11.1 | 1.17 | 50 | 0.44 | 227.1 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.6 | 21 | 89.2 | 910 | 69.8
2026-11-03 00:32:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 25 | 74.85 | 1 | 0 | 28.87 | 23.27 | -9.36 | -11.87 | 29.08 | 28.55 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.1 | 0.11 | 11.1 | 1.17 | 49.9 | 0.44 | 227.2 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.35 | 21 | 89.4 | 910 | 86.9
2026-11-03 00:33:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.61 | 24.8 | 74.18 | 24.9 | 74.97 | 1 | 0 | 28.95 | 23.37 | -10.46 | -12.7 | 29.07 | 28.46 | 27.62 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.2 | 0.11 | 11 | 1.18 | 50 | 0.44 | 227.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.86 | 21 | 89.3 | 910 | 66.3
2026-11-03 00:34:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.18 | 25 | 74.85 | 1 | 1 | 28.92 | 23.28 | -10.55 | -12.39 | 29.08 | 28.53 | 27.6 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.1 | 0.11 | 11.1 | 1.18 | 49.9 | 0.44 | 227.1 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.6 | 21.1 | 88.8 | 910 | 75
2026-11-03 00:35:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.29 | 24.9 | 74.74 | 1 | 0 | 28.85 | 23.27 | -10.89 | -12.92 | 29.05 | 28.55 | 27.64 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.3 | 0.11 | 11.2 | 1.18 | 50 | 0.44 | 227.3 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.1 | 21 | 89.1 | 910 | 123.9
2026-11-03 00:36:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.29 | 25 | 74.85 | 1 | 1 | 28.89 | 23.3 | -10.08 | -12.39 | 28.92 | 28.53 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.3 | 0.11 | 10.9 | 1.18 | 50 | 0.43 | 227.3 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 1.62 | 21 | 89.2 | 910 | 98
2026-11-03 00:37:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.85 | 24.8 | 74.18 | 25 | 74.85 | 1 | 1 | 28.92 | 23.32 | -10.01 | -12.73 | 29 | 28.5 | 27.57 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.1 | 0.11 | 11.1 | 1.18 | 50 | 0.44 | 227.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.36 | 21 | 89.3 | 910 | 156
2026-11-03 00:38:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.61 | 24.9 | 74.17 | 25 | 74.85 | 1 | 0 | 28.92 | 23.25 | -9.98 | -11.78 | 29.02 | 28.51 | 27.59 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.3 | 0.11 | 11 | 1.18 | 50 | 0.44 | 227.4 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 0.4 | 21 | 89.2 | 910 | 288.3
2026-11-03 00:39:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 24.9 | 74.86 | 1 | 0 | 28.94 | 23.27 | -9.64 | -12.82 | 29.02 | 28.48 | 27.53 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.4 | 0.11 | 10.9 | 1.18 | 50 | 0.43 | 227.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.61 | 21 | 89 | 910 | 141.2
2026-11-03 00:40:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.1 | 74.84 | 24.9 | 74.17 | 25 | 74.85 | 1 | 1 | 28.94 | 23.25 | -9.35 | -12.73 | 29.03 | 28.44 | 27.57 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.5 | 0.11 | 11.2 | 1.18 | 50 | 0.44 | 227.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 1.89 | 21 | 89 | 910 | 81.1
2026-11-03 00:41:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.17 | 25 | 74.73 | 1 | 0 | 29 | 23.25 | -9.73 | -13.13 | 28.94 | 28.48 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.5 | 0.11 | 11 | 1.18 | 50 | 0.44 | 227.4 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.6 | 21 | 89 | 910 | 81.1
2026-11-03 00:42:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.85 | 24.9 | 74.06 | 25 | 74.85 | 1 | 0 | 28.98 | 23.32 | -9.29 | -12.27 | 29.07 | 28.62 | 27.53 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.6 | 0.11 | 11.2 | 1.18 | 50 | 0.44 | 227.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 1.38 | 21 | 89.2 | 910 | 107.8
2026-11-03 00:43:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.06 | 25 | 74.73 | 1 | 1 | 28.91 | 23.28 | -10.11 | -13.1 | 28.98 | 28.48 | 27.58 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 228.5 | 0.11 | 11 | 1.18 | 49.9 | 0.43 | 227.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.86 | 21 | 89 | 910 | 58
2026-11-03 00:44:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.17 | 24.9 | 74.86 | 1 | 1 | 28.8 | 23.27 | -9.73 | -12.24 | 28.95 | 28.51 | 27.52 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.4 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 224.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.33 | 20.9 | 89.5 | 910 | 54.9
2026-11-03 00:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.85 | 24.8 | 74.3 | 24.9 | 74.97 | 1 | 1 | 28.87 | 23.26 | -11.18 | -12.83 | 29.03 | 28.46 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.5 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 224.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.6 | 21 | 89.1 | 910 | 90.5
2026-11-03 00:46:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 24.9 | 74.86 | 1 | 1 | 28.94 | 23.27 | -10.02 | -12.46 | 29 | 28.44 | 27.52 | 0.2 | 0.3 | 0.3 | 0.2 |  | 0.4 | [29 empty] | 225.4 | 0.11 | 11 | 1.18 | 50 | 0.44 | 224.4 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.09 | 21 | 89.2 | 910 | 67.9
2026-11-03 00:47:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.63 | 24.8 | 74.3 | 25 | 74.85 | 1 | 0 | 28.87 | 23.2 | -10.01 | -13.19 | 29.08 | 28.48 | 27.57 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.5 | 0.11 | 11 | 1.18 | 50 | 0.44 | 224.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.1 | 20.9 | 89.3 | 910 | 107.2
2026-11-03 00:48:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.9 | 74.17 | 24.9 | 74.86 | 1 | 1 | 28.91 | 23.2 | -9.92 | -12.46 | 29.03 | 28.48 | 27.52 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.5 | 0.11 | 11 | 1.18 | 50 | 0.44 | 224.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.11 | 20.9 | 89 | 910 | 68.4
2026-11-03 00:49:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.3 | 24.9 | 74.86 | 1 | 0 | 28.83 | 23.26 | -10.26 | -14.39 | 28.96 | 28.4 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.5 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 224.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.35 | 21 | 89 | 910 | 78.5
2026-11-03 00:50:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 24.9 | 74.86 | 1 | 0 | 28.89 | 23.32 | -10.33 | -12.64 | 28.94 | 28.5 | 27.46 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.6 | 0.11 | 11 | 1.18 | 49.9 | 0.44 | 224.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.16 | 20.9 | 88.9 | 910 | 72.6
2026-11-03 00:51:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 24.9 | 74.74 | 0 | 1 | 28.87 | 23.21 | -9.64 | -12.18 | 29.01 | 28.51 | 27.46 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.5 | 0.11 | 11 | 1.18 | 49.9 | 0.44 | 224.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.35 | 20.9 | 88.9 | 910 | 86.4
2026-11-03 00:52:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.85 | 24.8 | 74.18 | 24.9 | 74.97 | 1 | 0 | 28.95 | 23.27 | -10.36 | -12.27 | 28.98 | 28.38 | 27.52 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.7 | 0.11 | 10.8 | 1.18 | 50 | 0.44 | 224.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.6 | 21 | 88.9 | 910 | 76.9
2026-11-03 00:53:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.85 | 24.8 | 74.3 | 24.9 | 74.86 | 1 | 1 | 28.96 | 23.19 | -10.2 | -12.39 | 28.91 | 28.44 | 27.44 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.8 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 224.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.86 | 21 | 88.9 | 910 | 78.7
2026-11-03 00:54:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.18 | 24.9 | 74.97 | 1 | 1 | 28.84 | 23.23 | -9.95 | -12.64 | 28.98 | 28.44 | 27.42 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.9 | 0.11 | 11 | 1.18 | 50 | 0.44 | 224.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.57 | 20.9 | 89.1 | 910 | 58.6
2026-11-03 00:55:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.8 | 74.3 | 25 | 74.85 | 1 | 1 | 28.94 | 23.23 | -10.67 | -12.82 | 29.05 | 28.48 | 27.58 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.8 | 0.11 | 11 | 1.18 | 50 | 0.44 | 224.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.59 | 21 | 88.7 | 910 | 89
2026-11-03 00:56:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.9 | 74.29 | 24.8 | 74.87 | 1 | 0 | 28.94 | 23.2 | -9.35 | -12.98 | 28.97 | 28.48 | 27.51 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.4 | 0.11 | 11 | 1.18 | 50 | 0.44 | 224.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 7.84 | 20.9 | 89.1 | 910 | 85.3
2026-11-03 00:57:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.8 | 74.3 | 24.9 | 74.97 | 1 | 0 | 28.89 | 23.16 | -9.45 | -14.3 | 28.94 | 28.38 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225 | 0.11 | 10.8 | 1.18 | 50 | 0.44 | 224.1 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.87 | 20.8 | 89.4 | 910 | 81.6
2026-11-03 00:58:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.75 | 24.9 | 74.29 | 25 | 74.85 | 1 | 0 | 28.94 | 23.21 | -10.01 | -13.13 | 28.96 | 28.46 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.9 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 223.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.6 | 20.9 | 89.3 | 910 | 84.4
2026-11-03 00:59:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 24.9 | 74.97 | 1 | 0 | 28.87 | 23.21 | -10.52 | -13.84 | 29 | 28.46 | 27.48 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 11 | 1.18 | 50 | 0.45 | 223.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.11 | 20.8 | 89.3 | 910 | 58.6
2026-11-03 01:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 25 | 74.73 | 1 | 0 | 28.89 | 23.23 | -9.95 | -12.58 | 28.98 | 28.41 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.6 | 0.11 | 11 | 1.18 | 50 | 0.45 | 223.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.85 | 20.8 | 89.2 | 910 | 59.9
2026-11-03 01:01:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.62 | 24.8 | 74.41 | 24.9 | 74.86 | 1 | 0 | 28.84 | 23.27 | -10.01 | -12.42 | 28.95 | 28.42 | 27.52 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.5 | 0.11 | 11 | 1.18 | 50 | 0.45 | 223.4 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.86 | 20.8 | 89.3 | 910 | 102.8
2026-11-03 01:02:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.3 | 24.9 | 74.86 | 1 | 0 | 28.9 | 23.2 | -9.7 | -12.52 | 28.94 | 28.45 | 27.48 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.8 | 1.18 | 50 | 0.44 | 223.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.86 | 20.8 | 89.5 | 910 | 74.9
2026-11-03 01:03:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.7 | 74.42 | 24.9 | 74.86 | 1 | 1 | 28.8 | 23.2 | -10.77 | -12.27 | 28.97 | 28.45 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.9 | 1.18 | 50 | 0.45 | 223.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.86 | 20.7 | 89.7 | 910 | 109.2
2026-11-03 01:04:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.63 | 24.8 | 74.3 | 24.8 | 74.87 | 1 | 0 | 28.87 | 23.26 | -10.11 | -12.61 | 28.95 | 28.44 | 27.46 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.9 | 1.18 | 50 | 0.45 | 223.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.34 | 20.8 | 89.5 | 910 | 63.2
2026-11-03 01:05:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 25 | 74.97 | 1 | 0 | 28.89 | 23.16 | -10.42 | -12.39 | 28.89 | 28.42 | 27.46 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.9 | 1.18 | 50 | 0.45 | 223.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.34 | 20.7 | 89.8 | 910 | 56.7
2026-11-03 01:06:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.7 | 74.3 | 24.9 | 74.86 | 1 | 0 | 28.9 | 23.23 | -9.73 | -12.27 | 28.94 | 28.48 | 27.48 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.6 | 0.11 | 10.8 | 1.18 | 50 | 0.45 | 223.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.12 | 20.8 | 89 | 910 | 71
2026-11-03 01:07:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.18 | 24.8 | 74.98 | 0 | 1 | 28.84 | 23.21 | -10.14 | -12.64 | 28.95 | 28.35 | 27.55 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.5 | 0.11 | 11 | 1.18 | 50 | 0.46 | 223.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.62 | 21 | 88.5 | 910 | 79.7
2026-11-03 01:08:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.8 | 74.3 | 24.8 | 74.87 | 1 | 0 | 28.66 | 23.21 | -10.01 | -12.08 | 28.92 | 28.4 | 27.53 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.6 | 0.11 | 11 | 1.18 | 50 | 0.46 | 223.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.13 | 20.9 | 88.8 | 910 | 108
2026-11-03 01:09:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.3 | 24.8 | 74.98 | 1 | 1 | 28.8 | 23.21 | -10.11 | -13.19 | 28.98 | 28.35 | 27.42 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 11.2 | 1.18 | 50 | 0.45 | 223.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.62 | 20.9 | 88.4 | 910 | 78.6
2026-11-03 01:10:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 24.9 | 74.97 | 1 | 0 | 28.83 | 23.26 | -11.05 | -12.82 | 28.89 | 28.44 | 27.48 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.6 | 0.11 | 11.1 | 1.18 | 50 | 0.45 | 223.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.85 | 21 | 88.3 | 910 | 67.1
2026-11-03 01:11:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.9 | 74.29 | 24.8 | 74.87 | 1 | 1 | 28.83 | 23.26 | -9.92 | -12.64 | 28.89 | 28.39 | 27.47 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.6 | 0.11 | 11 | 1.18 | 50 | 0.44 | 223.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.35 | 21 | 88.2 | 910 | 90.6
2026-11-03 01:12:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.3 | 24.9 | 74.97 | 1 | 1 | 28.84 | 23.2 | -9.92 | -12.18 | 28.98 | 28.37 | 27.44 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 11.1 | 1.18 | 50 | 0.45 | 223.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 7.32 | 21 | 87.7 | 910 | 77.1
2026-11-03 01:13:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.63 | 24.8 | 74.3 | 24.8 | 74.87 | 1 | 0 | 28.83 | 23.21 | -10.23 | -13.07 | 28.97 | 28.44 | 27.46 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.6 | 0.11 | 11 | 1.18 | 50 | 0.45 | 223.6 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.83 | 21.1 | 87.2 | 910 | 88.5
2026-11-03 01:14:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.8 | 74.3 | 25 | 74.97 | 1 | 0 | 28.85 | 23.18 | -9.82 | -13.07 | 28.92 | 28.38 | 27.48 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.6 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 223.6 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 7.58 | 21.1 | 87 | 910 | 100.9
2026-11-03 01:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25 | 74.73 | 24.8 | 74.3 | 24.9 | 74.86 | 1 | 1 | 28.95 | 23.18 | -10.39 | -13.44 | 28.9 | 28.41 | 27.45 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 11 | 1.18 | 50 | 0.45 | 223.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 7.84 | 21.2 | 86.5 | 910 | 77
2026-11-03 01:16:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.3 | 24.8 | 74.87 | 1 | 1 | 28.87 | 23.2 | -9.38 | -11.9 | 28.92 | 28.4 | 27.51 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.6 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 223.6 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 7.81 | 21.3 | 86.4 | 910 | 86.6
2026-11-03 01:17:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.3 | 24.8 | 74.87 | 1 | 0 | 28.84 | 23.23 | -10.01 | -13.07 | 28.91 | 28.38 | 27.45 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.8 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 223.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 7.57 | 21.3 | 86.1 | 910 | 49.7
2026-11-03 01:18:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.7 | 74.42 | 24.9 | 74.86 | 1 | 0 | 28.87 | 23.23 | -9.45 | -12.64 | 28.94 | 28.4 | 27.41 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.8 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 223.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.35 | 21.2 | 86.8 | 910 | 79.5
2026-11-03 01:19:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.3 | 24.9 | 74.97 | 1 | 1 | 28.85 | 23.27 | -10.8 | -12.73 | 29.02 | 28.41 | 27.4 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.8 | 1.18 | 50 | 0.44 | 223.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 7.33 | 21.2 | 86.1 | 910 | 93.8
2026-11-03 01:20:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.7 | 74.42 | 24.9 | 74.86 | 1 | 0 | 28.87 | 23.2 | -9.92 | -12.18 | 28.87 | 28.41 | 27.48 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.9 | 1.18 | 49.9 | 0.45 | 223.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.37 | 21.2 | 86.6 | 910 | 77.1
2026-11-03 01:21:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.87 | 24.8 | 74.3 | 24.9 | 74.86 | 1 | 0 | 28.84 | 23.2 | -9.57 | -12.45 | 28.87 | 28.34 | 27.37 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.8 | 0.11 | 10.8 | 1.18 | 50 | 0.44 | 223.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.87 | 21.2 | 86.5 | 910 | 62.5
2026-11-03 01:22:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.8 | 74.18 | 24.9 | 74.97 | 1 | 1 | 28.85 | 23.23 | -9.48 | -12.73 | 28.91 | 28.41 | 27.37 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.9 | 1.18 | 50 | 0.45 | 223.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.11 | 21.1 | 87.1 | 910 | 78.3
2026-11-03 01:23:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.97 | 24.8 | 74.18 | 24.8 | 74.98 | 1 | 0 | 28.91 | 23.14 | -10.08 | -13.44 | 28.89 | 28.39 | 27.35 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.9 | 1.18 | 50 | 0.45 | 223.7 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 2.86 | 21.1 | 86.9 | 910 | 24.9
2026-11-03 01:24:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.87 | 24.8 | 74.3 | 24.9 | 74.86 | 0 | 0 | 28.83 | 23.21 | -9.95 | -12.97 | 28.91 | 28.37 | 27.4 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.8 | 0.11 | 10.9 | 1.18 | 50 | 0.44 | 223.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.87 | 21.1 | 86.6 | 910 | 87.8
2026-11-03 01:25:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.87 | 24.9 | 74.17 | 24.9 | 74.97 | 1 | 0 | 28.85 | 23.23 | -10.8 | -12.45 | 28.84 | 28.44 | 27.37 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.8 | 1.18 | 49.9 | 0.45 | 223.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.61 | 21.2 | 86.6 | 910 | 80.8
2026-11-03 01:26:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.18 | 24.8 | 74.98 | 1 | 0 | 28.87 | 23.23 | -9.67 | -12.08 | 28.89 | 28.44 | 27.44 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.8 | 0.11 | 10.9 | 1.18 | 49.9 | 0.44 | 223.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.34 | 21.1 | 86.6 | 910 | 43.9
2026-11-03 01:27:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.87 | 24.8 | 74.3 | 24.9 | 74.86 | 1 | 0 | 28.84 | 23.23 | -9.67 | -12.45 | 28.89 | 28.38 | 27.34 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225 | 0.11 | 11 | 1.18 | 50 | 0.44 | 224 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 3.35 | 21.1 | 87 | 910 | 34.8
2026-11-03 01:28:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.63 | 24.7 | 74.3 | 24.9 | 74.86 | 1 | 0 | 28.73 | 23.18 | -10.8 | -12.57 | 28.95 | 28.37 | 27.48 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.9 | 0.11 | 10.8 | 1.19 | 50 | 0.44 | 223.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.83 | 21 | 86.5 | 910 | 71
2026-11-03 01:29:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.75 | 24.9 | 74.29 | 24.8 | 74.87 | 1 | 1 | 28.82 | 23.12 | -10.89 | -12.27 | 28.94 | 28.3 | 27.41 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.9 | 0.11 | 11 | 1.19 | 50 | 0.44 | 223.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.09 | 21.1 | 86.5 | 910 | 66.3
2026-11-03 01:30:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.8 | 74.18 | 24.9 | 74.86 | 1 | 1 | 28.78 | 23.25 | -9.67 | -12.42 | 28.83 | 28.37 | 27.33 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.9 | 0.11 | 10.9 | 1.19 | 50 | 0.44 | 223.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 8.34 | 21.1 | 85.9 | 910 | 102.1
2026-11-03 01:31:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.87 | 24.8 | 74.3 | 24.9 | 74.86 | 1 | 0 | 28.82 | 23.19 | -9.7 | -13.19 | 28.87 | 28.37 | 27.37 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.9 | 0.11 | 10.9 | 1.19 | 49.9 | 0.44 | 223.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 10.56 | 21.2 | 85.6 | 910 | 70.7
2026-11-03 01:32:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.75 | 24.8 | 74.3 | 24.8 | 74.87 | 1 | 0 | 28.7 | 23.14 | -10.39 | -12.27 | 28.82 | 28.35 | 27.4 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.9 | 0.11 | 11 | 1.19 | 50 | 0.44 | 223.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.57 | 21.1 | 86.5 | 910 | 31.7
2026-11-03 01:33:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.8 | 74.3 | 24.9 | 74.86 | 1 | 0 | 28.91 | 23.2 | -10.23 | -12.3 | 28.92 | 28.41 | 27.35 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.8 | 0.11 | 11 | 1.19 | 50 | 0.44 | 223.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.1 | 21 | 86.8 | 910 | 76.6
2026-11-03 01:34:00 |  |  |  |  | 0.5 | 1 | -2.5 | 0 | 88.5 | 88.5 | 91.5 | 88.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.87 | 24.7 | 74.19 | 24.9 | 74.97 | 1 | 0 | 28.77 | 23.16 | -9.23 | -12.64 | 28.83 | 28.32 | 27.4 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.9 | 0.11 | 11 | 1.19 | 50 | 0.44 | 223.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 6.11 | 21 | 86.8 | 910 | 67.9
2026-11-03 01:35:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.86 | 24.7 | 74.3 | 24.8 | 74.87 | 1 | 1 | 28.73 | 23.16 | -9.89 | -12.54 | 28.83 | 28.4 | 27.41 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.7 | 0.11 | 10.8 | 1.19 | 49.9 | 0.44 | 223.7 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 11.31 | 21 | 86.1 | 910 | 71
2026-11-03 01:36:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.87 | 24.8 | 74.3 | 24.7 | 74.76 | 1 | 0 | 28.82 | 23.18 | -10.36 | -13.13 | 28.82 | 28.37 | 27.39 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.9 | 0.11 | 10.9 | 1.19 | 50 | 0.44 | 224 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 8.07 | 21.2 | 85.2 | 910 | 62.5
2026-11-03 01:37:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 74.74 | 24.8 | 74.18 | 24.9 | 74.86 | 1 | 1 | 28.71 | 23.2 | -9.45 | -12.64 | 28.85 | 28.37 | 27.34 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 224.9 | 0.11 | 11 | 1.19 | 50 | 0.44 | 224 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 4.13 | 21.3 | 84.9 | 910 | 21.5
2026-11-03 01:38:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.87 | 24.7 | 74.19 | 24.8 | 74.75 | 1 | 0 | 28.77 | 23.12 | -10.79 | -11.9 | 28.87 | 28.27 | 27.37 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225.1 | 0.11 | 10.8 | 1.19 | 50 | 0.44 | 224 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 5.89 | 21.2 | 85.2 | 910 | 57.8
2026-11-03 01:39:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 74.75 | 24.9 | 74.29 | 24.8 | 74.87 | 1 | 1 | 28.78 | 23.12 | -9.82 | -12.57 | 28.8 | 28.34 | 27.35 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 225 | 0.11 | 11 | 1.19 | 50 | 0.44 | 224 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96 | [24 empty] | 8.57 | 21.2 | 85.4 | 910 | 64.8

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-11-03 00:00:00 | To | 2026-11-03 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 0.5 | 0.5 | 0.5 | 26
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 1 | 1 | 1 | 26
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | -2.5 | -2.5 | -2.5 | 26
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 0 | 0 | 0 | 26
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 88.5 | 88.5 | 88.5 | 26
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 88.5 | 88.5 | 88.5 | 26
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 91.5 | 91.5 | 91.5 | 26
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 88.5 | 88.5 | 88.5 | 26
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 26
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 26
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 26
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 26
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 26
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 26
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 26
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 26
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 100
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 100
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 100
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 100
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 100
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 100
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 24.8 | 24.95 | 25.1 | 100
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 74.61 | 74.77 | 74.97 | 100
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 24.7 | 24.86 | 25.1 | 100
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 74.06 | 74.24 | 74.42 | 100
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 24.7 | 24.93 | 25.1 | 100
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 74.73 | 74.87 | 74.98 | 100
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 0 | 0.96 | 1 | 100
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.4 | 1 | 100
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 28.66 | 28.91 | 29.14 | 100
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 23.12 | 23.26 | 23.48 | 100
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m² | -11.21 | -10.02 | -9.23 | 100
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m² | -14.39 | -12.62 | -11.78 | 100
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 28.8 | 29 | 29.2 | 100
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 28.27 | 28.48 | 28.66 | 100
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 27.33 | 27.52 | 27.73 | 100
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.2 | 0.2 | 0.2 | 100
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.3 | 0.3 | 0.3 | 100
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.3 | 0.3 | 0.3 | 100
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.2 | 0.2 | 0.2 | 100
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.4 | 0.4 | 0.4 | 99
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.4 | 0.4 | 0.4 | 100
MB-L5-01 | L5-AI-01 | Analog Input 1 | V
MB-L5-01 | L5-AI-02 | Analog Input 2 | V
MB-L5-01 | L5-AI-03 | Analog Input 3 | V
MB-L5-01 | L5-AI-04 | Analog Input 4 | V
MB-L5-01 | L5-AI-05 | Analog Input 5 | V
MB-L5-01 | L5-AI-06 | Analog Input 6 | V
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m²
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m²
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m²
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m²
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-RAD-03 | Radiasi Luar Barat | W/m²
MB-L5-01 | L5-RAD-04 | Radiasi Luar Utara | W/m²
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 224.5 | 226.27 | 228.6 | 100
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.11 | 0.11 | 0.11 | 100
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.8 | 10.98 | 11.2 | 100
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 1.17 | 1.18 | 1.19 | 100
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.98 | 50 | 100
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.43 | 0.44 | 0.46 | 100
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 223.4 | 225.29 | 227.7 | 100
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 100
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 100
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 1.01 | 1.01 | 1.01 | 100
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.98 | 50 | 100
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 100
Sensor Daya AC L3 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
Sensor Daya AC L3 | PZEM-L3-03-CURR | PZEM L3-03 Current | A | 5.43 | 5.43 | 5.43 | 100
Sensor Daya AC L3 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W | 1168.2 | 1168.2 | 1168.2 | 100
Sensor Daya AC L3 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh | 8.6 | 8.6 | 8.6 | 100
Sensor Daya AC L3 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz | 50 | 50 | 50 | 100
Sensor Daya AC L3 | PZEM-L3-03-PF | PZEM L3-03 Power Factor |  | 0.96 | 0.96 | 0.96 | 100
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.4 | 4.87 | 11.31 | 100
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 20.7 | 20.97 | 21.3 | 100
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 84.9 | 88.77 | 91.1 | 100
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 910 | 910 | 910 | 100
WS-MOD-01 | WS-DIR | Arah Angin | ° | 21.5 | 81.07 | 288.3 | 100

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.