## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-RAD-03 - Radiasi Luar Barat [W/m²] | MB-L5-01 · L5-RAD-04 - Radiasi Luar Utara [W/m²] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Daya AC L3 · PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | Sensor Daya AC L3 · PZEM-L3-03-CURR - PZEM L3-03 Current [A] | Sensor Daya AC L3 · PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | Sensor Daya AC L3 · PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | Sensor Daya AC L3 · PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | Sensor Daya AC L3 · PZEM-L3-03-PF - PZEM L3-03 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-11-06 00:00:00 | 0 | 26 | 1 | 0 | 88.5 | 89 | 90.5 | 89 | 89 | 88.5 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26 | 70.26 | 26 | 69.46 | 25.9 | 70.61 | 1 | 1 | 30.8 | 25.16 | -4.61 | -7.16 | 30.09 | 29.51 | 28.62 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.5 | 66.68 | 25.6 | 66.26 | 25.6 | 66.68 | 1 | 1 | 25.27 | 24.82 | -27.31 | -27.97 | 26.06 | 26.06 | 25.74 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 1 | 1 | 226.3 | 0.11 | 11 | 1.97 | 50 | 0.46 | 225.4 | 0 | 0 | 1.01 | 50 | 0 |  | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225.5 | 0.1 | 9.7 | 13.83 | 50 | 0.41 | 225.6 | 0 | 0 | 15.56 | 50 | 0 | 225.5 | 0.07 | 7.5 | 2.23 | 50 | 0.46 | 225.5 | 0.06 | 0.4 | 97.6 | 50 | 0.03 | 0.38 | 22.8 | 84 | 910 | 268.7
2026-11-06 00:01:00 | 0 | 26 | 1 | 0 | 88.5 | 89 | 90.5 | 89 | 89 | 88.5 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26 | 70.37 | 26 | 69.46 | 25.9 | 70.5 | 1 | 1 | 30.85 | 25.13 | -4.65 | -7.47 | 30.09 | 29.45 | 28.62 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.5 | 66.9 | 25.6 | 66.26 | 25.6 | 66.68 | 1 | 1 | 25.3 | 24.85 | -27.78 | -27.97 | 26.11 | 25.98 | 25.74 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 1 | 1 | 226.2 | 0.11 | 11 | 1.97 | 50 | 0.46 | 225.3 | 0 | 0 | 1.01 | 50 | 0 |  | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225.6 | 0.1 | 9.5 | 13.84 | 50 | 0.42 | 225.6 | 0 | 0 | 15.56 | 50 | 0 | 225.5 | 0.07 | 7.6 | 2.23 | 50 | 0.46 | 225.5 | 0.06 | 0 | 97.6 | 50 | 0 | 0.03 | 22.8 | 83.8 | 910 | 303.9
2026-11-06 00:02:00 | 0 | 26 | 1 | 0 | 88.5 | 89 | 90.5 | 89 | 89 | 88.5 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.9 | 70.26 | 26 | 69.46 | 25.9 | 70.61 | 1 | 1 | 30.75 | 25.18 | -4.3 | -7.41 | 30.06 | 29.47 | 28.57 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.5 | 66.9 | 25.6 | 66.26 | 25.5 | 66.68 | 1 | 1 | 25.26 | 24.83 | -27.69 | -27.88 | 26.02 | 25.99 | 25.74 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 1 | 1 | 226.2 | 0.11 | 11.1 | 1.97 | 50 | 0.46 | 225.2 | 0 | 0 | 1.01 | 50 | 0 |  | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225.6 | 0.1 | 9.7 | 13.84 | 50 | 0.42 | 225.5 | 0 | 0 | 15.56 | 49.9 | 0 | 225.5 | 0.07 | 7.5 | 2.23 | 49.9 | 0.46 | 225.5 | 0.07 | 0.4 | 97.6 | 50 | 0.03 | 0.03 | 22.8 | 83.9 | 910 | 153
2026-11-06 00:03:00 | 0 | 26 | 1 | 0 | 88.5 | 89 | 90.5 | 89 | 89 | 88.5 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.9 | 70.26 | 25.9 | 69.58 | 25.9 | 70.5 | 1 | 1 | 30.81 | 25.16 | -4.42 | -7.5 | 30.04 | 29.57 | 28.62 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.5 | 66.79 | 25.5 | 66.26 | 25.5 | 66.58 | 1 | 1 | 25.31 | 24.87 | -27.46 | -28.2 | 26.12 | 26.1 | 25.81 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 1 | 1 | 226.2 | 0.11 | 11.1 | 1.97 | 49.9 | 0.46 | 225.2 | 0 | 0 | 1.01 | 49.9 | 0 |  | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225.6 | 0.1 | 9.8 | 13.84 | 50 | 0.42 | 225.5 | 0 | 0 | 15.56 | 49.9 | 0 | 225.4 | 0.07 | 7.7 | 2.23 | 49.9 | 0.47 | 225.4 | 0.06 | 0 | 97.6 | 50 | 0 | 1.89 | 22.9 | 84.4 | 910 | 80.7
2026-11-06 00:04:00 | 0 | 26 | 1 | 0 | 88.5 | 89 | 90.5 | 89 | 89 | 88.5 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26 | 70.37 | 25.9 | 69.46 | 25.8 | 70.62 | 1 | 1 | 30.77 | 25.23 | -4.46 | -6.95 | 30.1 | 29.53 | 28.6 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.4 | 66.79 | 25.6 | 66.26 | 25.6 | 66.68 | 1 | 1 | 25.25 | 24.83 | -27.1 | -27.86 | 26.06 | 25.99 | 25.74 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 1 | 1 | 226.4 | 0.11 | 11.1 | 1.97 | 50 | 0.45 | 225.3 | 0 | 0 | 1.01 | 50 | 0 |  | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225.7 | 0.1 | 9.8 | 13.84 | 50 | 0.42 | 225.6 | 0 | 0 | 15.56 | 50 | 0 | 225.6 | 0.07 | 7.4 | 2.23 | 50 | 0.46 | 225.6 | 0.06 | 0.4 | 97.6 | 50 | 0.03 | 1.37 | 22.8 | 84.3 | 910 | 109.2
2026-11-06 00:05:00 | 0 | 26 | 1 | 0 | 88.5 | 89 | 90.5 | 89 | 89 | 88.5 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26 | 70.26 | 25.9 | 69.46 | 25.8 | 70.5 | 1 | 1 | 30.84 | 25.23 | -4.8 | -7.35 | 30.05 | 29.59 | 28.6 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.5 | 66.79 | 25.7 | 66.36 | 25.5 | 66.47 | 1 | 1 | 25.23 | 24.92 | -27.37 | -27.97 | 26.12 | 25.95 | 25.77 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 1 | 1 | 226.3 | 0.11 | 11.1 | 1.97 | 50 | 0.46 | 225.3 | 0 | 0 | 1.01 | 50 | 0 |  | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225.7 | 0.1 | 9.4 | 13.84 | 50 | 0.42 | 225.6 | 0 | 0 | 15.56 | 50 | 0 | 225.5 | 0.07 | 7.6 | 2.23 | 50 | 0.46 | 225.5 | 0.07 | 0.4 | 97.6 | 50 | 0.03 | 1.39 | 22.7 | 84.2 | 910 | 94.8
2026-11-06 00:06:00 | 0 | 26 | 1 | 0 | 88.5 | 89 | 90.5 | 89 | 89 | 88.5 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 25.9 | 70.38 | 25.9 | 69.46 | 25.8 | 70.5 | 1 | 1 | 30.84 | 25.3 | -4.33 | -7.07 | 30.1 | 29.48 | 28.6 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.5 | 66.58 | 25.6 | 66.36 | 25.6 | 66.68 | 1 | 1 | 25.32 | 24.87 | -27.46 | -27.88 | 26.04 | 26 | 25.73 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 1 | 1 | 226.2 | 0.11 | 11.1 | 1.97 | 49.9 | 0.46 | 225.2 | 0 | 0 | 1.01 | 49.9 | 0 |  | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225.5 | 0.1 | 9.5 | 13.84 | 49.9 | 0.41 | 225.5 | 0 | 0 | 15.56 | 50 | 0 | 225.3 | 0.07 | 7.5 | 2.23 | 49.9 | 0.46 | 225.4 | 0.07 | 0.4 | 97.6 | 49.9 | 0.03 | 0.02 | 22.8 | 84.2 | 910 | 339.4
2026-11-06 00:07:00 | 0 | 26 | 1 | 0 | 88.5 | 89 | 90.5 | 89 | 89 | 88.5 | 89 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26 | 70.26 | 26 | 69.57 | 25.9 | 70.61 | 1 | 0 | 30.9 | 25.23 | -4.42 | -7.13 | 30.08 | 29.44 | 28.59 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.4 | 66.69 | 25.5 | 66.15 | 25.4 | 66.58 | 1 | 1 | 25.34 | 24.9 | -27.28 | -27.43 | 26.12 | 25.97 | 25.74 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 1 | 1 | 226.2 | 0.11 | 11 | 1.97 | 49.9 | 0.45 | 225.2 | 0 | 0 | 1.01 | 49.9 | 0 |  | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225.5 | 0.1 | 9.6 | 13.84 | 49.9 | 0.42 | 225.5 | 0 | 0 | 15.56 | 49.9 | 0 | 225.4 | 0.07 | 7.6 | 2.23 | 49.9 | 0.46 | 225.3 | 0.07 | 0.4 | 97.6 | 49.9 | 0.03 | 0.02 | 22.8 | 84.1 | 910 | 242.9

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-11-06 00:00:00 | To | 2026-11-06 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0 | 0 | 8
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 26 | 26 | 26 | 8
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 8
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 8
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 88.5 | 88.5 | 88.5 | 8
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 89 | 89 | 89 | 8
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 90.5 | 90.5 | 90.5 | 8
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 89 | 89 | 89 | 8
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 89 | 89 | 89 | 8
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 88.5 | 88.5 | 88.5 | 8
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 89 | 89 | 89 | 8
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 89 | 89 | 89 | 8
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 8
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 8
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 8
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 8
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 8
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 8
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 8
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 8
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 8
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 8
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 8
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 8
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 8
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 8
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 25.9 | 25.96 | 26 | 8
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 70.26 | 70.3 | 70.38 | 8
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 25.9 | 25.95 | 26 | 8
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 69.46 | 69.49 | 69.58 | 8
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 25.8 | 25.86 | 25.9 | 8
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 70.5 | 70.56 | 70.62 | 8
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 8
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.88 | 1 | 8
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 30.75 | 30.82 | 30.9 | 8
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 25.13 | 25.2 | 25.3 | 8
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m² | -4.8 | -4.5 | -4.3 | 8
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m² | -7.5 | -7.26 | -6.95 | 8
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 30.04 | 30.08 | 30.1 | 8
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.44 | 29.51 | 29.59 | 8
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 28.57 | 28.6 | 28.62 | 8
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.2 | 0.25 | 0.3 | 8
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.3 | 0.3 | 0.3 | 8
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.3 | 0.3 | 0.3 | 8
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.2 | 0.2 | 0.2 | 8
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.4 | 0.4 | 0.4 | 8
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.4 | 0.4 | 0.4 | 8
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 8
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 8
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 8
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 8
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 8
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 8
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 25.4 | 25.48 | 25.5 | 8
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 66.58 | 66.76 | 66.9 | 8
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 25.5 | 25.59 | 25.7 | 8
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 66.15 | 66.27 | 66.36 | 8
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 25.4 | 25.54 | 25.6 | 8
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 66.47 | 66.63 | 66.68 | 8
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 8
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 8
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 25.23 | 25.29 | 25.34 | 8
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.82 | 24.86 | 24.92 | 8
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -27.78 | -27.43 | -27.1 | 8
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -28.2 | -27.89 | -27.43 | 8
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.02 | 26.08 | 26.12 | 8
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 25.95 | 26.01 | 26.1 | 8
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 25.73 | 25.75 | 25.81 | 8
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 8
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.1 | 0.1 | 0.1 | 8
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.1 | 0.1 | 0.1 | 8
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0 | 0 | 8
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 8
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0.1 | 0.1 | 0.1 | 8
MB-L5-01 | L5-RAD-03 | Radiasi Luar Barat | W/m² | 1 | 1 | 1 | 8
MB-L5-01 | L5-RAD-04 | Radiasi Luar Utara | W/m² | 1 | 1 | 1 | 8
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 226.2 | 226.25 | 226.4 | 8
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.11 | 0.11 | 0.11 | 8
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 11 | 11.06 | 11.1 | 8
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 1.97 | 1.97 | 1.97 | 8
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.96 | 50 | 8
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.45 | 0.46 | 0.46 | 8
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 225.2 | 225.26 | 225.4 | 8
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 8
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 8
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 1.01 | 1.01 | 1.01 | 8
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.96 | 50 | 8
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 8
Sensor Daya AC L3 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
Sensor Daya AC L3 | PZEM-L3-03-CURR | PZEM L3-03 Current | A | 0.07 | 0.07 | 0.07 | 8
Sensor Daya AC L3 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W | 0.5 | 0.5 | 0.5 | 8
Sensor Daya AC L3 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh | 11.91 | 11.91 | 11.91 | 8
Sensor Daya AC L3 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz | 49.9 | 49.9 | 49.9 | 8
Sensor Daya AC L3 | PZEM-L3-03-PF | PZEM L3-03 Power Factor |  | 0.03 | 0.03 | 0.03 | 8
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 225.5 | 225.59 | 225.7 | 8
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.1 | 0.1 | 0.1 | 8
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 9.4 | 9.63 | 9.8 | 8
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 13.83 | 13.83 | 13.84 | 8
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.98 | 50 | 8
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.41 | 0.42 | 0.42 | 8
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 225.5 | 225.55 | 225.6 | 8
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 8
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 8
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 15.56 | 15.56 | 15.56 | 8
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.96 | 50 | 8
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 8
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V | 225.3 | 225.46 | 225.6 | 8
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0.07 | 0.07 | 0.07 | 8
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 7.4 | 7.55 | 7.7 | 8
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 2.23 | 2.23 | 2.23 | 8
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 49.9 | 49.95 | 50 | 8
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0.46 | 0.46 | 0.47 | 8
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 225.3 | 225.46 | 225.6 | 8
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0.06 | 0.06 | 0.07 | 8
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0.3 | 0.4 | 8
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 97.6 | 97.6 | 97.6 | 8
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.98 | 50 | 8
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0.02 | 0.03 | 8
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.02 | 0.64 | 1.89 | 8
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 22.7 | 22.8 | 22.9 | 8
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 83.8 | 84.11 | 84.4 | 8
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 910 | 910 | 910 | 8
WS-MOD-01 | WS-DIR | Arah Angin | ° | 80.7 | 199.08 | 339.4 | 8

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.