## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-14 00:00:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.1 | 29.1 | 47.2 | 29.1 | 47.4 | 1 | 0 | 29.7 | 23.9 | 28.4 | 23.3 | 30.3 | 30 | 29 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.9 | 29.5 | 45.1 | 29.5 | 45.1 | 1 | 1 | 24.5 | 23.4 | 24.3 | 23.2 | 27.1 | 26.9 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 10.9 | 1.71 | 49.9 | 0.41 | 225.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.6 | 1.82 | 50 | 0.38 | 226.1 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226 | 0 | 0 | 4.93 | 49.9 | 0 | 1.87 | 20.8 | 76.5 | 910 | 33.3
2026-09-14 00:01:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.2 | 47.1 | 29.1 | 47.3 | 29.2 | 47.4 | 1 | 1 | 29.7 | 23.9 | 28.5 | 23.2 | 30.3 | 29.9 | 29 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.8 | 29.5 | 45.1 | 29.6 | 45.2 | 1 | 1 | 24.5 | 23.3 | 24.3 | 23.2 | 27.1 | 26.9 | 26.8 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226 | 0.12 | 10.8 | 1.71 | 49.9 | 0.41 | 225.7 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226 | 0.12 | 10.7 | 1.82 | 49.9 | 0.39 | 226 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 225.9 | 0 | 0 | 4.93 | 49.9 | 0 | 2.6 | 20.7 | 77 | 910 | 57
2026-09-14 00:02:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.1 | 29 | 47.2 | 29.2 | 47.4 | 1 | 1 | 29.8 | 23.9 | 28.5 | 23.3 | 30.3 | 30 | 29 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.9 | 29.6 | 45.1 | 29.5 | 45.1 | 1 | 1 | 24.4 | 23.5 | 24.4 | 23.1 | 27 | 26.9 | 26.8 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 10.7 | 1.71 | 49.9 | 0.41 | 225.9 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.2 | 0.12 | 10.5 | 1.82 | 49.9 | 0.38 | 226.1 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226 | 0 | 0 | 4.93 | 49.9 | 0 | 6.1 | 20.7 | 77.5 | 910 | 69.4
2026-09-14 00:03:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.1 | 29.1 | 47.3 | 29.2 | 47.5 | 1 | 0 | 29.7 | 24 | 28.5 | 23.2 | 30.3 | 29.9 | 29.1 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.9 | 29.5 | 45 | 29.5 | 45.2 | 1 | 1 | 24.5 | 23.4 | 24.3 | 23.1 | 27 | 27 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.9 | 1.71 | 50 | 0.41 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.3 | 0.12 | 10.7 | 1.82 | 50 | 0.39 | 226.2 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.1 | 0 | 0 | 4.93 | 50 | 0 | 4.83 | 20.7 | 77.7 | 910 | 83.3
2026-09-14 00:04:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.2 | 29.1 | 47.2 | 29.1 | 47.5 | 1 | 0 | 29.6 | 24 | 28.5 | 23.3 | 30.3 | 29.9 | 29 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 44.8 | 29.4 | 45.1 | 29.5 | 45.3 | 1 | 1 | 24.5 | 23.3 | 24.4 | 23.1 | 27 | 27 | 26.8 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.9 | 1.71 | 50 | 0.41 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.5 | 1.83 | 50 | 0.38 | 226.3 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.2 | 0 | 0.4 | 4.93 | 50 | 1 | 7.09 | 20.6 | 77.8 | 910 | 65.7
2026-09-14 00:05:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.1 | 29.1 | 47.3 | 29 | 47.4 | 1 | 0 | 29.8 | 23.9 | 28.5 | 23.2 | 30.2 | 29.9 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 44.9 | 29.5 | 44.9 | 29.5 | 45.2 | 1 | 1 | 24.5 | 23.3 | 24.4 | 23.1 | 27.1 | 26.9 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 11.1 | 1.71 | 50 | 0.41 | 226.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.5 | 0.12 | 10.6 | 1.83 | 50 | 0.38 | 226.4 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 4.93 | 50 | 0 | 5.33 | 20.6 | 78.1 | 910 | 77.5
2026-09-14 00:06:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.2 | 29.1 | 47.3 | 29.1 | 47.4 | 1 | 0 | 29.7 | 23.9 | 28.5 | 23.2 | 30.3 | 29.9 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.8 | 29.6 | 45 | 29.4 | 45.2 | 1 | 1 | 24.4 | 23.3 | 24.3 | 23.1 | 27 | 26.9 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.9 | 1.71 | 49.9 | 0.4 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.8 | 1.83 | 49.9 | 0.38 | 226.3 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.2 | 0 | 0.4 | 4.93 | 49.9 | 1 | 6.82 | 20.6 | 78.2 | 910 | 74.6
2026-09-14 00:07:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.3 | 29.1 | 47.2 | 29.1 | 47.5 | 1 | 0 | 29.7 | 23.9 | 28.4 | 23.3 | 30.3 | 29.9 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.8 | 29.5 | 45.2 | 29.5 | 45.2 | 1 | 1 | 24.4 | 23.3 | 24.3 | 23.1 | 27 | 27 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 10.9 | 1.71 | 50 | 0.4 | 226.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.5 | 0.12 | 10.6 | 1.83 | 50 | 0.38 | 226.4 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.3 | 0 | 0.4 | 4.93 | 50 | 1 | 6.34 | 20.6 | 78.1 | 910 | 67.9
2026-09-14 00:08:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.2 | 29.1 | 47.3 | 29 | 47.5 | 1 | 0 | 29.7 | 23.8 | 28.4 | 23.3 | 30.2 | 29.9 | 29 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.9 | 29.5 | 45 | 29.5 | 45.3 | 1 | 1 | 24.5 | 23.4 | 24.3 | 23.2 | 27 | 26.9 | 26.8 | 0.1 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 10.9 | 1.71 | 49.9 | 0.41 | 225.9 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.2 | 0.12 | 10.7 | 1.83 | 49.9 | 0.38 | 226.1 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.1 | 0 | 0.4 | 4.93 | 49.9 | 1 | 6.1 | 20.5 | 78.3 | 910 | 76.6
2026-09-14 00:09:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.2 | 29.1 | 47.3 | 29.1 | 47.5 | 1 | 0 | 29.7 | 23.9 | 28.4 | 23.2 | 30.3 | 29.9 | 29 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 44.9 | 29.5 | 45 | 29.5 | 45.2 | 1 | 1 | 24.4 | 23.4 | 24.3 | 23.1 | 27 | 26.9 | 26.8 | 0.1 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 10.7 | 1.71 | 49.9 | 0.4 | 226 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.4 | 0.12 | 10.7 | 1.83 | 50 | 0.38 | 226.3 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.2 | 0 | 0.4 | 4.93 | 49.9 | 1 | 4.61 | 20.5 | 78.4 | 910 | 86.1
2026-09-14 00:10:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.2 | 29.1 | 47.3 | 29.2 | 47.5 | 1 | 1 | 29.6 | 23.9 | 28.4 | 23.2 | 30.2 | 29.9 | 29 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.8 | 29.5 | 45.1 | 29.4 | 45.3 | 1 | 1 | 24.4 | 23.4 | 24.4 | 23.2 | 27 | 26.9 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 11 | 1.71 | 50 | 0.4 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.5 | 1.83 | 50 | 0.38 | 226.3 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.2 | 0 | 0.4 | 4.93 | 50 | 1 | 4.86 | 20.5 | 78.4 | 910 | 51.9
2026-09-14 00:11:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.2 | 29.1 | 47.3 | 29.1 | 47.5 | 1 | 0 | 29.7 | 23.9 | 28.5 | 23.2 | 30.3 | 29.8 | 29 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 44.9 | 29.4 | 45.1 | 29.4 | 45.4 | 1 | 1 | 24.3 | 23.3 | 24.3 | 23.1 | 27 | 26.9 | 26.8 | 0.1 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 10.9 | 1.71 | 50 | 0.4 | 226.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.6 | 1.83 | 50 | 0.38 | 226.4 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.3 | 0 | 0.4 | 4.93 | 50 | 1 | 3.85 | 20.4 | 78.6 | 910 | 70.2
2026-09-14 00:12:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.2 | 29.1 | 47.3 | 29 | 47.5 | 1 | 0 | 29.6 | 23.8 | 28.4 | 23.2 | 30.3 | 29.9 | 29 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.9 | 29.4 | 45.1 | 29.6 | 45.3 | 1 | 1 | 24.5 | 23.3 | 24.3 | 23.1 | 27 | 26.9 | 26.8 | 0.1 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 10.9 | 1.71 | 50 | 0.4 | 225.9 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.3 | 0.12 | 10.6 | 1.83 | 49.9 | 0.38 | 226.2 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.1 | 0 | 0.4 | 4.93 | 50 | 1 | 5.09 | 20.4 | 78.8 | 910 | 75.4
2026-09-14 00:13:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.2 | 29 | 47.4 | 29 | 47.4 | 1 | 0 | 29.5 | 23.8 | 28.5 | 23.2 | 30.2 | 29.9 | 28.9 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45 | 29.5 | 45.1 | 29.4 | 45.4 | 1 | 1 | 24.3 | 23.4 | 24.3 | 23.1 | 27.1 | 26.9 | 26.8 | 0.1 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.1 | 0.12 | 11 | 1.71 | 50 | 0.41 | 225.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.5 | 1.83 | 49.9 | 0.39 | 226.1 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226 | 0 | 0.4 | 4.93 | 49.9 | 1 | 4.6 | 20.4 | 78.7 | 910 | 71.9
2026-09-14 00:14:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.3 | 29.2 | 47.3 | 29.1 | 47.6 | 1 | 0 | 29.6 | 23.8 | 28.4 | 23.2 | 30.3 | 29.9 | 29 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 44.9 | 29.5 | 45.1 | 29.4 | 45.2 | 1 | 1 | 24.4 | 23.3 | 24.2 | 23.2 | 26.9 | 26.9 | 26.7 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 11 | 1.71 | 50 | 0.4 | 225.9 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.3 | 0.12 | 10.6 | 1.83 | 50 | 0.38 | 226.2 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.1 | 0 | 0 | 4.93 | 50 | 0 | 1.36 | 20.4 | 78.6 | 910 | 39.3
2026-09-14 00:15:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.3 | 29.1 | 47.3 | 29.1 | 47.5 | 1 | 0 | 29.5 | 23.8 | 28.3 | 23.2 | 30.2 | 29.9 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45 | 29.5 | 45.1 | 29.4 | 45.3 | 1 | 1 | 24.4 | 23.3 | 24.2 | 23 | 27 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 10.9 | 1.71 | 50 | 0.4 | 225.9 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.2 | 0.12 | 10.6 | 1.83 | 49.9 | 0.38 | 226.1 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.1 | 0 | 0 | 4.93 | 49.9 | 0 | 4.35 | 20.5 | 78.7 | 910 | 73
2026-09-14 00:16:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.2 | 29 | 47.3 | 29.1 | 47.6 | 1 | 1 | 29.6 | 23.8 | 28.3 | 23.2 | 30.2 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.1 | 29.5 | 45.1 | 29.4 | 45.3 | 1 | 1 | 24.3 | 23.3 | 24.4 | 23 | 27 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.9 | 1.71 | 50 | 0.4 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.3 | 0.13 | 10.8 | 1.83 | 50 | 0.38 | 226.3 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.1 | 0 | 0.4 | 4.93 | 50 | 1 | 4.09 | 20.5 | 78.7 | 910 | 78.8
2026-09-14 00:17:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.2 | 29 | 47.4 | 29 | 47.5 | 0 | 0 | 29.5 | 23.8 | 28.4 | 23.2 | 30.3 | 29.9 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 45 | 29.6 | 45.2 | 29.4 | 45.3 | 1 | 1 | 24.3 | 23.3 | 24.3 | 23.1 | 27 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 10.9 | 1.71 | 50 | 0.4 | 225.9 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.3 | 0.13 | 10.7 | 1.83 | 50 | 0.38 | 226.1 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.1 | 0 | 0.4 | 4.93 | 50 | 1 | 5.11 | 20.5 | 78.6 | 910 | 49
2026-09-14 00:18:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.3 | 29 | 47.4 | 29.1 | 47.5 | 1 | 1 | 29.6 | 23.8 | 28.4 | 23.2 | 30.2 | 29.9 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 44.9 | 29.5 | 45.2 | 29.4 | 45.3 | 1 | 1 | 24.4 | 23.3 | 24.3 | 23 | 27 | 26.9 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.1 | 0.12 | 10.8 | 1.71 | 49.9 | 0.4 | 225.8 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.2 | 0.12 | 10.5 | 1.83 | 49.9 | 0.38 | 226.1 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226 | 0 | 0.4 | 4.93 | 50 | 1 | 4.09 | 20.5 | 78.7 | 910 | 53.1
2026-09-14 00:19:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.3 | 29 | 47.4 | 29 | 47.5 | 1 | 1 | 29.5 | 23.7 | 28.3 | 23.1 | 30.2 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 45 | 29.5 | 45.2 | 29.4 | 45.4 | 1 | 1 | 24.3 | 23.3 | 24.2 | 23.1 | 26.9 | 26.9 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 10.9 | 1.71 | 49.9 | 0.4 | 225.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.1 | 0.12 | 10.6 | 1.83 | 49.9 | 0.38 | 226.2 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.1 | 0 | 0 | 4.93 | 50 | 0 | 6.33 | 20.6 | 78.6 | 910 | 16.2
2026-09-14 00:20:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.3 | 29 | 47.4 | 29.1 | 47.5 | 1 | 0 | 29.5 | 23.7 | 28.3 | 23.1 | 30.2 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45 | 29.5 | 45.2 | 29.5 | 45.5 | 1 | 1 | 24.3 | 23.2 | 24.3 | 23 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 10.7 | 1.71 | 50 | 0.4 | 225.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.6 | 1.83 | 50 | 0.39 | 226.1 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226 | 0 | 0.4 | 4.93 | 50 | 1 | 3.1 | 20.7 | 78.5 | 910 | 101.6
2026-09-14 00:21:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.3 | 29 | 47.5 | 29 | 47.6 | 1 | 0 | 29.5 | 23.7 | 28.3 | 23.1 | 30.2 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45 | 29.5 | 45.1 | 29.4 | 45.4 | 1 | 1 | 24.3 | 23.2 | 24.2 | 23 | 26.9 | 26.9 | 26.7 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.1 | 0.12 | 11 | 1.72 | 50 | 0.41 | 225.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.5 | 1.83 | 50 | 0.39 | 226.1 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226 | 0 | 0 | 4.93 | 50 | 0 | 4.34 | 20.7 | 78.7 | 910 | 29.6
2026-09-14 00:22:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.3 | 29 | 47.4 | 29 | 47.6 | 1 | 0 | 29.6 | 23.8 | 28.3 | 23.1 | 30.2 | 29.9 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 44.9 | 29.5 | 45.1 | 29.4 | 45.4 | 1 | 1 | 24.3 | 23.2 | 24.2 | 22.9 | 26.8 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.1 | 0.12 | 11 | 1.72 | 50 | 0.41 | 225.9 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.1 | 1.83 | 50 | 0.38 | 226.1 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.1 | 0 | 0 | 4.93 | 50 | 0 | 3.6 | 20.7 | 78.8 | 910 | 90.9
2026-09-14 00:23:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.4 | 29 | 47.3 | 29 | 47.6 | 1 | 1 | 29.5 | 23.7 | 28.2 | 23 | 30.2 | 29.9 | 29 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.1 | 29.5 | 45.3 | 29.4 | 45.4 | 1 | 1 | 24.3 | 23.2 | 24.2 | 22.9 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 11.1 | 1.72 | 50 | 0.41 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.6 | 1.83 | 50 | 0.39 | 226.3 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.2 | 0 | 0.4 | 4.93 | 50 | 1 | 4.6 | 20.7 | 78.7 | 910 | 80.4
2026-09-14 00:24:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.4 | 29.1 | 47.4 | 29.1 | 47.6 | 1 | 0 | 29.5 | 23.7 | 28.3 | 23.1 | 30.2 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.1 | 29.4 | 45.2 | 29.4 | 45.5 | 1 | 1 | 24.2 | 23.2 | 24.2 | 22.9 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.2 | 0.12 | 11 | 1.72 | 49.9 | 0.42 | 225.9 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.3 | 0.12 | 10.7 | 1.83 | 49.9 | 0.39 | 226.2 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226 | 0 | 0 | 4.93 | 49.9 | 0 | 5.59 | 20.6 | 79.1 | 910 | 83.3
2026-09-14 00:25:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.4 | 29.1 | 47.5 | 29 | 47.6 | 1 | 0 | 29.4 | 23.7 | 28.3 | 23.1 | 30.2 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.1 | 29.4 | 45.2 | 29.3 | 45.4 | 1 | 1 | 24.3 | 23.1 | 24.3 | 22.9 | 26.8 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 10.9 | 1.72 | 50 | 0.41 | 226.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.5 | 0.12 | 10.7 | 1.83 | 50 | 0.39 | 226.4 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 4.93 | 50 | 0 | 3.34 | 20.6 | 79 | 910 | 85.8
2026-09-14 00:26:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.4 | 29 | 47.5 | 29 | 47.6 | 1 | 0 | 29.5 | 23.7 | 28.3 | 23 | 30.2 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.1 | 29.5 | 45.4 | 29.4 | 45.6 | 1 | 1 | 24.3 | 23.2 | 24.2 | 22.9 | 26.9 | 26.9 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.9 | 1.72 | 50 | 0.41 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.5 | 1.83 | 50 | 0.39 | 226.3 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.2 | 0 | 0 | 4.93 | 50 | 0 | 4.94 | 20.6 | 79.1 | 910 | 83.7
2026-09-14 00:27:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.4 | 29 | 47.4 | 29 | 47.6 | 1 | 1 | 29.5 | 23.7 | 28.3 | 23.1 | 30.1 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.3 | 29.5 | 45.3 | 29.3 | 45.6 | 1 | 1 | 24.3 | 23.2 | 24.1 | 22.8 | 26.9 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 11 | 1.72 | 49.9 | 0.41 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.3 | 0.12 | 10.4 | 1.83 | 49.9 | 0.38 | 226.2 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.2 | 0 | 0 | 4.93 | 50 | 0 | 7.57 | 20.6 | 79.1 | 910 | 84.3
2026-09-14 00:28:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.5 | 29 | 47.5 | 29 | 47.6 | 1 | 1 | 29.5 | 23.7 | 28.2 | 23.1 | 30.1 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.4 | 29.5 | 45.4 | 29.5 | 45.6 | 1 | 1 | 24.2 | 23.2 | 24.1 | 23 | 26.9 | 26.9 | 26.8 | 0.1 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 11 | 1.72 | 50 | 0.41 | 226.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.5 | 0.12 | 10.6 | 1.83 | 50 | 0.39 | 226.4 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 4.93 | 50 | 0 | 5.08 | 20.6 | 79.1 | 910 | 72.9
2026-09-14 00:29:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.5 | 29.1 | 47.5 | 29 | 47.7 | 0 | 0 | 29.4 | 23.7 | 28.3 | 23.1 | 30.2 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.4 | 29.4 | 45.4 | 29.3 | 45.8 | 1 | 1 | 24.3 | 23.1 | 24.2 | 22.9 | 26.9 | 26.8 | 26.8 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 10.9 | 1.72 | 50 | 0.42 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.5 | 0.12 | 10.5 | 1.83 | 50 | 0.39 | 226.4 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.3 | 0 | 0.4 | 4.93 | 50 | 1 | 9.06 | 20.5 | 79 | 910 | 65.9
2026-09-14 00:30:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.5 | 29 | 47.5 | 29 | 47.6 | 1 | 0 | 29.4 | 23.6 | 28.2 | 23 | 30.1 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.4 | 29.3 | 45.4 | 29.4 | 45.7 | 1 | 1 | 24.2 | 23.1 | 24.2 | 22.9 | 26.9 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.8 | 1.72 | 49.9 | 0.41 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.3 | 1.83 | 50 | 0.39 | 226.3 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.2 | 0 | 0 | 4.93 | 50 | 0 | 9.32 | 20.6 | 79.1 | 910 | 81.5
2026-09-14 00:31:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.4 | 29 | 47.6 | 29 | 47.8 | 1 | 0 | 29.4 | 23.7 | 28.2 | 23 | 30.2 | 29.7 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.3 | 29.4 | 45.5 | 29.3 | 45.6 | 1 | 1 | 24.2 | 23.2 | 24.2 | 22.8 | 27 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 10.9 | 1.72 | 50 | 0.41 | 226.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.5 | 0.12 | 10.7 | 1.83 | 50 | 0.39 | 226.4 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 4.93 | 50 | 0 | 6.09 | 20.5 | 79.2 | 910 | 81.6
2026-09-14 00:32:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.5 | 29 | 47.6 | 29 | 47.8 | 0 | 0 | 29.5 | 23.7 | 28.2 | 23.1 | 30.1 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.4 | 29.5 | 45.4 | 29.4 | 45.7 | 1 | 1 | 24.2 | 23.2 | 24.1 | 22.8 | 26.8 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 10.8 | 1.72 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.12 | 10.2 | 1.83 | 50 | 0.39 | 226.6 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.5 | 0 | 0.4 | 4.93 | 50 | 1 | 9.3 | 20.6 | 78.9 | 910 | 86.6
2026-09-14 00:33:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.6 | 29 | 47.6 | 29.1 | 47.8 | 1 | 1 | 29.5 | 23.7 | 28.2 | 23 | 30.2 | 29.9 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.5 | 29.3 | 45.5 | 29.4 | 45.8 | 1 | 1 | 24.2 | 23.1 | 24.1 | 23 | 26.9 | 26.9 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 10.9 | 1.72 | 50 | 0.42 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.3 | 0.12 | 10.7 | 1.83 | 49.9 | 0.39 | 226.2 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.2 | 0 | 0 | 4.93 | 50 | 0 | 8.07 | 20.6 | 79.3 | 910 | 81
2026-09-14 00:34:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.5 | 29 | 47.6 | 29 | 47.7 | 1 | 1 | 29.4 | 23.7 | 28.2 | 23 | 30.2 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.5 | 29.5 | 45.6 | 29.4 | 45.7 | 1 | 1 | 24.3 | 23.2 | 24 | 22.9 | 26.9 | 26.9 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.8 | 1.72 | 49.9 | 0.41 | 226 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.4 | 0.12 | 10.7 | 1.83 | 49.9 | 0.39 | 226.3 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.2 | 0 | 0 | 4.93 | 49.9 | 0 | 5.85 | 20.5 | 79.1 | 910 | 94.3
2026-09-14 00:35:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 47.6 | 29 | 47.6 | 29 | 47.8 | 1 | 0 | 29.4 | 23.7 | 28.2 | 23 | 30.1 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.5 | 29.5 | 45.6 | 29.4 | 45.8 | 1 | 1 | 24.1 | 23.2 | 24.1 | 23 | 27 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 10.9 | 1.72 | 50 | 0.41 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.12 | 10.6 | 1.83 | 50 | 0.39 | 226.5 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 4.93 | 50 | 0 | 5.85 | 20.5 | 79.3 | 910 | 68.3
2026-09-14 00:36:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.6 | 28.9 | 47.5 | 29 | 47.8 | 1 | 1 | 29.4 | 23.7 | 28.2 | 23 | 30.1 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.5 | 29.5 | 45.5 | 29.3 | 45.9 | 1 | 1 | 24.2 | 23.2 | 24.1 | 22.9 | 27 | 26.8 | 26.7 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 10.9 | 1.72 | 50 | 0.41 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.12 | 10.7 | 1.83 | 50 | 0.39 | 226.5 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 4.93 | 50 | 0 | 6.09 | 20.5 | 79.3 | 910 | 78.9
2026-09-14 00:37:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.5 | 29 | 47.6 | 29 | 47.8 | 1 | 0 | 29.5 | 23.6 | 28.2 | 23.1 | 30.1 | 29.7 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.6 | 29.4 | 45.5 | 29.3 | 45.8 | 1 | 1 | 24.2 | 23 | 24.1 | 22.9 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 11 | 1.72 | 50 | 0.41 | 226.1 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.4 | 0.12 | 10.7 | 1.83 | 49.9 | 0.39 | 226.4 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 4.93 | 49.9 | 0 | 4.33 | 20.4 | 79.5 | 910 | 92.2
2026-09-14 00:38:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.7 | 29.1 | 47.6 | 29 | 47.8 | 1 | 1 | 29.3 | 23.7 | 28.3 | 23 | 30.2 | 29.7 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.6 | 29.5 | 45.7 | 29.4 | 45.9 | 1 | 1 | 24.2 | 23.1 | 24.1 | 22.9 | 26.9 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 10.9 | 1.72 | 50 | 0.4 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.12 | 10.5 | 1.83 | 50 | 0.38 | 226.6 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 4.93 | 50 | 0 | 7.09 | 20.5 | 79.4 | 910 | 81.2
2026-09-14 00:39:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.6 | 29 | 47.8 | 29 | 47.8 | 1 | 0 | 29.3 | 23.6 | 28.2 | 23 | 30.2 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.5 | 29.4 | 45.6 | 29.3 | 45.9 | 1 | 1 | 24.3 | 23.2 | 24.1 | 22.9 | 26.9 | 26.7 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 1.72 | 50 | 0.4 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.12 | 10.6 | 1.83 | 50 | 0.38 | 226.6 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.5 | 0 | 0.4 | 4.93 | 50 | 1 | 6.84 | 20.4 | 79.4 | 910 | 74.1
2026-09-14 00:40:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.6 | 29 | 47.6 | 29 | 47.9 | 1 | 0 | 29.4 | 23.7 | 28.2 | 23 | 30.1 | 29.8 | 28.9 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.6 | 29.3 | 45.7 | 29.4 | 45.9 | 1 | 1 | 24.3 | 23.1 | 24 | 22.8 | 26.9 | 26.9 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 11 | 1.72 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.12 | 10.6 | 1.83 | 50 | 0.38 | 226.7 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 4.93 | 50 | 0 | 4.33 | 20.4 | 79.4 | 910 | 110.3
2026-09-14 00:41:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.6 | 29 | 47.7 | 29 | 47.8 | 1 | 1 | 29.4 | 23.7 | 28.2 | 22.9 | 30.1 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.7 | 29.4 | 45.8 | 29.4 | 46 | 1 | 1 | 24.2 | 23.1 | 24 | 22.8 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 10.7 | 1.72 | 50 | 0.4 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.12 | 10.8 | 1.83 | 50 | 0.38 | 226.6 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.6 | 0 | 0.4 | 4.93 | 50 | 1 | 4.61 | 20.4 | 79.5 | 910 | 78.1
2026-09-14 00:42:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.6 | 29 | 47.7 | 29 | 47.9 | 1 | 0 | 29.4 | 23.6 | 28.1 | 23 | 30.1 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.7 | 29.4 | 45.6 | 29.4 | 45.9 | 1 | 1 | 24.3 | 23.1 | 24.1 | 22.9 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 11 | 1.72 | 50 | 0.4 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.8 | 1.83 | 50 | 0.38 | 226.7 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.6 | 0 | 0.4 | 4.93 | 50 | 1 | 5.08 | 20.4 | 79.5 | 910 | 80
2026-09-14 00:43:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.8 | 28.9 | 47.6 | 29 | 47.8 | 1 | 1 | 29.4 | 23.7 | 28.2 | 23 | 30.1 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.3 | 45.7 | 29.3 | 45.6 | 29.4 | 45.9 | 1 | 1 | 24.2 | 23.1 | 24.1 | 22.8 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 10.9 | 1.72 | 50 | 0.4 | 226.2 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.6 | 0.12 | 10.7 | 1.83 | 49.9 | 0.38 | 226.5 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 4.93 | 49.9 | 0 | 6.32 | 20.3 | 79.7 | 910 | 70.8
2026-09-14 00:44:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.6 | 29.1 | 47.7 | 29 | 47.8 | 1 | 1 | 29.4 | 23.6 | 28.2 | 23 | 30.1 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.7 | 29.3 | 45.7 | 29.4 | 46 | 1 | 1 | 24.1 | 23.1 | 24.1 | 22.9 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 10.9 | 1.72 | 50 | 0.4 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.7 | 1.83 | 50 | 0.38 | 226.7 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.7 | 0 | 0.4 | 4.93 | 50 | 1 | 5.1 | 20.4 | 79.8 | 910 | 97.8
2026-09-14 00:45:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 47.6 | 29.1 | 47.7 | 29 | 47.8 | 1 | 1 | 29.4 | 23.6 | 28.2 | 22.9 | 30.1 | 29.7 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.7 | 29.4 | 45.7 | 29.4 | 46 | 1 | 1 | 24.1 | 23.1 | 24.1 | 22.8 | 26.9 | 26.9 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 11 | 1.72 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.7 | 1.83 | 50 | 0.38 | 226.7 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.6 | 0 | 0.4 | 4.93 | 50 | 1 | 5.58 | 20.3 | 79.7 | 910 | 78
2026-09-14 00:46:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 47.8 | 29 | 47.8 | 29 | 47.9 | 1 | 0 | 29.4 | 23.6 | 28.2 | 23 | 30.1 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.8 | 29.4 | 45.8 | 29.3 | 46 | 1 | 1 | 24.2 | 23.1 | 24.1 | 22.9 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 10.9 | 1.72 | 50 | 0.4 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.12 | 10.7 | 1.83 | 50 | 0.38 | 226.8 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 4.93 | 50 | 0 | 5.59 | 20.3 | 79.7 | 910 | 74.8
2026-09-14 00:47:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.7 | 29 | 47.8 | 28.9 | 47.9 | 1 | 0 | 29.4 | 23.6 | 28.1 | 23 | 30.1 | 29.7 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.3 | 45.8 | 29.4 | 45.7 | 29.4 | 45.9 | 1 | 1 | 24.2 | 23.1 | 24.1 | 22.9 | 26.8 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 1.72 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.8 | 1.83 | 50 | 0.38 | 226.7 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 4.93 | 50 | 0 | 6.08 | 20.3 | 79.7 | 910 | 89.2
2026-09-14 00:48:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.8 | 29 | 47.8 | 28.9 | 48 | 1 | 0 | 29.3 | 23.6 | 28.1 | 22.9 | 30.2 | 29.7 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.9 | 29.4 | 45.8 | 29.4 | 45.9 | 1 | 1 | 24.2 | 23.1 | 24 | 22.9 | 26.8 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 11 | 1.72 | 50 | 0.4 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.7 | 1.83 | 50 | 0.38 | 226.7 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 4.93 | 50 | 0 | 4.61 | 20.3 | 79.9 | 910 | 59
2026-09-14 00:49:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.8 | 29 | 47.7 | 29.1 | 48 | 1 | 0 | 29.3 | 23.6 | 28.2 | 23 | 30.1 | 29.7 | 28.7 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.3 | 45.8 | 29.4 | 45.8 | 29.4 | 46 | 1 | 1 | 24.2 | 23.2 | 24 | 22.9 | 26.9 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.9 | 0.12 | 11.1 | 1.72 | 50 | 0.41 | 226.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.12 | 10.6 | 1.83 | 50 | 0.38 | 226.9 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.8 | 0 | 0.4 | 4.93 | 50 | 1 | 4.85 | 20.2 | 80.1 | 910 | 87.7
2026-09-14 00:50:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.7 | 28.9 | 47.8 | 29 | 48 | 1 | 1 | 29.4 | 23.6 | 28.2 | 22.9 | 30.2 | 29.7 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.3 | 45.8 | 29.3 | 45.9 | 29.4 | 46 | 1 | 1 | 24.1 | 23.1 | 24 | 23 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 227 | 0.12 | 11 | 1.72 | 50 | 0.4 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.12 | 10.7 | 1.83 | 50 | 0.38 | 226.9 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.8 | 0 | 0.4 | 4.93 | 50 | 1 | 4.61 | 20.2 | 80.1 | 910 | 56.9
2026-09-14 00:51:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.7 | 29 | 47.6 | 28.9 | 48 | 1 | 1 | 29.3 | 23.6 | 28.1 | 22.9 | 30 | 29.7 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.8 | 29.4 | 46 | 29.3 | 45.9 | 1 | 1 | 24.2 | 23.1 | 24 | 22.9 | 26.9 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 1.72 | 49.9 | 0.4 | 226.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.8 | 0.12 | 10.5 | 1.83 | 49.9 | 0.38 | 226.7 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.6 | 0 | 0 | 4.93 | 50 | 0 | 5.85 | 20.2 | 80.3 | 910 | 89.9
2026-09-14 00:52:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.8 | 28.9 | 47.8 | 28.9 | 47.9 | 1 | 1 | 29.3 | 23.6 | 28.1 | 22.9 | 30 | 29.7 | 28.7 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 46 | 29.3 | 45.9 | 29.4 | 46.1 | 1 | 1 | 24.1 | 23.1 | 24 | 22.9 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 10.9 | 1.72 | 50 | 0.4 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.12 | 10.2 | 1.83 | 50 | 0.37 | 226.8 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 4.93 | 50 | 0 | 6.32 | 20.3 | 80 | 910 | 93.2
2026-09-14 00:53:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 47.9 | 29 | 47.9 | 29.1 | 48.1 | 1 | 0 | 29.4 | 23.6 | 28.1 | 23 | 30 | 29.7 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.9 | 29.4 | 45.8 | 29.3 | 46 | 1 | 1 | 24.1 | 23.2 | 24 | 22.8 | 26.9 | 26.7 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 227 | 0.12 | 10.8 | 1.72 | 50 | 0.4 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.12 | 10.7 | 1.83 | 50 | 0.38 | 227 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.9 | 0 | 0 | 4.93 | 50 | 0 | 6.1 | 20.3 | 80 | 910 | 84.8
2026-09-14 00:54:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.8 | 28.9 | 47.8 | 28.9 | 48.1 | 1 | 0 | 29.3 | 23.6 | 28.1 | 23 | 30 | 29.6 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.9 | 29.4 | 46 | 29.4 | 46 | 1 | 1 | 24.1 | 23.1 | 24 | 22.8 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 227 | 0.12 | 11.1 | 1.72 | 50 | 0.41 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.12 | 10.8 | 1.83 | 50 | 0.39 | 226.9 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 226.9 | 0 | 0 | 4.93 | 50 | 0 | 7.82 | 20.3 | 80.2 | 910 | 80.3
2026-09-14 00:55:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.9 | 29 | 47.9 | 29 | 48.1 | 1 | 1 | 29.3 | 23.6 | 28.1 | 22.9 | 30 | 29.7 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 45.9 | 29.4 | 45.9 | 29.3 | 45.9 | 1 | 1 | 24.1 | 23.2 | 24 | 22.8 | 26.9 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 226.9 | 0.12 | 10.8 | 1.72 | 49.9 | 0.4 | 226.6 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.9 | 0.12 | 10.8 | 1.83 | 50 | 0.38 | 226.8 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.8 | 0 | 0 | 4.93 | 49.9 | 0 | 6.09 | 20.3 | 80.1 | 910 | 77
2026-09-14 00:56:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 47.9 | 28.9 | 47.8 | 28.9 | 48.1 | 1 | 0 | 29.3 | 23.5 | 28.1 | 22.9 | 30 | 29.8 | 28.8 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.9 | 29.3 | 45.9 | 29.4 | 46.2 | 1 | 1 | 24.2 | 23.1 | 24 | 22.8 | 26.8 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 227 | 0.12 | 10.9 | 1.72 | 49.9 | 0.4 | 226.6 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227 | 0.12 | 10.5 | 1.83 | 49.9 | 0.38 | 226.9 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.9 | 0 | 0 | 4.93 | 50 | 0 | 5.32 | 20.2 | 80.1 | 910 | 59.5
2026-09-14 00:57:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.9 | 29 | 47.8 | 29 | 47.9 | 1 | 1 | 29.3 | 23.6 | 28.1 | 22.9 | 30.1 | 29.6 | 28.7 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 46 | 29.4 | 45.9 | 29.3 | 46.1 | 1 | 1 | 24.1 | 23.1 | 24.1 | 22.9 | 26.8 | 26.8 | 26.8 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 227.1 | 0.12 | 10.9 | 1.72 | 50 | 0.41 | 226.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.2 | 0.12 | 10.6 | 1.83 | 50 | 0.38 | 227.1 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 227 | 0 | 0 | 4.93 | 50 | 0 | 5.88 | 20.2 | 80.1 | 910 | 67.9
2026-09-14 00:58:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 48 | 28.9 | 47.9 | 29 | 48 | 1 | 1 | 29.3 | 23.6 | 28 | 22.9 | 30 | 29.7 | 28.7 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.3 | 46 | 29.4 | 46 | 29.3 | 46.1 | 1 | 1 | 24.2 | 23.1 | 24.1 | 22.9 | 26.9 | 26.8 | 26.8 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 227.2 | 0.12 | 10.9 | 1.72 | 50 | 0.41 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.3 | 0.12 | 10.7 | 1.83 | 50 | 0.38 | 227.2 | 0 | 0 | 1.88 | 50 | 0 | [6 empty] | 227.2 | 0 | 0.4 | 4.93 | 50 | 1 | 6.33 | 20.2 | 80.2 | 910 | 86.6
2026-09-14 00:59:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 47.9 | 28.9 | 47.9 | 29 | 48.1 | 1 | 1 | 29.3 | 23.6 | 28.1 | 22.9 | 30 | 29.8 | 28.7 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.3 | 46.1 | 29.3 | 46 | 29.3 | 46 | 1 | 1 | 24 | 23.2 | 24 | 22.9 | 26.8 | 26.8 | 26.7 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 227 | 0.12 | 11.1 | 1.72 | 50 | 0.41 | 226.7 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.1 | 0.12 | 10.7 | 1.83 | 49.9 | 0.39 | 227 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 226.9 | 0 | 0 | 4.93 | 49.9 | 0 | 4.58 | 20.2 | 80.3 | 910 | 91.6
2026-09-14 01:00:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.8 | 47.8 | 28.9 | 47.8 | 29 | 48.1 | 1 | 1 | 29.3 | 23.6 | 28 | 22.9 | 30 | 29.7 | 28.7 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 46 | 29.4 | 46.1 | 29.3 | 46.2 | 1 | 1 | 24.2 | 23.1 | 23.9 | 22.8 | 26.8 | 26.8 | 26.7 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 227.2 | 0.12 | 11 | 1.72 | 49.9 | 0.41 | 226.7 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.2 | 0.12 | 10.7 | 1.84 | 49.9 | 0.39 | 227 | 0 | 0 | 1.88 | 49.9 | 0 | [6 empty] | 227 | 0 | 0.4 | 4.93 | 49.9 | 1 | 5.87 | 20.2 | 80.4 | 910 | 68.3

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-14 00:00:00 | To | 2026-09-14 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0 | 0 | 61
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 20 | 20 | 20 | 61
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 61
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 61
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 61
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 61
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 61
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 61
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 61
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 61
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 28.8 | 29.04 | 29.2 | 61
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 47.1 | 47.49 | 48 | 61
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 28.9 | 29.02 | 29.2 | 61
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 47.2 | 47.53 | 47.9 | 61
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 28.9 | 29.03 | 29.2 | 61
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 47.4 | 47.71 | 48.1 | 61
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 0 | 0.95 | 1 | 61
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.41 | 1 | 61
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 29.3 | 29.48 | 29.8 | 61
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 23.5 | 23.72 | 24 | 61
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C | 28 | 28.26 | 28.5 | 61
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C | 22.9 | 23.07 | 23.3 | 61
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 30 | 30.16 | 30.3 | 61
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.6 | 29.81 | 30 | 61
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 28.7 | 28.87 | 29.1 | 61
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.2 | 0.2 | 0.2 | 61
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.2 | 0.21 | 0.3 | 61
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.3 | 0.3 | 0.3 | 61
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.2 | 0.2 | 0.2 | 61
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.4 | 0.4 | 0.4 | 61
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.3 | 0.3 | 0.4 | 61
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 61
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 61
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 61
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 61
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 61
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 61
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 29.3 | 29.47 | 29.7 | 61
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 44.8 | 45.36 | 46.1 | 61
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 29.3 | 29.44 | 29.6 | 61
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 44.9 | 45.45 | 46.1 | 61
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 29.3 | 29.4 | 29.6 | 61
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 45.1 | 45.64 | 46.2 | 61
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 61
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 61
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24 | 24.27 | 24.5 | 61
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 23 | 23.2 | 23.5 | 61
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 24 | 24.17 | 24.4 | 61
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 22.8 | 22.96 | 23.2 | 61
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.8 | 26.93 | 27.1 | 61
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.7 | 26.84 | 27 | 61
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.7 | 26.75 | 26.8 | 61
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0.01 | 0.1 | 61
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.1 | 0.12 | 0.2 | 61
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.2 | 0.2 | 0.2 | 61
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0.1 | 0.1 | 0.1 | 61
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 61
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0.1 | 0.1 | 0.1 | 61
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 226 | 226.51 | 227.2 | 61
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.12 | 0.12 | 0.12 | 61
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.7 | 10.92 | 11.1 | 61
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 1.71 | 1.72 | 1.72 | 61
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.97 | 50 | 61
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.4 | 0.41 | 0.42 | 61
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 225.7 | 226.2 | 227 | 61
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 61
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 61
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.29 | 0.29 | 0.29 | 61
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.97 | 50 | 61
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 61
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 226 | 226.56 | 227.3 | 61
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.12 | 0.12 | 0.13 | 61
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 10.1 | 10.61 | 10.8 | 61
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 1.82 | 1.83 | 1.84 | 61
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.97 | 50 | 61
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.37 | 0.38 | 0.39 | 61
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 226 | 226.47 | 227.2 | 61
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 61
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 61
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 1.88 | 1.88 | 1.88 | 61
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.97 | 50 | 61
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 61
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 225.9 | 226.38 | 227.2 | 61
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 61
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0.16 | 0.4 | 61
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 4.93 | 4.93 | 4.93 | 61
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.98 | 50 | 61
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0.41 | 1 | 61
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 1.36 | 5.45 | 9.32 | 61
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 20.2 | 20.46 | 20.8 | 61
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 76.5 | 79.09 | 80.4 | 61
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 910 | 910 | 910 | 61
WS-MOD-01 | WS-DIR | Arah Angin | ° | 16.2 | 74.59 | 110.3 | 61

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.