## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-09-21 00:00:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.33 | 26.9 | 67.77 | 26.9 | 68.46 | 1 | 0 | 32.44 | 26.17 | 0.1 | -4.97 | 30.97 | 30.38 | 29.46 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.94 | 26.5 | 69.41 | 26.5 | 69.94 | 1 | 1 | 25.3 | 25.38 | -35.57 | -26.02 | 26.98 | 26.97 | 26.96 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222 | 0.11 | 10.8 | 3.55 | 50 | 0.46 | 221.7 | 0 | 0 | 0.29 | 50 | 0 | 222.1 | 0.1 | 9.6 | 3.46 | 50 | 0.42 | 222.1 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 221.9 | 0 | 0 | 4.98 | 50 | 0 | 1.36 | 22.2 | 87.2 | 911 | 222.7
2026-09-21 00:01:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.33 | 26.8 | 67.66 | 27 | 68.45 | 1 | 0 | 32.4 | 26.13 | 0.19 | -5.04 | 30.88 | 30.48 | 29.58 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.94 | 26.6 | 69.3 | 26.4 | 69.95 | 1 | 1 | 25.34 | 25.52 | -34.89 | -27.08 | 26.97 | 26.98 | 26.99 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222 | 0.1 | 10.4 | 3.55 | 50 | 0.45 | 221.7 | 0 | 0 | 0.29 | 50 | 0 | 222 | 0.1 | 9.7 | 3.46 | 50 | 0.42 | 222 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 221.8 | 0 | 0 | 4.98 | 50 | 0 | 2.87 | 22.2 | 87 | 911 | 156.1
2026-09-21 00:02:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.33 | 26.8 | 67.78 | 26.9 | 68.34 | 1 | 1 | 32.4 | 26.2 | -0.1 | -4.38 | 30.92 | 30.45 | 29.53 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 70.15 | 26.5 | 69.31 | 26.4 | 70.05 | 1 | 1 | 25.18 | 25.48 | -35.13 | -26.22 | 27.02 | 27.04 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.1 | 0.11 | 10.9 | 3.55 | 50 | 0.46 | 221.7 | 0 | 0 | 0.29 | 50 | 0 | 222.1 | 0.1 | 9.1 | 3.46 | 50 | 0.41 | 222 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222 | 0 | 0 | 4.98 | 50 | 0 | 1.37 | 22.2 | 86.6 | 911 | 219.4
2026-09-21 00:03:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.33 | 26.9 | 67.89 | 27 | 68.57 | 1 | 0 | 32.35 | 26.2 | -0.29 | -4.51 | 30.95 | 30.41 | 29.55 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 70.05 | 26.5 | 69.41 | 26.4 | 69.95 | 1 | 1 | 25.36 | 25.49 | -35.34 | -26.3 | 27.03 | 27.02 | 26.94 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.1 | 0.11 | 10.6 | 3.55 | 50 | 0.45 | 221.8 | 0 | 0 | 0.29 | 50 | 0 | 222.1 | 0.1 | 9.7 | 3.46 | 50 | 0.42 | 222.1 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222 | 0 | 0 | 4.98 | 50 | 0 | 1.63 | 22.2 | 86.3 | 911 | 248
2026-09-21 00:04:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.33 | 26.8 | 67.9 | 26.9 | 68.57 | 1 | 0 | 32.4 | 26.12 | 0.41 | -4.51 | 30.86 | 30.35 | 29.52 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.94 | 26.6 | 69.41 | 26.4 | 69.95 | 1 | 1 | 25.34 | 25.49 | -34.63 | -25.99 | 26.97 | 27.01 | 26.92 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222 | 0.11 | 10.7 | 3.55 | 50 | 0.45 | 221.8 | 0 | 0 | 0.29 | 50 | 0 | 222.1 | 0.1 | 9 | 3.46 | 50 | 0.41 | 222.1 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222 | 0 | 0 | 4.98 | 50 | 0 | 4.1 | 22.2 | 85.8 | 911 | 190.2
2026-09-21 00:05:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 91.5 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.33 | 26.9 | 67.77 | 26.9 | 68.57 | 1 | 0 | 32.48 | 26.17 | -0.16 | -3.79 | 30.81 | 30.45 | 29.47 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.94 | 26.6 | 69.41 | 26.5 | 69.94 | 1 | 1 | 25.21 | 25.45 | -34.95 | -26.65 | 27.02 | 27.05 | 26.94 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222 | 0.11 | 10.6 | 3.55 | 50 | 0.45 | 221.7 | 0 | 0 | 0.29 | 50 | 0 | 222.2 | 0.1 | 9.1 | 3.46 | 50 | 0.41 | 222.1 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222 | 0 | 0 | 4.98 | 50 | 0 | 4.09 | 22.1 | 85.3 | 911 | 137.7
2026-09-21 00:06:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 91.5 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.33 | 26.9 | 67.77 | 26.9 | 68.57 | 1 | 0 | 32.4 | 26.17 | 0.22 | -3.98 | 30.88 | 30.35 | 29.46 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 70.05 | 26.6 | 69.3 | 26.4 | 69.95 | 1 | 1 | 25.28 | 25.46 | -34.63 | -27.28 | 26.95 | 27.04 | 26.99 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.1 | 0.11 | 10.7 | 3.55 | 50 | 0.45 | 221.9 | 0 | 0 | 0.29 | 50 | 0 | 222.1 | 0.1 | 9.7 | 3.46 | 50 | 0.42 | 222.2 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222 | 0 | 0 | 4.98 | 50 | 0 | 2.61 | 22.1 | 85.3 | 911 | 161.3
2026-09-21 00:07:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 91.5 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.46 | 26.8 | 67.78 | 26.9 | 68.57 | 1 | 1 | 32.4 | 26.11 | -0.13 | -4.32 | 30.88 | 30.34 | 29.48 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.94 | 26.6 | 69.41 | 26.4 | 69.95 | 1 | 1 | 25.38 | 25.46 | -34.81 | -26.74 | 26.97 | 27.02 | 26.91 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.2 | 0.11 | 10.9 | 3.55 | 50 | 0.46 | 221.9 | 0 | 0 | 0.29 | 50 | 0 | 222.2 | 0.1 | 9 | 3.46 | 50 | 0.41 | 222.2 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0.4 | 4.98 | 50 | 1 | 2.12 | 22.1 | 85.2 | 911 | 189.4
2026-09-21 00:08:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.22 | 26.8 | 68.01 | 26.8 | 68.58 | 1 | 0 | 32.48 | 26.11 | 0 | -4.51 | 30.84 | 30.31 | 29.51 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.84 | 26.6 | 69.3 | 26.4 | 69.95 | 1 | 1 | 25.23 | 25.48 | -35.13 | -27.02 | 27.03 | 27.05 | 26.91 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222 | 0.1 | 10.5 | 3.55 | 50 | 0.45 | 221.7 | 0 | 0 | 0.29 | 50 | 0 | 222.1 | 0.1 | 9.6 | 3.46 | 50 | 0.42 | 222 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222 | 0 | 0 | 4.98 | 50 | 0 | 1.88 | 22.1 | 84.9 | 911 | 171.8
2026-09-21 00:09:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.34 | 26.8 | 67.78 | 27 | 68.57 | 1 | 1 | 32.4 | 26.13 | 0.35 | -5.13 | 30.92 | 30.38 | 29.46 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.95 | 26.6 | 69.3 | 26.4 | 69.84 | 1 | 1 | 25.23 | 25.45 | -34.1 | -26.45 | 26.95 | 27.01 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.2 | 0.11 | 10.7 | 3.55 | 50 | 0.45 | 221.8 | 0 | 0 | 0.29 | 50 | 0 | [6 empty] | 222.2 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0.5 | 4.98 | 50 | 1 | 2.61 | 22.1 | 85 | 911 | 183.7
2026-09-21 00:10:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.45 | 26.8 | 67.78 | 26.9 | 68.57 | 1 | 0 | 32.49 | 26.11 | 0.54 | -4.6 | 30.85 | 30.46 | 29.44 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.94 | 26.5 | 69.41 | 26.4 | 69.84 | 1 | 1 | 25.25 | 25.52 | -34.6 | -26.45 | 27.02 | 27.08 | 26.94 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.2 | 0.11 | 10.7 | 3.55 | 50 | 0.45 | 221.9 | 0 | 0 | 0.29 | 50 | 0 | 222.2 | 0.1 | 9.1 | 3.46 | 50 | 0.41 | 222.1 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222 | 0 | 0 | 4.98 | 50 | 0 | 6.59 | 22 | 85.2 | 911 | 148.4
2026-09-21 00:11:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.45 | 26.8 | 68.01 | 26.9 | 68.57 | 1 | 0 | 32.41 | 26.17 | 0.19 | -4.35 | 30.84 | 30.35 | 29.4 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.84 | 26.5 | 69.31 | 26.4 | 69.84 | 1 | 1 | 25.41 | 25.48 | -34.66 | -27.11 | 26.98 | 27.07 | 27.01 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 221.9 | 0.11 | 10.6 | 3.55 | 50 | 0.45 | 221.7 | 0 | 0 | 0.29 | 49.9 | 0 | 222 | 0.1 | 9.5 | 3.46 | 49.9 | 0.42 | 221.9 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 221.9 | 0 | 0 | 4.98 | 49.9 | 0 | 4.35 | 21.9 | 85.6 | 911 | 136.7
2026-09-21 00:12:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.45 | 26.7 | 67.9 | 26.9 | 68.69 | 1 | 1 | 32.36 | 26.13 | 0.13 | -4.51 | 30.88 | 30.34 | 29.4 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.73 | 26.6 | 69.3 | 26.4 | 69.95 | 1 | 1 | 25.32 | 25.49 | -33.6 | -26.79 | 27.02 | 27.05 | 27.05 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.7 | 3.55 | 50 | 0.45 | 221.9 | 0 | 0 | 0.29 | 50 | 0 | 222.2 | 0.1 | 9.5 | 3.46 | 50 | 0.42 | 222.3 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0 | 4.98 | 50 | 0 | 5.34 | 22 | 85.4 | 911 | 192
2026-09-21 00:13:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.57 | 26.8 | 68.01 | 26.9 | 68.57 | 1 | 1 | 32.34 | 26.08 | 0.1 | -6.43 | 30.86 | 30.4 | 29.55 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.84 | 26.5 | 69.31 | 26.4 | 69.84 | 1 | 1 | 25.31 | 25.5 | -33.86 | -26.74 | 26.89 | 27.01 | 26.94 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.8 | 3.56 | 50 | 0.45 | 222 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.7 | 3.46 | 50 | 0.42 | 222.2 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0 | 4.98 | 50 | 0 | 4.63 | 21.9 | 85.6 | 910 | 171.4
2026-09-21 00:14:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.46 | 26.8 | 68.01 | 26.9 | 68.46 | 1 | 1 | 32.4 | 26.2 | -0.38 | -4.48 | 30.8 | 30.43 | 29.48 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.84 | 26.5 | 69.41 | 26.5 | 69.94 | 1 | 1 | 25.34 | 25.48 | -33.6 | -26.62 | 26.91 | 27.04 | 26.87 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.7 | 3.56 | 50 | 0.45 | 221.9 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.5 | 3.46 | 49.9 | 0.41 | 222.3 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0 | 4.98 | 50 | 0 | 6.57 | 21.7 | 86.1 | 910 | 143.4
2026-09-21 00:15:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.46 | 26.8 | 68.13 | 26.8 | 68.46 | 1 | 1 | 32.44 | 26.11 | 0.32 | -4.54 | 30.88 | 30.4 | 29.46 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.84 | 26.6 | 69.3 | 26.4 | 69.84 | 1 | 1 | 25.36 | 25.43 | -33.6 | -27.51 | 27.01 | 27.03 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.4 | 0.11 | 10.7 | 3.56 | 50 | 0.45 | 222 | 0 | 0 | 0.29 | 50 | 0 | 222.4 | 0.1 | 8.9 | 3.46 | 50 | 0.41 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.3 | 0 | 0 | 4.98 | 50 | 0 | 1.62 | 21.9 | 86.2 | 910 | 83.2
2026-09-21 00:16:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.45 | 26.9 | 67.89 | 26.9 | 68.57 | 1 | 1 | 32.47 | 26.04 | 0.32 | -4.69 | 30.95 | 30.4 | 29.41 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.73 | 26.6 | 69.3 | 26.4 | 69.73 | 1 | 1 | 25.46 | 25.43 | -34.45 | -26.62 | 26.97 | 27.05 | 26.92 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.5 | 3.56 | 50 | 0.45 | 222 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.3 | 3.47 | 50 | 0.42 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0 | 4.98 | 50 | 0 | 4.62 | 21.9 | 85.5 | 910 | 162.4
2026-09-21 00:17:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.8 | 68.13 | 26.9 | 68.69 | 1 | 1 | 32.4 | 26.04 | 0.13 | -4.1 | 30.88 | 30.41 | 29.37 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.84 | 26.6 | 69.3 | 26.4 | 69.73 | 1 | 1 | 25.52 | 25.34 | -33.84 | -26.91 | 27.02 | 26.99 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222 | 0.11 | 10.7 | 3.56 | 50 | 0.45 | 221.8 | 0 | 0 | 0.29 | 50 | 0 | 222.1 | 0.1 | 9.3 | 3.47 | 50 | 0.41 | 222 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222 | 0 | 0.4 | 4.98 | 50 | 1 | 3.86 | 21.8 | 85.7 | 910 | 168.9
2026-09-21 00:18:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.8 | 68.58 | 26.8 | 68.13 | 26.8 | 68.58 | 1 | 1 | 32.42 | 26 | 0.29 | -4.51 | 30.91 | 30.4 | 29.4 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.84 | 26.6 | 69.3 | 26.4 | 69.73 | 1 | 1 | 25.52 | 25.36 | -33.46 | -28.18 | 27.02 | 26.97 | 26.97 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.7 | 3.56 | 50 | 0.45 | 222 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.7 | 3.47 | 49.9 | 0.42 | 222.3 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0.4 | 4.98 | 50 | 1 | 3.09 | 21.8 | 85.9 | 910 | 179
2026-09-21 00:19:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.68 | 26.8 | 68.24 | 26.9 | 68.69 | 1 | 0 | 32.35 | 26.02 | 0.1 | -4.51 | 30.86 | 30.41 | 29.47 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.73 | 26.5 | 69.41 | 26.4 | 69.73 | 1 | 1 | 25.43 | 25.32 | -33.98 | -27.11 | 26.99 | 27.02 | 26.98 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.8 | 3.56 | 50 | 0.46 | 222 | 0 | 0 | 0.29 | 50 | 0 | 222.4 | 0.1 | 8.9 | 3.47 | 50 | 0.41 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.3 | 0 | 0.4 | 4.98 | 50 | 1 | 4.35 | 21.8 | 86.1 | 910 | 174.5
2026-09-21 00:20:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.9 | 68 | 26.9 | 68.69 | 1 | 0 | 32.36 | 26 | -0.38 | -4.57 | 30.9 | 30.35 | 29.45 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.63 | 26.6 | 69.3 | 26.5 | 69.62 | 1 | 1 | 25.49 | 25.34 | -33.45 | -26.68 | 26.95 | 27.05 | 26.86 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.2 | 0.11 | 10.7 | 3.56 | 49.9 | 0.45 | 221.9 | 0 | 0 | 0.29 | 50 | 0 | 222.2 | 0.11 | 9.9 | 3.47 | 50 | 0.42 | 222.3 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0 | 4.98 | 49.9 | 0 | 1.37 | 21.8 | 85.9 | 910 | 244.2
2026-09-21 00:21:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.57 | 26.8 | 68.13 | 26.9 | 68.8 | 1 | 0 | 32.44 | 25.99 | -0.79 | -5.13 | 30.86 | 30.37 | 29.45 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.84 | 26.6 | 69.2 | 26.4 | 69.73 | 1 | 1 | 25.34 | 25.3 | -34.39 | -27.34 | 27.04 | 27.01 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.2 | 0.1 | 10.5 | 3.56 | 50 | 0.46 | 221.9 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.7 | 3.47 | 50 | 0.43 | 222.2 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0 | 4.98 | 50 | 0 | 2.86 | 21.9 | 85.8 | 910 | 61.4
2026-09-21 00:22:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.68 | 26.8 | 68.13 | 26.9 | 68.8 | 1 | 0 | 32.38 | 25.92 | -0.19 | -4.76 | 30.97 | 30.42 | 29.5 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.63 | 26.6 | 69.2 | 26.4 | 69.63 | 1 | 1 | 25.36 | 25.34 | -34.22 | -27.74 | 27.05 | 27.02 | 26.9 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.4 | 0.11 | 10.8 | 3.56 | 50 | 0.46 | 222.1 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.3 | 3.47 | 50 | 0.42 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0 | 4.98 | 50 | 0 | 5.85 | 21.7 | 86.1 | 910 | 117.5
2026-09-21 00:23:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.68 | 26.9 | 67.89 | 26.9 | 68.69 | 1 | 0 | 32.42 | 25.95 | 0.44 | -5.32 | 30.81 | 30.33 | 29.44 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.62 | 26.6 | 69.2 | 26.4 | 69.63 | 1 | 1 | 25.52 | 25.21 | -33.24 | -27.48 | 26.95 | 26.99 | 26.96 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.7 | 3.56 | 50 | 0.46 | 222.1 | 0 | 0 | 0.29 | 50 | 0 | 222.5 | 0.1 | 9.7 | 3.47 | 50 | 0.43 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0 | 4.98 | 50 | 0 | 2.13 | 21.7 | 86.3 | 910 | 123.7
2026-09-21 00:24:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.68 | 26.8 | 68.13 | 26.8 | 68.81 | 1 | 1 | 32.41 | 25.9 | 0.38 | -5.28 | 30.78 | 30.3 | 29.46 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.63 | 26.6 | 69.09 | 26.4 | 69.63 | 1 | 1 | 25.36 | 25.21 | -33.24 | -27.43 | 27.03 | 27.03 | 26.91 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.1 | 10.7 | 3.56 | 49.9 | 0.46 | 222 | 0 | 0 | 0.29 | 49.9 | 0 | 222.4 | 0.1 | 9.7 | 3.47 | 50 | 0.43 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0.4 | 4.98 | 50 | 1 | 5.27 | 21.7 | 86.2 | 910 | 113.8
2026-09-21 00:25:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.8 | 68.01 | 26.9 | 68.8 | 1 | 0 | 32.35 | 25.91 | -0.19 | -5.1 | 30.88 | 30.31 | 29.41 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.63 | 26.6 | 68.99 | 26.4 | 69.73 | 1 | 1 | 25.49 | 25.23 | -33.66 | -27.86 | 26.99 | 27.03 | 26.91 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.9 | 3.56 | 50 | 0.47 | 222.1 | 0 | 0 | 0.29 | 50 | 0 | 222.4 | 0.1 | 8.8 | 3.47 | 50 | 0.41 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0.4 | 4.98 | 50 | 1 | 1.62 | 21.6 | 86.5 | 910 | 131.7
2026-09-21 00:26:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.69 | 26.9 | 68.12 | 26.8 | 68.81 | 1 | 0 | 32.3 | 25.84 | 0.29 | -5.5 | 30.83 | 30.36 | 29.41 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.52 | 26.5 | 68.99 | 26.4 | 69.63 | 1 | 1 | 25.37 | 25.16 | -33.3 | -27.72 | 26.95 | 27.1 | 26.96 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.4 | 0.11 | 10.7 | 3.56 | 50 | 0.46 | 222 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.7 | 3.47 | 50 | 0.42 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0 | 4.98 | 50 | 0 | 3.59 | 21.6 | 86.5 | 910 | 74.2
2026-09-21 00:27:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.8 | 68.13 | 26.9 | 68.8 | 1 | 0 | 32.46 | 25.81 | -0.03 | -5.32 | 30.88 | 30.37 | 29.41 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.41 | 26.6 | 68.99 | 26.4 | 69.52 | 1 | 1 | 25.59 | 25.08 | -32.95 | -30.04 | 27.09 | 27.08 | 26.85 | 0 | 0 | 0.1 | 0 | 0.1 | 0.1 | 222.2 | 0.1 | 10.8 | 3.56 | 50 | 0.47 | 221.9 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.1 | 3.47 | 50 | 0.42 | 222.2 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0 | 4.98 | 50 | 0 | 3.86 | 21.5 | 86.7 | 910 | 86.9
2026-09-21 00:28:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 27 | 68.57 | 26.8 | 68.13 | 26.9 | 68.8 | 1 | 1 | 32.38 | 25.84 | 0.16 | -5.6 | 30.86 | 30.4 | 29.45 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.41 | 26.6 | 68.99 | 26.4 | 69.52 | 1 | 1 | 25.46 | 25.12 | -32.86 | -28.81 | 27.03 | 27.01 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.1 | 0.11 | 10.7 | 3.56 | 49.9 | 0.46 | 222 | 0 | 0 | 0.29 | 49.9 | 0 | 222.2 | 0.1 | 9.6 | 3.47 | 49.9 | 0.42 | 222.3 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0 | 4.98 | 50 | 0 | 5.1 | 21.4 | 86.8 | 910 | 93.1
2026-09-21 00:29:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.8 | 68.01 | 26.9 | 68.8 | 1 | 0 | 32.4 | 25.84 | -0.13 | -5.41 | 30.9 | 30.27 | 29.41 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.31 | 26.6 | 68.99 | 26.4 | 69.42 | 1 | 1 | 25.55 | 25 | -32.95 | -28.86 | 27.08 | 27.03 | 26.9 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.4 | 0.11 | 10.6 | 3.56 | 50 | 0.45 | 222.1 | 0 | 0 | 0.29 | 50 | 0 | 222.5 | 0.1 | 9.7 | 3.47 | 50 | 0.42 | [7 empty] | 0 | 0 | 0 | 0 | 0 | [6 empty] | 4.6 | 21.4 | 86.8 | 910 | 81.1
2026-09-21 00:30:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.9 | 68.12 | 26.9 | 68.92 | 1 | 0 | 32.38 | 25.7 | 0.22 | -5.5 | 30.84 | 30.28 | 29.53 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.31 | 26.6 | 68.99 | 26.4 | 69.52 | 1 | 1 | 25.46 | 25.08 | -33.86 | -29.49 | 26.92 | 26.96 | 26.98 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.7 | 3.56 | 50 | 0.45 | 222 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.8 | 3.47 | 50 | 0.43 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.3 | 0 | 0 | 4.98 | 50 | 0 | 7.82 | 21.3 | 86.9 | 910 | 76.1
2026-09-21 00:31:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.9 | 68.12 | 26.9 | 68.8 | 1 | 0 | 32.35 | 25.7 | 0.1 | -6.03 | 30.8 | 30.37 | 29.37 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.2 | 26.5 | 68.88 | 26.4 | 69.42 | 1 | 1 | 25.39 | 24.95 | -33.48 | -28.83 | 27.04 | 27.02 | 26.85 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.8 | 3.56 | 49.9 | 0.46 | 222.1 | 0 | 0 | 0.29 | 50 | 0 | 222.5 | 0.1 | 9.3 | 3.47 | 50 | 0.42 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0.4 | 4.98 | 50 | 1 | 4.36 | 21.3 | 87 | 910 | 61.3
2026-09-21 00:32:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.7 | 68.13 | 27 | 68.68 | 1 | 0 | 32.38 | 25.64 | -0.54 | -5.41 | 30.9 | 30.26 | 29.44 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 69.2 | 26.6 | 68.88 | 26.4 | 69.42 | 1 | 1 | 25.46 | 24.95 | -32.51 | -29.44 | 27.05 | 27.04 | 26.85 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.4 | 0.11 | 10.8 | 3.56 | 50 | 0.46 | 222.1 | 0 | 0 | 0.29 | 49.9 | 0 | 222.4 | 0.1 | 9.7 | 3.47 | 50 | 0.42 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.3 | 0 | 0 | 4.98 | 50 | 0 | 4.61 | 21.3 | 86.9 | 910 | 91.1
2026-09-21 00:33:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.8 | 68.58 | 26.9 | 68.12 | 26.8 | 68.81 | 1 | 0 | 32.31 | 25.64 | -0.1 | -5.94 | 30.79 | 30.33 | 29.37 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 68.99 | 26.5 | 68.67 | 26.3 | 69.21 | 1 | 1 | 25.55 | 24.89 | -33.42 | -28.84 | 27.04 | 27.05 | 26.96 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 | 222.4 | 0.11 | 10.6 | 3.56 | 50 | 0.45 | 222.2 | 0 | 0 | 0.29 | 50 | 0 | 222.5 | 0.1 | 9.6 | 3.47 | 50 | 0.42 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0 | 4.98 | 50 | 0 | 6.1 | 21.3 | 86.8 | 910 | 89.3
2026-09-21 00:34:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.8 | 68.01 | 26.7 | 68.82 | 1 | 1 | 32.33 | 25.59 | 0.44 | -6.12 | 30.83 | 30.3 | 29.46 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 69.1 | 26.6 | 68.67 | 26.4 | 69.2 | 1 | 1 | 25.55 | 24.87 | -32.6 | -29.55 | 27.01 | 27.01 | 26.87 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 | 222.2 | 0.11 | 10.7 | 3.56 | 49.9 | 0.46 | 222 | 0 | 0 | 0.29 | 49.9 | 0 | 222.3 | 0.1 | 9.9 | 3.47 | 49.9 | 0.43 | 222.3 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.1 | 0 | 0 | 4.98 | 50 | 0 | 4.61 | 21.2 | 87 | 910 | 62.1
2026-09-21 00:35:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.69 | 26.8 | 68.13 | 26.8 | 68.81 | 1 | 0 | 32.3 | 25.59 | -0.03 | -6.28 | 30.79 | 30.33 | 29.45 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.89 | 26.6 | 68.56 | 26.4 | 69.2 | 1 | 1 | 25.56 | 24.91 | -32.83 | -29.7 | 27.08 | 27.02 | 26.87 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.5 | 0.11 | 10.8 | 3.56 | 50 | 0.46 | 222.1 | 0 | 0 | 0.29 | 50 | 0 | 222.4 | 0.1 | 9.4 | 3.47 | 50 | 0.42 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.4 | 0 | 0 | 4.98 | 50 | 0 | 6.84 | 21.1 | 87.4 | 910 | 85.2
2026-09-21 00:36:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.69 | 26.8 | 68.24 | 26.8 | 68.93 | 1 | 0 | 32.34 | 25.59 | 0.25 | -6.43 | 30.7 | 30.22 | 29.46 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.89 | 26.6 | 68.56 | 26.4 | 69.1 | 1 | 1 | 25.5 | 24.82 | -33.63 | -29.41 | 26.97 | 27.04 | 26.86 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.8 | 3.56 | 49.9 | 0.45 | 222 | 0 | 0 | 0.29 | 49.9 | 0 | 222.3 | 0.1 | 9.1 | 3.47 | 49.9 | 0.41 | 222.3 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.2 | 0 | 0 | 4.98 | 49.9 | 0 | 7.08 | 21.1 | 87.5 | 910 | 90.2
2026-09-21 00:37:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.8 | 68.13 | 26.9 | 68.8 | 1 | 0 | 32.29 | 25.54 | 0.13 | -6.4 | 30.75 | 30.35 | 29.4 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.78 | 26.5 | 68.46 | 26.4 | 69.1 | 1 | 1 | 25.61 | 24.8 | -33.24 | -30.44 | 26.94 | 26.97 | 26.86 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | 222.3 | 0.11 | 10.5 | 3.56 | 50 | 0.45 | 221.9 | 0 | 0 | 0.29 | 49.9 | 0 | 222.4 | 0.1 | 9.8 | 3.47 | 49.9 | 0.42 | 222.4 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.3 | 0 | 0 | 4.98 | 50 | 0 | 2.62 | 21.2 | 87.2 | 910 | 98.6
2026-09-21 00:38:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.8 | 68.13 | 26.8 | 68.93 | 1 | 0 | 32.33 | 25.5 | -0.6 | -6.68 | 30.8 | 30.34 | 29.4 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.78 | 26.6 | 68.45 | 26.4 | 68.99 | 1 | 1 | 25.37 | 24.67 | -33.15 | -30.16 | 27.08 | 26.99 | 26.9 | 0 | 0 | 0.1 | 0 | 0.1 | 0.1 | 222.3 | 0.11 | 10.5 | 3.56 | 50 | 0.45 | 222 | 0 | 0 | 0.29 | 50 | 0 | 222.3 | 0.1 | 9.7 | 3.47 | 49.9 | 0.42 | 222.4 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.3 | 0 | 0 | 4.98 | 49.9 | 0 | 3.6 | 21.2 | 87.1 | 910 | 80.1
2026-09-21 00:39:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.8 | 68.58 | 26.8 | 68.01 | 27 | 68.8 | 1 | 0 | 32.36 | 25.52 | -0.06 | -6.31 | 30.78 | 30.26 | 29.26 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 68.78 | 26.5 | 68.35 | 26.5 | 68.99 | 1 | 1 | 25.46 | 24.74 | -33.51 | -30.53 | 27.04 | 26.97 | 26.86 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.5 | 0.11 | 10.8 | 3.56 | 49.9 | 0.46 | 222.2 | 0 | 0 | 0.29 | 50 | 0 | 222.5 | 0.1 | 9.6 | 3.47 | 50 | 0.42 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.3 | 0 | 0 | 4.98 | 49.9 | 0 | 1.37 | 21.3 | 87.1 | 910 | 23.6
2026-09-21 00:40:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.8 | 68.58 | 26.7 | 68.02 | 26.7 | 68.93 | 0 | 0 | 32.29 | 25.44 | -0.16 | -6.18 | 30.79 | 30.34 | 29.37 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 68.56 | 26.5 | 68.35 | 26.4 | 68.89 | 1 | 1 | 25.28 | 24.72 | -33.51 | -30.44 | 26.99 | 26.96 | 26.87 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.4 | 0.11 | 10.7 | 3.56 | 50 | 0.45 | 222.2 | 0 | 0 | 0.29 | 50 | 0 | 222.5 | 0.1 | 9.6 | 3.47 | 50 | 0.41 | 222.4 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.3 | 0 | 0 | 4.98 | 50 | 0 | 6.35 | 21.2 | 86.9 | 910 | 77.3
2026-09-21 00:41:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.8 | 68.58 | 26.8 | 68.13 | 26.8 | 68.81 | 1 | 1 | 32.35 | 25.45 | -0.25 | -5.94 | 30.8 | 30.41 | 29.42 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 68.67 | 26.6 | 68.24 | 26.4 | 68.89 | 1 | 1 | 25.45 | 24.67 | -33.92 | -31.56 | 26.99 | 27.02 | 26.87 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.5 | 0.11 | 10.8 | 3.56 | 49.9 | 0.46 | 222.2 | 0 | 0 | 0.29 | 49.9 | 0 | 222.5 | 0.11 | 9.8 | 3.47 | 50 | 0.42 | 222.5 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.4 | 0 | 0 | 4.98 | 50 | 0 | 4.61 | 21.2 | 87 | 910 | 31.9
2026-09-21 00:42:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.8 | 68.7 | 26.8 | 68.01 | 26.8 | 68.93 | 1 | 0 | 32.3 | 25.41 | -0.38 | -6.59 | 30.78 | 30.29 | 29.33 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.67 | 26.6 | 68.24 | 26.4 | 68.78 | 1 | 1 | 25.34 | 24.66 | -33.15 | -30.33 | 26.95 | 26.95 | 26.85 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.6 | 0.11 | 10.6 | 3.56 | 50 | 0.45 | 222.3 | 0 | 0 | 0.29 | 50 | 0 | 222.7 | 0.1 | 9.8 | 3.47 | 50 | 0.42 | 222.7 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.5 | 0 | 0.4 | 4.98 | 50 | 1 | 1.89 | 21.2 | 86.9 | 910 | 99.6
2026-09-21 00:43:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.57 | 26.8 | 68.01 | 26.8 | 68.81 | 0 | 0 | 32.26 | 25.38 | -0.32 | -6.96 | 30.77 | 30.34 | 29.41 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.57 | 26.5 | 68.25 | 26.4 | 68.78 | 1 | 1 | 25.44 | 24.62 | -33.45 | -30.64 | 26.98 | 27.01 | 26.91 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.7 | 0.11 | 10.7 | 3.56 | 50 | 0.45 | 222.3 | 0 | 0 | 0.29 | 50 | 0 | 222.7 | 0.1 | 9.1 | 3.47 | 50 | 0.42 | 222.8 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.6 | 0 | 0 | 4.98 | 50 | 0 | 5.86 | 21.2 | 86.6 | 910 | 99
2026-09-21 00:44:00 | 0 | 20 | 1 | 0 | 88.5 | 89 | 92 | 89.5 | 88.5 | 89 | 89 | 89.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.9 | 68.69 | 26.8 | 68.01 | 26.7 | 68.82 | 1 | 1 | 32.28 | 25.39 | -0.79 | -6.8 | 30.75 | 30.37 | 29.3 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.46 | 26.5 | 68.25 | 26.4 | 68.78 | 1 | 1 | 25.41 | 24.66 | -33.65 | -31.07 | 26.95 | 27.02 | 26.91 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 222.6 | 0.11 | 10.8 | 3.56 | 50 | 0.45 | 222.4 | 0 | 0 | 0.29 | 50 | 0 | 222.7 | 0.1 | 9.2 | 3.47 | 50 | 0.41 | 222.7 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.5 | 0 | 0.4 | 4.98 | 50 | 1 | 4.6 | 21.2 | 86.5 | 910 | 30.2

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-21 00:00:00 | To | 2026-09-21 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0 | 0 | 45
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 20 | 20 | 20 | 45
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 45
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 45
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 88.5 | 88.5 | 88.5 | 45
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 89 | 89 | 89 | 45
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 91.5 | 91.97 | 92 | 45
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 89.5 | 89.5 | 89.5 | 45
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 88.5 | 88.5 | 88.5 | 45
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 89 | 89 | 89 | 45
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 89 | 89 | 89 | 45
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 89.5 | 89.5 | 89.5 | 45
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 45
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 45
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 45
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 45
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 45
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 45
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 45
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 45
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 45
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 45
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 45
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 45
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 45
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 45
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 26.8 | 26.93 | 27 | 45
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 68.22 | 68.53 | 68.7 | 45
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 26.7 | 26.82 | 26.9 | 45
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 67.66 | 68.01 | 68.24 | 45
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 26.7 | 26.87 | 27 | 45
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 68.34 | 68.7 | 68.93 | 45
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 0 | 0.96 | 1 | 45
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.33 | 1 | 45
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 32.26 | 32.38 | 32.49 | 45
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 25.38 | 25.88 | 26.2 | 45
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m² | -0.79 | 0 | 0.54 | 45
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m² | -6.96 | -5.28 | -3.79 | 45
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 30.7 | 30.85 | 30.97 | 45
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 30.22 | 30.36 | 30.48 | 45
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 29.26 | 29.44 | 29.58 | 45
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.2 | 0.21 | 0.3 | 45
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.2 | 0.2 | 0.3 | 45
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.3 | 0.3 | 0.3 | 45
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.2 | 0.2 | 0.2 | 45
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.4 | 0.4 | 0.4 | 45
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.3 | 0.31 | 0.4 | 45
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 45
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 45
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 45
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 45
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 45
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 45
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 26.4 | 26.45 | 26.5 | 45
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 68.46 | 69.47 | 70.15 | 45
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 26.5 | 26.56 | 26.6 | 45
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 68.24 | 69.01 | 69.41 | 45
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 26.3 | 26.41 | 26.5 | 45
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 68.78 | 69.55 | 70.05 | 45
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 45
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 45
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 25.18 | 25.4 | 25.61 | 45
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.62 | 25.18 | 25.52 | 45
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -35.57 | -33.84 | -32.51 | 45
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -31.56 | -28.14 | -25.99 | 45
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.89 | 27 | 27.09 | 45
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.95 | 27.02 | 27.1 | 45
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.85 | 26.92 | 27.05 | 45
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 45
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0 | 0.1 | 0.1 | 45
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0 | 0.1 | 0.1 | 45
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0 | 0 | 45
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 45
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 0.1 | 0.1 | 45
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 221.9 | 222.27 | 222.7 | 45
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.1 | 0.11 | 0.11 | 45
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.4 | 10.7 | 10.9 | 45
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 3.55 | 3.56 | 3.56 | 45
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.98 | 50 | 45
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.45 | 0.45 | 0.47 | 45
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 221.7 | 221.98 | 222.4 | 45
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 45
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 45
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.29 | 0.29 | 0.29 | 45
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.98 | 50 | 45
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 45
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 222 | 222.32 | 222.7 | 44
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.1 | 0.1 | 0.11 | 44
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 8.8 | 9.47 | 9.9 | 44
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 3.46 | 3.47 | 3.47 | 44
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.98 | 50 | 44
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.41 | 0.42 | 0.43 | 44
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 221.9 | 222.3 | 222.8 | 43
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 43
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 43
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 8.6 | 8.6 | 8.6 | 43
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.98 | 50 | 43
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 43
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0 | 0 | 0 | 45
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 0 | 0 | 0 | 45
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 0 | 0 | 0 | 45
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 0 | 0 | 0 | 45
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0 | 0 | 0 | 45
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 221.8 | 222.17 | 222.6 | 44
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 44
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0.09 | 0.5 | 44
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 4.98 | 4.98 | 4.98 | 44
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.99 | 50 | 44
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0.23 | 1 | 44
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 1.36 | 3.96 | 7.82 | 45
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 21.1 | 21.66 | 22.2 | 45
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 84.9 | 86.32 | 87.5 | 45
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 910 | 910.29 | 911 | 45
WS-MOD-01 | WS-DIR | Arah Angin | ° | 23.6 | 125.85 | 248 | 45

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.