## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-09-20 00:00:00 |  |  |  |  | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 67.69 | 26.3 | 67.24 | 26.3 | 68.04 | 1 | 0 | 31.82 | 25.05 | -0.32 | -6.18 | 30.28 | 29.77 | 28.77 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.65 | 26.2 | 64.44 | 26 | 64.76 | 1 | 1 | 25.19 | 24.35 | -31.23 | -30.4 | 26.65 | 26.69 | 26.42 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.7 | 0.11 | 10.8 | 3.29 | 50 | 0.44 | 222.5 | 0 | 0 | 0.29 | 50 | 0 | 222.8 | 0.1 | 9.1 | 3.24 | 49.9 | 0.41 | 222.6 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.7 | 0 | 0.4 | 4.98 | 49.9 | 1 | 0.02 | 21.2 | 85.4 | 912 | 264.2
2026-09-20 00:01:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.68 | 26.3 | 67.12 | 26.3 | 67.92 | 1 | 0 | 31.68 | 25.05 | -0.19 | -6.46 | 30.24 | 29.71 | 28.89 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.2 | 64.54 | 26.1 | 64.33 | 26.1 | 64.65 | 1 | 1 | 25.16 | 24.47 | -31.61 | -28.69 | 26.69 | 26.62 | 26.46 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.9 | 0.11 | 10.6 | 3.29 | 50 | 0.44 | 222.6 | 0 | 0 | 0.29 | 50 | 0 | 223 | 0.11 | 9.8 | 3.24 | 50 | 0.41 | 223 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.9 | 0 | 0 | 4.98 | 50 | 0 | 2.59 | 21.2 | 84.8 | 912 | 145.2
2026-09-20 00:02:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 67.8 | 26.3 | 67.24 | 26.3 | 68.04 | 1 | 1 | 31.77 | 25.01 | -0.92 | -7.85 | 30.16 | 29.78 | 28.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.2 | 64.54 | 26.1 | 64.33 | 26.1 | 64.65 | 1 | 1 | 25.27 | 24.38 | -31.14 | -29.95 | 26.66 | 26.55 | 26.45 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223 | 0.11 | 10.8 | 3.29 | 50 | 0.44 | 222.6 | 0 | 0 | 0.29 | 50 | 0 | 222.9 | 0.1 | 9.2 | 3.24 | 50 | 0.41 | 223 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.9 | 0 | 0 | 4.98 | 50 | 0 | 2.62 | 21.2 | 84.9 | 912 | 142.1
2026-09-20 00:03:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.57 | 26.3 | 67.12 | 26.2 | 68.04 | 1 | 0 | 31.69 | 25.1 | 0.16 | -7.45 | 30.14 | 29.74 | 28.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.2 | 64.65 | 26.2 | 64.33 | 26.1 | 64.76 | 1 | 1 | 25.27 | 24.48 | -31.59 | -29.29 | 26.66 | 26.67 | 26.44 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223 | 0.11 | 10.9 | 3.29 | 50 | 0.44 | 222.8 | 0 | 0 | 0.29 | 50 | 0 | 223.2 | 0.1 | 9.5 | 3.24 | 50 | 0.41 | 223.1 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.9 | 0 | 0.4 | 4.98 | 50 | 1 | 2.38 | 21.2 | 84.6 | 912 | 181
2026-09-20 00:04:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.68 | 26.2 | 67.24 | 26.3 | 68.04 | 1 | 0 | 31.77 | 25.12 | -0.28 | -6.02 | 30.26 | 29.65 | 28.84 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.2 | 64.65 | 26.2 | 64.44 | 26.1 | 64.65 | 1 | 1 | 25.21 | 24.38 | -30.96 | -29.86 | 26.58 | 26.69 | 26.49 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.9 | 0.11 | 10.9 | 3.29 | 50 | 0.44 | 222.5 | 0 | 0 | 0.29 | 50 | 0 | 222.8 | 0.11 | 9.5 | 3.24 | 50 | 0.41 | 222.8 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.8 | 0 | 0 | 4.98 | 50 | 0 | 2.61 | 21.2 | 84.6 | 912 | 160.9
2026-09-20 00:05:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.57 | 26.4 | 67.23 | 26.2 | 67.93 | 1 | 0 | 31.8 | 25.08 | -0.38 | -6.36 | 30.17 | 29.76 | 28.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.55 | 26.2 | 64.33 | 26.1 | 64.76 | 1 | 1 | 25.36 | 24.38 | -31.47 | -29.14 | 26.6 | 26.6 | 26.48 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.8 | 0.11 | 10.8 | 3.29 | 49.9 | 0.44 | 222.4 | 0 | 0 | 0.29 | 49.9 | 0 | 222.9 | 0.11 | 9.8 | 3.24 | 50 | 0.41 | 222.7 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.8 | 0 | 0.4 | 4.98 | 49.9 | 1 | 1.88 | 21.2 | 84.4 | 912 | 110.7
2026-09-20 00:06:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 67.57 | 26.3 | 67 | 26.3 | 67.92 | 1 | 0 | 31.71 | 25.1 | 0.09 | -6.36 | 30.22 | 29.71 | 28.73 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.55 | 26.1 | 64.44 | 26.1 | 64.65 | 1 | 1 | 25.14 | 24.45 | -30.88 | -29.46 | 26.66 | 26.65 | 26.46 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.8 | 0.11 | 10.8 | 3.29 | 49.9 | 0.44 | 222.5 | 0 | 0 | 0.29 | 49.9 | 0 | 222.9 | 0.11 | 9.5 | 3.24 | 49.9 | 0.41 | 222.8 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.7 | 0 | 0.4 | 4.98 | 49.9 | 1 | 2.12 | 21.1 | 84.7 | 912 | 95.1
2026-09-20 00:07:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.68 | 26.3 | 67.12 | 26.4 | 68.03 | 1 | 0 | 31.73 | 25.07 | -0.47 | -6.61 | 30.22 | 29.72 | 28.84 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.55 | 26.2 | 64.54 | 26 | 64.76 | 1 | 1 | 25.31 | 24.44 | -31.37 | -29.17 | 26.66 | 26.65 | 26.45 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223 | 0.11 | 10.7 | 3.29 | 50 | 0.44 | 222.6 | 0 | 0 | 0.29 | 50 | 0 | 223 | 0.11 | 9.8 | 3.24 | 50 | 0.42 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 222.8 | 0 | 0 | 4.98 | 50 | 0 | 0.02 | 21.2 | 84.8 | 912 | 241.9
2026-09-20 00:08:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.8 | 26.4 | 67.23 | 26.3 | 68.15 | 1 | 0 | 31.73 | 25.09 | -0.38 | -6.27 | 30.22 | 29.69 | 28.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.2 | 64.54 | 26.1 | 64.44 | 26.1 | 64.76 | 1 | 1 | 25.38 | 24.45 | -31.32 | -30.84 | 26.66 | 26.6 | 26.44 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223 | 0.11 | 10.8 | 3.29 | 50 | 0.44 | 222.6 | 0 | 0 | 0.29 | 50 | 0 | 223.1 | 0.11 | 9.7 | 3.24 | 50 | 0.41 | 223.1 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.9 | 0 | 0 | 4.98 | 50 | 0 | 1.14 | 21.2 | 84.9 | 912 | 58.3
2026-09-20 00:09:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.8 | 26.3 | 67.24 | 26.3 | 67.92 | 1 | 0 | 31.8 | 25.08 | -0.41 | -6.33 | 30.22 | 29.63 | 28.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.2 | 64.65 | 26.2 | 64.44 | 26 | 64.87 | 1 | 1 | 25.21 | 24.41 | -30.67 | -28.83 | 26.65 | 26.73 | 26.45 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223 | 0.11 | 10.9 | 3.29 | 50 | 0.44 | 222.8 | 0 | 0 | 0.29 | 50 | 0 | 223 | 0.11 | 9.8 | 3.24 | 50 | 0.41 | 223.2 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223 | 0 | 0 | 4.98 | 50 | 0 | 1.62 | 21.2 | 85 | 912 | 75.1
2026-09-20 00:10:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.68 | 26.3 | 67 | 26.2 | 68.04 | 1 | 1 | 31.8 | 25.19 | -0.38 | -6.42 | 30.2 | 29.64 | 28.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.65 | 26.2 | 64.65 | 26.1 | 64.86 | 1 | 1 | 25.34 | 24.41 | -31.97 | -29.37 | 26.61 | 26.67 | 26.44 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.9 | 0.11 | 10.8 | 3.29 | 50 | 0.44 | 222.7 | 0 | 0 | 0.29 | 50 | 0 | 223 | 0.1 | 9.1 | 3.24 | 50 | 0.4 | 223 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.9 | 0 | 0 | 4.98 | 50 | 0 | 1.14 | 21.2 | 84.9 | 912 | 237.2
2026-09-20 00:11:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.68 | 26.3 | 67.24 | 26.3 | 67.92 | 1 | 1 | 31.76 | 25.08 | -0.19 | -7.2 | 30.22 | 29.69 | 28.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.65 | 26.1 | 64.44 | 26.1 | 64.86 | 1 | 1 | 25.34 | 24.38 | -31.23 | -28.63 | 26.61 | 26.6 | 26.48 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.8 | 0.11 | 10.8 | 3.29 | 49.9 | 0.44 | 222.5 | 0 | 0 | 0.29 | 49.9 | 0 | 222.9 | 0.11 | 9.7 | 3.24 | 49.9 | 0.41 | 222.9 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.8 | 0 | 0 | 4.98 | 49.9 | 0 | 0.87 | 21.3 | 84.8 | 912 | 193.2
2026-09-20 00:12:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.68 | 26.3 | 67 | 26.3 | 68.04 | 1 | 1 | 31.68 | 25.14 | -0.54 | -6.15 | 30.15 | 29.71 | 28.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.65 | 26.2 | 64.33 | 26.1 | 64.76 | 1 | 1 | 25.27 | 24.37 | -33.2 | -28.92 | 26.67 | 26.58 | 26.42 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.9 | 0.11 | 10.8 | 3.29 | 49.9 | 0.44 | 222.7 | 0 | 0 | 0.29 | 50 | 0 | 223 | 0.11 | 9.6 | 3.24 | 49.9 | 0.41 | 222.9 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.8 | 0 | 0.5 | 4.98 | 49.9 | 1 | 0.39 | 21.2 | 84.8 | 912 | 247.6
2026-09-20 00:13:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 67.8 | 26.2 | 67.13 | 26.3 | 68.04 | 1 | 1 | 31.73 | 25.13 | 0.13 | -6.08 | 30.22 | 29.69 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.65 | 26.2 | 64.33 | 26.1 | 64.86 | 1 | 1 | 25.18 | 24.46 | -31.17 | -30.52 | 26.62 | 26.69 | 26.49 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223.2 | 0.11 | 10.9 | 3.29 | 50 | 0.44 | 222.8 | 0 | 0 | 0.29 | 50 | 0 | 223.1 | 0.1 | 9.3 | 3.24 | 50 | 0.4 | 223 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.1 | 0 | 0 | 4.98 | 50 | 0 | 0.02 | 21.2 | 85 | 912 | 39.5
2026-09-20 00:14:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.8 | 26.3 | 67 | 26.3 | 67.8 | 1 | 1 | 31.73 | 25.13 | -0.06 | -6.83 | 30.22 | 29.78 | 28.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.76 | 26.2 | 64.44 | 26 | 64.76 | 1 | 1 | 25.31 | 24.52 | -31.23 | -29.32 | 26.66 | 26.62 | 26.44 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223.3 | 0.11 | 10.9 | 3.29 | 50 | 0.44 | 222.9 | 0 | 0 | 0.29 | 50 | 0 | 223.3 | 0.1 | 9.2 | 3.24 | 50 | 0.41 | 223.3 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.2 | 0 | 0 | 4.98 | 50 | 0 | 0.02 | 21.2 | 84.6 | 912 | 118.5
2026-09-20 00:15:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.57 | 26.3 | 67.12 | 26.2 | 68.04 | 1 | 0 | 31.76 | 25.09 | -0.35 | -6.55 | 30.17 | 29.72 | 28.84 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.55 | 26.1 | 64.33 | 26 | 64.76 | 1 | 1 | 25.23 | 24.38 | -30.9 | -29.92 | 26.67 | 26.7 | 26.51 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223.1 | 0.11 | 10.8 | 3.29 | 50 | 0.44 | 222.8 | 0 | 0 | 0.29 | 50 | 0 | 223.2 | 0.1 | 9.1 | 3.24 | 50 | 0.41 | 223.2 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.1 | 0 | 0 | 4.98 | 50 | 0 | 0.4 | 21.2 | 84.8 | 912 | 83.5
2026-09-20 00:16:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.8 | 26.3 | 67.12 | 26.4 | 67.91 | 1 | 1 | 31.76 | 25.02 | -0.25 | -6.18 | 30.22 | 29.65 | 28.82 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.76 | 26.2 | 64.54 | 26.1 | 64.86 | 1 | 1 | 25.27 | 24.48 | -31.14 | -28.91 | 26.59 | 26.69 | 26.49 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.8 | 0.11 | 10.7 | 3.3 | 49.9 | 0.44 | 222.6 | 0 | 0 | 0.29 | 49.9 | 0 | 223 | 0.11 | 9.5 | 3.24 | 49.9 | 0.41 | 222.9 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.8 | 0 | 0 | 4.98 | 49.9 | 0 | 2.37 | 21.2 | 84.7 | 912 | 51.5
2026-09-20 00:17:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 67.69 | 26.3 | 67.12 | 26.4 | 67.91 | 1 | 1 | 31.77 | 25.05 | -0.35 | -6.15 | 30.2 | 29.73 | 28.77 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.76 | 26.1 | 64.44 | 26 | 64.76 | 1 | 1 | 25.3 | 24.41 | -32.11 | -29.77 | 26.62 | 26.65 | 26.52 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.7 | 0.11 | 10.8 | 3.3 | 49.9 | 0.44 | 222.5 | 0 | 0 | 0.29 | 49.9 | 0 | 222.9 | 0.11 | 9.5 | 3.24 | 49.9 | 0.41 | 222.8 | 0 | 0 | 8.6 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.7 | 0 | 0.4 | 4.98 | 49.9 | 1 | 1.63 | 21.2 | 85 | 912 | 131.1
2026-09-20 00:18:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.68 | 26.2 | 67.13 | 26.4 | 67.91 | 1 | 0 | 31.66 | 25.09 | -0.16 | -6.61 | 30.2 | 29.71 | 28.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.76 | 26.1 | 64.44 | 26 | 64.76 | 1 | 1 | 25.3 | 24.51 | -31.73 | -30.09 | 26.62 | 26.62 | 26.44 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 222.9 | 0.11 | 10.8 | 3.3 | 50 | 0.44 | 222.5 | 0 | 0 | 0.29 | 50 | 0 | 222.8 | 0.11 | 9.7 | 3.24 | 49.9 | 0.41 | 223 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.7 | 0 | 0 | 4.98 | 49.9 | 0 | 2.11 | 21.2 | 85.1 | 912 | 95.7
2026-09-20 00:19:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 67.69 | 26.3 | 67.12 | 26.3 | 67.92 | 1 | 0 | 31.7 | 25.05 | -0.19 | -6.45 | 30.22 | 29.6 | 28.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.2 | 64.54 | 26.2 | 64.44 | 26.1 | 64.76 | 1 | 1 | 25.26 | 24.38 | -30.69 | -28.45 | 26.62 | 26.62 | 26.44 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223.1 | 0.11 | 10.6 | 3.3 | 50 | 0.44 | 222.8 | 0 | 0 | 0.29 | 50 | 0 | 223.2 | 0.11 | 9.5 | 3.24 | 50 | 0.41 | 223.2 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.9 | 0 | 0 | 4.98 | 50 | 0 | 1.87 | 21.2 | 84.8 | 912 | 77.7
2026-09-20 00:20:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.68 | 26.2 | 67.01 | 26.3 | 68.04 | 1 | 1 | 31.73 | 25.07 | -0.13 | -6.36 | 30.15 | 29.65 | 28.83 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 64.76 | 26.1 | 64.55 | 26 | 64.76 | 1 | 1 | 25.26 | 24.44 | -31.47 | -29.86 | 26.66 | 26.65 | 26.47 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223.2 | 0.11 | 10.9 | 3.3 | 50 | 0.44 | 222.8 | 0 | 0 | 0.29 | 50 | 0 | 223.2 | 0.11 | 9.6 | 3.24 | 50 | 0.41 | 223.3 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.1 | 0 | 0 | 4.98 | 50 | 0 | 1.13 | 21.2 | 85.1 | 912 | 145.2
2026-09-20 00:21:00 | 0 | 20 | 1 | 0 | 16 | -1 | 0 | 30 | 89 | 89 | 89 | 90 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 67.57 | 26.3 | 67.12 | 26.4 | 67.91 | 1 | 0 | 31.6 | 25.14 | -0.28 | -5.5 | 30.22 | 29.67 | 28.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.2 | 64.75 | 26.1 | 64.44 | 26.1 | 64.76 | 1 | 1 | 25.18 | 24.48 | -30.81 | -28.37 | 26.56 | 26.58 | 26.41 | 0 | 0.1 | 0.1 | 0 | 0 | 0 | 223.1 | 0.11 | 10.7 | 3.3 | 50 | 0.44 | 222.9 | 0 | 0 | 0.29 | 50 | 0 | 223.2 | 0.1 | 8.9 | 3.24 | 50 | 0.4 | 223.2 | 0 | 0 | 8.6 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 222.9 | 0 | 0 | 4.98 | 50 | 0 | 0.63 | 21.2 | 85.2 | 912 | 153

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-20 00:00:00 | To | 2026-09-20 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0 | 0 | 20
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 20 | 20 | 20 | 20
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 20
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 20
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 16 | 16 | 16 | 21
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | -1 | -1 | -1 | 21
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 0 | 0 | 0 | 21
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 30 | 30 | 30 | 21
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 89 | 89 | 89 | 21
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 89 | 89 | 89 | 21
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 89 | 89 | 89 | 21
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 90 | 90 | 90 | 21
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 21
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 1 | 1 | 1 | 21
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 21
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 21
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 21
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 21
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 21
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 21
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 22
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 22
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 22
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 22
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 22
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 22
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 26.3 | 26.37 | 26.4 | 22
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 67.57 | 67.69 | 67.8 | 22
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 26.2 | 26.29 | 26.4 | 22
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 67 | 67.13 | 67.24 | 22
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 26.2 | 26.3 | 26.4 | 22
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 67.8 | 67.98 | 68.15 | 22
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 22
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.41 | 1 | 22
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 31.6 | 31.74 | 31.82 | 22
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 25.01 | 25.09 | 25.19 | 22
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m² | -0.92 | -0.27 | 0.16 | 22
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m² | -7.85 | -6.47 | -5.5 | 22
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 30.14 | 30.21 | 30.28 | 22
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.6 | 29.7 | 29.78 | 22
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 28.73 | 28.8 | 28.89 | 22
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.2 | 0.21 | 0.3 | 22
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.2 | 0.3 | 0.3 | 22
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.3 | 0.3 | 0.3 | 22
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.2 | 0.2 | 0.2 | 22
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.4 | 0.4 | 0.4 | 22
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.3 | 0.3 | 0.3 | 22
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 22
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 22
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 22
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 22
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 22
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 22
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 26.1 | 26.14 | 26.2 | 22
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 64.54 | 64.64 | 64.76 | 22
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 26.1 | 26.15 | 26.2 | 22
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 64.33 | 64.43 | 64.65 | 22
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 26 | 26.06 | 26.1 | 22
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 64.65 | 64.76 | 64.87 | 22
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 22
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 22
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 25.14 | 25.26 | 25.38 | 22
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.35 | 24.43 | 24.52 | 22
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -33.2 | -31.36 | -30.67 | 22
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -30.84 | -29.44 | -28.37 | 22
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.56 | 26.64 | 26.69 | 22
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.55 | 26.64 | 26.73 | 22
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.41 | 26.46 | 26.52 | 22
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 22
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.1 | 0.1 | 0.1 | 22
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.1 | 0.1 | 0.1 | 22
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0 | 0 | 22
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0 | 0 | 0 | 22
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 0 | 0 | 22
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 222.7 | 222.96 | 223.3 | 22
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.11 | 0.11 | 0.11 | 22
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.6 | 10.8 | 10.9 | 22
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 3.29 | 3.29 | 3.3 | 22
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.97 | 50 | 22
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.44 | 0.44 | 0.44 | 22
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 222.4 | 222.65 | 222.9 | 22
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 22
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 22
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.29 | 0.29 | 0.29 | 22
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.98 | 50 | 22
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 22
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 222.8 | 223.02 | 223.3 | 22
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.1 | 0.1 | 0.11 | 22
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 8.9 | 9.47 | 9.8 | 22
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 3.24 | 3.24 | 3.24 | 22
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.97 | 50 | 22
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.4 | 0.41 | 0.42 | 22
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 222.6 | 223 | 223.3 | 21
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 21
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 21
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 8.6 | 8.6 | 8.6 | 21
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.98 | 50 | 21
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 21
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0 | 0 | 0 | 22
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 0 | 0 | 0 | 22
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 0 | 0 | 0 | 22
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 0 | 0 | 0 | 22
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0 | 0 | 0 | 22
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 222.7 | 222.88 | 223.2 | 22
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 22
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0.11 | 0.5 | 22
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 4.98 | 4.98 | 4.98 | 22
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.96 | 50 | 22
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0.27 | 1 | 22
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.02 | 1.34 | 2.62 | 22
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 21.1 | 21.2 | 21.3 | 22
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 84.4 | 84.86 | 85.4 | 22
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 912 | 912 | 912 | 22
WS-MOD-01 | WS-DIR | Arah Angin | ° | 39.5 | 138.55 | 264.2 | 22

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.