## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-06 10:20:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 40.2 | 28.2 | 41.4 | 28.6 | 41.1 | 4 | 4 | 28 | 30 | 28.6 | 28.2 | 27.2 | 27.1 | 27.6 | 550.7 | 2478.7 | 953.8 |  | 1837.9
2026-09-06 10:21:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.2 | 39.7 | 28.5 | 40.9 | 28.8 | 40.6 | 4 | 4 | 28 | 30 | 28.7 | 27.9 | 27.4 | 27 | 27.5 | 599 | 2479.3 | 955.9 |  | 1845.3
2026-09-06 10:22:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.3 | 39.4 | 28.7 | 40.7 | 29 | 40.4 | 4 | 4 | 28.2 | 30.1 | 28.7 | 27.9 | 27.4 | 27.1 | 27.6 | 583.4 | 2479.3 | 953 |  | 1847.3
2026-09-06 10:23:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 39 | 28.8 | 40.5 | 29.1 | 39.9 | 4 | 4 | 28.3 | 30.2 | 28.8 | 28.1 | 27.6 | 27.1 | 27.6 | 617.4 | 2483.9 | 965.2 |  | 1851.1
2026-09-06 10:24:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 38.8 | 28.9 | 40 | 29.1 | 39.9 | 4 | 4 | 28.2 | 30.3 | 28.9 | 28.3 | 27.5 | 27 | 27.6 | 615.5 | 2483.3 | 961.8 |  | 1845
2026-09-06 10:25:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 38.7 | 29 | 40 | 29.3 | 39.8 | 4 | 4 | 28.3 | 30 | 28.9 | 27.5 | 27.5 | 26.9 | 27.5 | 612.7 | 2486.2 | 961.2 |  | 1840.6
2026-09-06 10:26:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 38.5 | 29.1 | 39.7 | 29.3 | 39.7 | 4 | 4 | 28.3 | 30.3 | 29.1 | 28 | 27.3 | 26.8 | 27.1 | 616.9 | 2508.6 | 968.9 |  | 1845
2026-09-06 10:27:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 38.4 | 29.1 | 39.5 | 29.2 | 39.4 | 4 | 4 | 28.2 | 30.4 | 28.8 | 28.1 | 27.3 | 26.9 | 27.5 | 618.7 | 2520.7 | 973.5 |  | 1848.7
2026-09-06 10:28:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30 | 38.1 | 29.2 | 39.4 | 29.5 | 39.3 | 4 | 4 | 28.5 | 30 | 28.9 | 27.3 | 27.4 | 26.8 | 27.1 | 605.9 | 2523.1 | 967.7 |  | 1848.2
2026-09-06 10:29:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30 | 37.9 | 29.2 | 39.3 | 29.5 | 39.3 | 4 | 4 | 28 | 30.5 | 28.8 | 28.2 | 27.3 | 27.1 | 27.3 | 616.4 | 2520.5 | 970.3 |  | 1848.1
2026-09-06 10:30:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.1 | 37.7 | 29.2 | 38.9 | 29.6 | 38.6 | 4 | 4 | 28 | 30.4 | 28.7 | 28.1 | 27.4 | 27.1 | 27.6 | 616.9 | 2520.7 | 972.5 |  | 1851.8
2026-09-06 10:31:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.1 | 37.5 | 29.2 | 38.9 | 29.6 | 38.3 | 4 | 4 | 28.1 | 30.4 | 28.8 | 27.9 | 27.5 | 27 | 27.4 | 615.8 | 2512.3 | 972.1 |  | 1850
2026-09-06 10:32:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.1 | 37.7 | 29.3 | 38.9 | 29.6 | 38.6 | 4 | 4 | 28.3 | 30.4 | 28.9 | 27.8 | 27.5 | 27.2 | 27.6 | 615.7 | 2508.3 | 972 |  | 1848.5
2026-09-06 10:33:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.2 | 37.6 | 29.3 | 38.9 | 29.7 | 38.4 | 4 | 4 | 28.4 | 30.6 | 28.7 | 28.3 | 27.6 | 27.3 | 27.5 | 614.8 | 2504.1 | 972 |  | 1852
2026-09-06 10:34:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.2 | 37.4 | 29.3 | 38.9 | 29.7 | 38.4 | 4 | 4 | 28.3 | 30.6 | 28.9 | 28 | 27.5 | 27.2 | 27.6 | 613.6 | 2502.3 | 971.1 |  | 1855.6
2026-09-06 10:35:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.2 | 37.2 | 29.4 | 38.7 | 29.6 | 38.5 | 4 | 4 | 28.4 | 30.6 | 29 | 27.8 | 27.5 | 27.2 | 27.6 | 611.5 | 2498.1 | 969 |  | 1855.7
2026-09-06 10:36:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.3 | 37.3 | 29.4 | 38.6 | 29.6 | 38.5 | 4 | 4 | 28.5 | 30.6 | 29 | 28 | 27.5 | 27.3 | 27.7 | 613.2 | 2504.9 | 971.5 |  | 1858.8
2026-09-06 10:54:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.2 | 40.1 | 27.5 | 41.7 | 27.7 | 41.3 | 4 | 4 | 28.3 | 30.3 | 28.7 | 27.7 | 27.4 | 27.1 | 27.4 | 596.9 | 2524.9 | 954.1 |  | 1878.6
2026-09-06 10:55:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.7 | 39.3 | 27.9 | 40.9 | 28.2 | 39.4 | 4 | 4 | 28.4 | 30.5 | 29 | 28.1 | 27.6 | 27.2 | 27.6 | 586.1 | 2527.6 | 950.2 |  | 1878.1 | [49 empty] | 2.38 | 26.3 | 44 | 911 | 151.8
2026-09-06 10:56:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 38.7 | 28.2 | 39.8 | 28.4 | 39.1 | 4 | 4 | 28.3 | 30.6 | 28.9 | 28.1 | 27.7 | 27.4 | 27.7 | 581.6 | 2529.3 | 948.6 |  | 1878.3 | [49 empty] | 7.09 | 27 | 42.3 | 911 | 68
2026-09-06 11:50:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.3 | 37.9 | 27.9 | 38.3 | 28.1 | 37.9 | 4 | 4 | 28.7 | 31.3 | 29.4 | 28.4 | 28 | 27.7 | 28.2 | 568.5 | 2654.7 | 964.8 | 542.7 | 2335 | 826.1 | [48 empty] | 0.37 | 28.8 | 40 | 910 | 168.7
2026-09-06 11:51:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.4 | 37.8 | 27.9 | 38.2 | 28.1 | 37.8 | 4 | 4 | 28.7 | 31.4 | 29.5 | 28.5 | 27.9 | 27.8 | 28.2 | 562.4 | 2652.7 | 960.5 | 540.6 | 2332.8 | 822.8 | [48 empty] | 2.36 | 28.9 | 39.9 | 910 | 183.1
2026-09-06 11:52:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 36.8 | 28.8 | 37.4 | 28.9 | 36.9 | 4 | 4 | 28.9 | 31.5 | 29.7 | 28.4 | 28.2 | 27.9 | 28.3 | 556 | 2645.5 | 961.8 | 542.6 | 2339.2 | 826.1 | [48 empty] | 3.59 | 29.3 | 39.3 | 910 | 348.7
2026-09-06 11:53:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 36.3 | 29.1 | 36.8 | 29.2 | 36.5 | 4 | 4 | 29 | 31.6 | 29.6 | 28.6 | 28.3 | 28.1 | 28.3 | 546.5 | 2644 | 961.5 | 543.4 | 2344.3 | 826.8 | [48 empty] | 3.37 | 27.8 | 40.8 | 910 | 107.3
2026-09-06 11:54:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 35.7 | 29.3 | 36.3 | 29.4 | 35.9 | 4 | 4 | 29 | 31.8 | 29.7 | 29 | 28.3 | 28.2 | 28.5 | 505.7 | 2648.3 | 963.6 | 545.1 | 2355.2 | 827.5 | [48 empty] | 3.59 | 27.6 | 41.7 | 910 | 151.2
2026-09-06 11:55:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.1 | 35.3 | 29.5 | 36.3 | 29.6 | 35.6 | 4 | 4 | 29.2 | 31.9 | 29.8 | 29.1 | 28.3 | 28.2 | 28.5 | 504.4 | 2664.6 | 968.4 | 0 | 2378.3 | 0 | [48 empty] | 4.84 | 28.4 | 40.3 | 910 | 107.7
2026-09-06 11:56:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.2 | 34.9 | 29.7 | 35.6 | 29.8 | 35.1 | 4 | 4 | 29.2 | 31.9 | 29.9 | 29.1 | 28.5 | 28.3 | 28.5 | 520.6 | 2660.5 | 968.1 |  | 2393.1 | [49 empty] | 10.1 | 27.4 | 41 | 910 | 151.7
2026-09-06 11:57:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.3 | 34.9 | 29.7 | 35.6 | 29.8 | 35 | 4 | 4 | 29.3 | 32 | 30.1 | 29 | 28.5 | 28.2 | 28.6 | 565 | 2664.7 | 968.2 |  | 2403.7 | [49 empty] | 8.09 | 26.6 | 42.8 | 910 | 152.7
2026-09-06 11:58:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.4 | 35.1 | 29.8 | 35.9 | 29.9 | 35.2 | 4 | 4 | 29.5 | 32.1 | 29.9 | 29 | 28.4 | 28 | 28.6 | 572.1 | 2665.9 | 970.3 |  | 2421.7 | [49 empty] | 2.86 | 27.3 | 41.9 | 910 | 123.8
2026-09-06 11:59:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.5 | 34.6 | 29.9 | 35.7 | 30 | 35 | 4 | 3 | 29.4 | 32 | 30 | 29.2 | 28.5 | 28.1 | 28.5 | 568.3 | 2661.4 | 972.5 |  | 2425.9 | [49 empty] | 5.85 | 28.1 | 40.2 | 910 | 184.4
2026-09-06 12:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.7 | 34.7 | 30 | 35.8 | 30.1 | 35.2 | 4 | 3 | 29.4 | 32.1 | 30 | 29.1 | 28.4 | 27.9 | 28.6 | 575.3 | 2645.4 | 962.7 |  | 2427.2 | [49 empty] | 6.84 | 27.7 | 40.8 | 910 | 183.9
2026-09-06 12:01:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.8 | 34.9 | 30.1 | 35.9 | 30.2 | 35.5 | 4 | 4 | 29.3 | 32.2 | 30.1 | 28.9 | 28.4 | 28.1 | 28.4 | 574.3 | 2624.3 | 966.5 |  | 2375.6 | [49 empty] | 3.59 | 27.7 | 40.4 | 910 | 151.4
2026-09-06 12:02:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.9 | 34.7 | 30.1 | 35.5 | 30.2 | 35.2 | 4 | 3 | 29.4 | 32.1 | 30.2 | 28.9 | 28.4 | 28.2 | 28.6 | 564.4 | 2610.8 | 942.2 |  | 2396.2 | [49 empty] | 3.12 | 27.7 | 41 | 910 | 154.5
2026-09-06 12:03:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31 | 34.4 | 30.2 | 35.7 | 30.1 | 35.3 | 4 | 3 | 29.4 | 32.1 | 30.2 | 28.9 | 28.4 | 28 | 28.6 | 574.5 | 2632.2 | 969.2 |  | 2418.1 | [49 empty] | 4.35 | 28.6 | 39.5 | 910 | 192.8
2026-09-06 12:04:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.9 | 34.6 | 30.2 | 35.5 | 30.3 | 35.4 | 4 | 4 | 29.5 | 32 | 30.2 | 28.6 | 28.4 | 27.9 | 28.3 | 575.4 | 2636.8 | 971.8 |  | 2420.1 | 0 | [48 empty] | 2.86 | 27.7 | 40.5 | 910 | 102
2026-09-06 13:48:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.9 | 33.5 | 30.3 | 33.2 | 30.5 | 33 | 5 | 4 | 32.3 | 33.6 | 33.7 | 30.7 | 30.4 | 30.2 | 30.3 | 624.1 | 2709.7 | 1094.5 | 772.5 | 28335.1 | 1133.3 | [48 empty] | 4.36 | 30.6 | 35.6 | 908 | 174.6
2026-09-06 13:49:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.2 | 32.9 | 30.6 | 32.8 | 31 | 32.3 | 5 | 4 | 32.8 | 33.7 | 33.8 | 30.9 | 30.5 | 30.1 | 30.4 | 620.5 | 2727.8 | 1091.3 | 774.2 | 32564.2 | 1138 | [48 empty] | 6.36 | 29.8 | 36.3 | 908 | 183.7
2026-09-06 13:50:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.5 | 32.2 | 31 | 32.5 | 31.3 | 31.8 | 5 | 4 | 32.4 | 33.8 | 33.8 | 30.9 | 30.5 | 30.3 | 30.5 | 603.5 | 2735.7 | 1126.5 | 779.5 | 32402.6 | 1149.7 | [48 empty] | 4.6 | 29.2 | 37.2 | 908 | 128.9
2026-09-06 13:51:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.9 | 31.9 | 31.2 | 32.4 | 31.4 | 31.6 | 5 | 4 | 32.2 | 34 | 33.9 | 30.9 | 30.7 | 30.4 | 30.6 | 640 | 2760.1 | 1139.7 | 790.9 | 31720.7 | 1165.9 | [48 empty] | 4.64 | 29.5 | 37 | 908 | 158.5
2026-09-06 13:52:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.1 | 32.2 | 31.3 | 31.6 | 31.6 | 31.3 | 5 | 4 | 32.4 | 34.2 | 34.1 | 31.3 | 30.7 | 30.4 | 30.8 | 642.8 | 2768.8 | 1122.2 | 794.4 | 29806.9 | 1156.3 | [48 empty] | 4.64 | 30.3 | 35.8 | 908 | 184.4
2026-09-06 13:53:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.2 | 31 | 31.6 | 31.4 | 31.8 | 31.2 | 5 | 4 | 33.1 | 34.1 | 34.2 | 31 | 30.9 | 30.5 | 30.4 | 643.8 | 2770.1 | 1145.5 | 787.8 | 27401.6 | 1143.4 | [48 empty] | 1.13 | 30.6 | 35.7 | 908 | 203
2026-09-06 13:54:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.4 | 30.8 | 31.8 | 31 | 31.9 | 30.8 | 5 | 4 | 33.5 | 34.1 | 34.4 | 31 | 30.8 | 30.2 | 30.6 | 644.8 | 2788.7 | 1159.5 | 794.4 | 24391 | 1168.1 | [48 empty] | 1.38 | 31.3 | 34.5 | 908 | 164.8
2026-09-06 13:55:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.5 | 30.8 | 31.8 | 31.2 | 32 | 30.9 | 5 | 4 | 32.4 | 34 | 34.2 | 31 | 30.5 | 29.9 | 30.2 | 650.2 | 2794.1 | 1163.8 | 798.7 | 21847.4 | 1174.6 | [48 empty] | 2.13 | 31.1 | 34.4 | 908 | 148.2
2026-09-06 13:56:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.6 | 30.8 | 31.8 | 31.6 | 32.2 | 30.8 | 5 | 4 | 32.5 | 34.1 | 34.4 | 31.1 | 30.3 | 29.9 | 30.1 | 653.1 | 2793.6 | 1163.5 | 800.6 | 20884.6 | 1180 | [48 empty] | 1.13 | 30.9 | 35 | 908 | 101.9
2026-09-06 13:57:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.7 | 30.9 | 31.9 | 31.5 | 32.2 | 30.9 | 5 | 4 | 32.8 | 34.1 | 34.1 | 30.8 | 30.4 | 30 | 30.2 | 654.7 | 2809.6 | 1167.2 | 805.3 | 21405.7 | 1184.6 | [48 empty] | 6.36 | 31.6 | 34.2 | 908 | 121.5
2026-09-06 13:58:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.2 | 29.4 | 29.3 | 29.1 | 29.1 | 29.1 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.7 | 30.6 | 32 | 31.1 | 32.2 | 30.5 | 5 | 4 | 32.6 | 34.2 | 34.3 | 31 | 30.9 | 30.3 | 30.4 | 666.1 | 2867.4 | 1198.5 | 837.1 | 22894.5 | 1239 | [48 empty] | 2.63 | 29.8 | 36.7 | 908 | 97.3
2026-09-06 13:59:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.5 | 29.6 | 29.4 | 29.4 | 29.2 | 29.1 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.9 | 30 | 32 | 30.7 | 32.3 | 30.2 | 5 | 4 | 33.6 | 34.2 | 34.6 | 31.1 | 30.9 | 30.6 | 30.7 | 667.9 | 2877.4 | 1205 | 844.7 | 24792.7 | 1249.6 | [48 empty] | 2.39 | 30.7 | 35.5 | 908 | 118.5
2026-09-06 14:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 30.2 | 29.8 | 29.8 | 29.6 | 29.3 | 29.4 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.9 | 29.7 | 32 | 30.8 | 32.5 | 30 | 5 | 4 | 33.3 | 34.2 | 34.6 | 31.2 | 30.9 | 30.5 | 30.7 | 661.5 | 2872.1 | 1196.3 | 842.6 | 26078.4 | 1249.5 | [48 empty] | 4.62 | 30.2 | 36.3 | 908 | 179.8
2026-09-06 14:01:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.4 | 30.5 | 30.2 | 30.2 | 30 | 29.5 | 29.7 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.9 | 29.5 | 32.2 | 30.5 | 32.5 | 29.9 | 5 | 4 | 33 | 34.1 | 34.7 | 31.1 | 31 | 30.6 | 30.8 | 666.2 | 2895.8 | 1204.1 | 848 | 27049 | 1254.9 | [48 empty] | 1.14 | 30.1 | 36.1 | 908 | 155.1
2026-09-06 14:02:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.1 | 29.3 | 29.6 | 29.1 | 28.7 | 29.2 | 28.5 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33 | 29.4 | 32.1 | 30.5 | 32.6 | 29.8 | 5 | 4 | 33 | 34.2 | 34.7 | 31 | 31 | 30.3 | 30.6 | 669.4 | 2903.9 | 1216.9 | 856.5 | 29079.8 | 1268.5 | [48 empty] | 4.12 | 31.1 | 35.5 | 908 | 243.5
2026-09-06 14:03:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.6 | 28.8 | 29.1 | 28.6 | 28.6 | 29 | 28.4 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.1 | 30.1 | 32.3 | 31.3 | 32.6 | 30.2 | 5 | 4 | 33 | 34.2 | 35 | 30.8 | 30.5 | 29.7 | 29.9 | 657.3 | 2938 | 1223.7 | 864.1 | 29953.8 | 1283.2 | [48 empty] | 6.36 | 31.3 | 38.2 | 908 | 245
2026-09-06 14:04:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.2 | 30.5 | 30.2 | 30.2 | 29.7 | 29.3 | 29.7 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.2 | 30 | 32.3 | 30.9 | 32.7 | 30.4 | 5 | 4 | 32.9 | 34.1 | 35.5 | 30.7 | 30.6 | 30.1 | 30.2 | 665.7 | 2961.9 | 1232.9 | 873.3 | 30006.7 | 1295.4 | [48 empty] | 3.1 | 30.1 | 40.5 | 908 | 156.2
2026-09-06 14:05:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.6 | 30.9 | 30.4 | 30.6 | 30.2 | 29.5 | 30 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.1 | 30.1 | 32.2 | 31.2 | 32.6 | 30.6 | 5 | 4 | 33 | 34 | 36.1 | 30.8 | 30.6 | 30 | 30.3 | 649.9 | 2989.3 | 1242.6 | 881.5 | 30752.5 | 1311.9 | [48 empty] | 9.35 | 30 | 40.3 | 908 | 280.7
2026-09-06 14:06:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.5 | 30.7 | 30.5 | 30.4 | 30.1 | 29.7 | 29.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.2 | 30.2 | 32.4 | 31.7 | 32.8 | 31.1 | 5 | 4 | 33.3 | 34.1 | 37.2 | 31 | 30.4 | 29.7 | 30.3 | 647.5 | 2990.9 | 1244.9 | 883.5 | 30282.9 | 1315.8 | [48 empty] | 3.37 | 29.3 | 42 | 908 | 318.7
2026-09-06 14:07:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.5 | 28.7 | 29.2 | 28.6 | 28.6 | 29.1 | 28.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.1 | 31 | 32.3 | 31.9 | 32.7 | 31.3 | 6 | 4 | 32.4 | 33.7 | 38.1 | 30.2 | 30.2 | 29.5 | 29.6 | 620 | 2977.4 | 1244.6 | 882.8 | 29753.5 | 1318.2 | [48 empty] | 2.14 | 30 | 40.8 | 908 | 293.3
2026-09-06 14:08:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 30.1 | 30.1 | 29.8 | 29.4 | 29.3 | 29.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.2 | 30.9 | 32.2 | 32.4 | 32.7 | 31.8 | 6 | 4 | 34 | 33.8 | 38.8 | 30.6 | 30.3 | 29.9 | 30 | 612.6 | 2969.6 | 1249.7 | 886.5 | 29418 | 1326 | [48 empty] | 9.11 | 29.2 | 42.6 | 908 | 246.4
2026-09-06 14:09:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 29.9 | 30.1 | 29.8 | 29.4 | 29.3 | 29.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.2 | 31.3 | 32.1 | 32.7 | 32.8 | 32 | 5 | 4 | 33.1 | 33.7 | 39.1 | 30.2 | 30.2 | 29.4 | 29.9 | 639.2 | 2957.6 | 1250.3 | 887.6 | 28855.2 | 1329.8 | [48 empty] | 11.34 | 29.2 | 43.1 | 908 | 319.1
2026-09-06 14:10:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 30.3 | 30.2 | 30 | 29.5 | 29.4 | 29.4 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.2 | 31.5 | 32.1 | 33 | 32.7 | 32.5 | 6 | 4 | 33.7 | 33.7 | 39.6 | 30.4 | 30.2 | 29.6 | 30.1 | 637.3 | 2955.8 | 1251.1 | 890.3 | 28509.2 | 1334.1 | [48 empty] | 3.11 | 29.3 | 43.2 | 908 | 343.8
2026-09-06 14:11:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.2 | 30.3 | 30.3 | 30.1 | 29.6 | 29.5 | 29.6 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.2 | 31.9 | 32.1 | 33.4 | 32.6 | 32.8 | 6 | 4 | 33.5 | 33.6 | 40.1 | 30.4 | 30.2 | 29.6 | 30 | 628.4 | 2970.8 | 1256.9 | 894.9 | 28387.6 | 1341 | [48 empty] | 11.84 | 29 | 43.8 | 908 | 320
2026-09-06 14:12:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.8 | 31 | 30.6 | 30.7 | 30.2 | 29.6 | 30 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.2 | 32.1 | 32.1 | 33.5 | 32.6 | 32.9 | 5 | 4 | 34.7 | 33.6 | 40.7 | 30.5 | 30.3 | 29.8 | 30.1 | 633.2 | 2992.6 | 1258.9 | 894.1 | 27907.8 | 1342.9 | [48 empty] | 8.36 | 29.5 | 42.8 | 908 | 281.7
2026-09-06 14:13:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.4 | 28.7 | 29.4 | 28.7 | 28.4 | 28.9 | 28.2 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33 | 32.6 | 32.1 | 33.7 | 32.6 | 33.3 | 6 | 4 | 34 | 33.1 | 40.6 | 29.9 | 30.3 | 29.6 | 29.1 | 662.4 | 3022.8 | 1237 | 905.8 | 28247.3 | 1357.9 | [48 empty] | 11.59 | 29.6 | 42.7 | 908 | 284.9
2026-09-06 14:14:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.7 | 28.9 | 29.7 | 28.8 | 28.4 | 28.9 | 28.4 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33 | 32.4 | 32.1 | 33.6 | 32.7 | 33.2 | 6 | 4 | 34 | 33.4 | 40.5 | 30 | 30.3 | 29.8 | 29.2 | 662.6 | 3026.7 | 1200.1 | 905.6 | 28300.2 | 1359.5 | [48 empty] | 0.88 | 29.7 | 42.7 | 908 | 294.7
2026-09-06 14:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.2 | 29.4 | 29.8 | 29.3 | 28.7 | 29 | 28.7
2026-09-06 14:16:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 29.9 | 30.1 | 29.6 | 29.3 | 29.3 | 29
2026-09-06 14:17:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.3 | 29.6 | 30 | 29.5 | 28.9 | 28.9 | 28.7
2026-09-06 14:18:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29 | 29.1 | 29.5 | 29 | 28.7 | 28.8 | 28.6
2026-09-06 14:19:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.9 | 29.1 | 29.5 | 28.9 | 28.4 | 28.6 | 28.3
2026-09-06 14:20:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.3 | 29.4 | 29.6 | 29.3 | 28.8 | 28.6 | 28.8
2026-09-06 14:21:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 30.1 | 30.1 | 29.8 | 29.4 | 29 | 29.1
2026-09-06 14:22:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.7 | 29 | 29.4 | 29 | 28.5 | 28.9 | 28.4
2026-09-06 14:23:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 29.8 | 29.7 | 29.5 | 29.4 | 29.2 | 29.1
2026-09-06 14:24:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 29.8 | 29.9 | 29.6 | 29.4 | 29.2 | 29.1
2026-09-06 14:25:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.4 | 30.5 | 30.4 | 30.2 | 30 | 29.5 | 29.7
2026-09-06 14:26:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.2 | 30.5 | 30.4 | 30.1 | 30 | 29.7 | 29.7
2026-09-06 14:27:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.3 | 28.6 | 29.2 | 28.5 | 28.2 | 28.8 | 28.1
2026-09-06 14:28:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28 | 28.4 | 29.1 | 28.3 | 27.9 | 28.5 | 27.8
2026-09-06 14:29:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.1 | 28.3 | 28.9 | 28.1 | 27.9 | 28.4 | 27.7
2026-09-06 14:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.1 | 28.5 | 29.2 | 28.5 | 27.9 | 28.3 | 27.9
2026-09-06 14:31:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.5 | 28.7 | 29.3 | 28.7 | 28.2 | 28.4 | 28.2
2026-09-06 14:32:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 29.8 | 29.9 | 29.8 | 29.1 | 28.7 | 28.9
2026-09-06 14:33:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.1 | 30.3 | 30.3 | 30.1 | 29.5 | 29.1 | 29.4
2026-09-06 14:34:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 30 | 30.1 | 29.8 | 29.3 | 29.1 | 29
2026-09-06 14:35:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.2 | 29.4 | 29.5 | 29.1 | 28.9 | 29.1 | 28.7
2026-09-06 14:36:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 30.1 | 30.2 | 29.8 | 29.6 | 29.3 | 29.3
2026-09-06 14:37:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 28.8 | 29.1 | 29.7 | 29 | 28.4 | 28.9 | 28.3
2026-09-06 14:38:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.3 | 30.5 | 30.6 | 30.2 | 29.7 | 29.3 | 29.4
2026-09-06 14:39:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.1 | 30.2 | 30.2 | 30 | 29.7 | 29.4 | 29.4
2026-09-06 14:40:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.3 | 30.4 | 30.4 | 30.1 | 29.8 | 29.5 | 29.4
2026-09-06 14:41:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.3 | 29.4 | 29.6 | 29.1 | 28.9 | 29.2 | 28.6
2026-09-06 14:42:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29 | 29.2 | 29.8 | 29 | 28.8 | 29.1 | 28.6
2026-09-06 14:43:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.1 | 30.2 | 30.5 | 30.2 | 29.4 | 29.2 | 29.4
2026-09-06 14:44:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 30.2 | 30.1 | 29.8 | 29.5 | 29.4 | 29.3
2026-09-06 14:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.4 | 30.6 | 30.4 | 30.3 | 29.9 | 29.5 | 29.7
2026-09-06 14:46:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.1 | 30.3 | 30.6 | 30 | 29.6 | 29.6 | 29.4
2026-09-06 14:47:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.4 | 30.6 | 30.6 | 30.5 | 30 | 29.7 | 29.7
2026-09-06 14:48:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.6 | 30.7 | 30.7 | 30.6 | 30 | 29.8 | 29.7
2026-09-06 14:49:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.6 | 30.8 | 30.9 | 30.5 | 30.1 | 29.9 | 29.8
2026-09-06 14:50:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.7 | 30.9 | 30.9 | 30.6 | 30.1 | 29.9 | 29.9
2026-09-06 15:43:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.6 | 40.7 | 29.8 | 41.7 | 30.7 | 40.2 | 18 | 4 | 34.1 | 30 | 34 | 30.2 | 30.6 | 29.5 | 29.9 | 718.5 | 2555.4 | 1351.2 | 969.7 | 9994.6 | 1579.3 | [48 empty] | 7.85 | 28.2 | 48.8 | 908
2026-09-06 15:44:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31 | 39.5 | 30.3 | 40.8 | 31.2 | 39.5 | 17 | 4 | 34.3 | 30.2 | 34.1 | 30.5 | 30.7 | 29.6 | 30 | 701.7 | 2476.7 | 1320.7 | 947.5 | 9175.5 | 1551.4 | [48 empty] | 15.82 | 28.1 | 49.3 | 908 | 321.1
2026-09-06 15:45:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.4 | 38.4 | 30.7 | 40 | 31.6 | 38.5 | 15 | 4 | 34.1 | 30.2 | 34.2 | 30.5 | 30.2 | 29.6 | 29.9 | 654.3 | 2315.1 | 1238.8 | 886.6 | 8145.6 | 1453.7 | [48 empty] | 10.11 | 27.9 | 49.6 | 908 | 275
2026-09-06 15:46:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.7 | 38.7 | 31 | 39.6 | 31.9 | 38.1 | 6 | 4 | 33.4 | 30.3 | 34.2 | 30.6 | 30.3 | 29.6 | 29.9 | 521.4 | 1961 | 1013.8 | 698.8 | 4700.9 | 1138.3 | [48 empty] | 6.12 | 28 | 49.1 | 908 | 244
2026-09-06 15:47:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.8 | 38.4 | 31.1 | 39.4 | 32.1 | 37.9 | 5 | 3 | 33 | 30.1 | 34.1 | 30.5 | 30.2 | 29.6 | 29.8 | 485.4 | 1848.4 | 939.6 | 650.9 | 3812.3 | 1061.3 | [48 empty] | 15.06 | 27.8 | 49.8 | 908 | 306.1
2026-09-06 15:50:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.2 | 39.1 | 30.4 | 40.3 | 31.4 | 39 | 16 | 4 | 33.6 | 30.1 | 33.9 | 30.2 | 30 | 29.5 | 29.9 | 627.3 | 2121.5 | [52 empty] | 12.82 | 27.8 | 50.2 | 908 | 295.4
2026-09-06 15:54:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.4 | 29.5 | 33.1 | 29.6 | 29.6 | 29.2 | 29.5 | [54 empty] | 3.09 | 28.4 | 48.9 | 908 | 246.3
2026-09-06 15:55:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.9 | 30.1 | 33.5 | 30.2 | 30.1 | 29.5 | 29.8 | [54 empty] | 4.62 | 28.6 | 48.3 | 908 | 245.4
2026-09-06 15:56:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.5 | 39 | 30.8 | 40.2 | 31.6 | 39 | 16 | 4 | 32.9 | 30.1 | 33.6 | 30.2 | 30.1 | 29.6 | 30 | 605.7 | 2017.3 | 1180.7 | 835.9 | 7660.9 | 1462.6 | [48 empty] | 9.83 | 28.7 | 47.8 | 908 | 253
2026-09-06 15:57:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.4 | 39 | 30.7 | 40.2 | 31.7 | 39 | 16 | 4 | 32.9 | 30.1 | 33.6 | 30.3 | 30.2 | 29.6 | 29.9 | 605.7 | 2012.9 | 1179.4 | 835.9 | 7660.9 | 1460.1 | [48 empty] | 4.61 | 28.7 | 47.8 | 908 | 257.7
2026-09-06 16:01:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.7 | 29.4 | 33.3 | 29.6 | 29.6 | 28.8 | 29.1 | [54 empty] | 5.59 | 28.5 | 48 | 908 | 221.5
2026-09-06 16:02:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.5 | 29.2 | 33.2 | 29.5 | 29.7 | 28.9 | 28.9 | [54 empty] | 9.35 | 28.4 | 48.1 | 908 | 253.5
2026-09-06 16:03:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.1 | 29.4 | 32.9 | 29.6 | 29.6 | 29 | 29.1 | [54 empty] | 11.07 | 27.9 | 48.4 | 908 | 319.2
2026-09-06 16:04:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.4 | 29.2 | 33 | 29.3 | 29.5 | 28.8 | 28.8 | [54 empty] | 7.1 | 27.8 | 48.9 | 908 | 303.3
2026-09-06 16:05:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.1 | 29.2 | 32.8 | 29.2 | 29.7 | 29.2 | 28.8 | [54 empty] | 12.57 | 27.9 | 48.6 | 908 | 310
2026-09-06 16:06:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.1 | 29.7 | 32.8 | 29.7 | 29.7 | 29.2 | 29.3 | [54 empty] | 6.59 | 28 | 48.6 | 908 | 279.6
2026-09-06 16:07:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.2 | 29.6 | 32.9 | 29.9 | 29.7 | 29.3 | 29.4 | [54 empty] | 14.32 | 27.9 | 48.6 | 908 | 259.8
2026-09-06 16:08:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.2 | 29.8 | 32.8 | 29.7 | 29.9 | 29.5 | 29.3 | [54 empty] | 10.81 | 27.6 | 49.4 | 908 | 265.1
2026-09-06 16:09:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.3 | 29.9 | 32.7 | 30 | 29.8 | 29.4 | 29.5 | [54 empty] | 8.82 | 27.5 | 49.7 | 908 | 292.1
2026-09-06 16:10:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.1 | 30 | 32.7 | 30.1 | 29.7 | 29.4 | 29.8 | [54 empty] | 6.84 | 27.4 | 49.9 | 908 | 327.9
2026-09-06 16:11:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 32.1 | 30 | 32.7 | 30 | 29.7 | 29.4 | 30 | [54 empty] | 4.34 | 27.4 | 50 | 908 | 335.8
2026-09-06 16:12:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.8 | 38 | 31.4 | 38.9 | 31.9 | 39.5 | 4 | 3 | 32.1 | 30 | 32.7 | 30.1 | 29.9 | 29.4 | 29.9 | 364.6 | 1287.3 | 741.8 | 497.5 | 2581.4 | 805 | [48 empty] | 7.84 | 27.7 | 49.6 | 908 | 25.4
2026-09-06 16:13:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.9 | 38 | 31.5 | 39.1 | 31.9 | 38 | 4 | 3 | 32.1 | 30.2 | 32.6 | 30 | 29.8 | 29.5 | 29.9 | 373 | 1313.4 | 765.7 | 494.1 | 2784.3 | 925.5 | [48 empty] | 2.88 | 27.8 | 49.4 | 908 | 352
2026-09-06 16:14:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32 | 37.6 | 31.5 | 38.4 | 32.1 | 37.8 | 13 | 4 | 32.2 | 30.2 | 32.7 | 30.2 | 29.9 | 29.6 | 29.8 | 578.4 | 1611.5 | 1051.3 | 659 | 5625.2 | 4470.5 | [48 empty] | 2.39 | 27.9 | 49.3 | 908 | 146.7
2026-09-06 16:15:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.1 | 37.9 | 31.6 | 38.4 | 32.2 | 37.5 | 13 | 4 | 32.5 | 30.2 | 32.7 | 30.2 | 30.1 | 29.5 | 29.9 | 588.5 | 1614.9 | 1066.1 | 647.1 | 5524.1 | 4463.4 | [48 empty] | 7.1 | 28.1 | 48.5 | 908 | 305.5
2026-09-06 16:16:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 37.7 | 31.6 | 38.3 | 32.2 | 37.5 | 13 | 5 | 32.3 | 30.2 | 32.8 | 30.3 | 30 | 29.5 | 30 | 584 | 1616.1 | 1071.5 | 632.6 | 5370.4 | 4322.5 | [48 empty] | 2.13 | 28.1 | 48.7 | 908 | 237.7
2026-09-06 16:17:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.4 | 37.6 | 31.8 | 38.3 | 32.2 | 37.5 | 13 | 5 | 32.4 | 30.2 | 33 | 30.1 | 30.2 | 29.6 | 29.8 | 590.8 | 1641.1 | 1089.8 | 634.3 | 5408.6 | 3607.4 | [48 empty] | 5.37 | 28.4 | 48.1 | 908 | 303.5
2026-09-06 16:18:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 37.8 | 31.7 | 38.3 | 32.3 | 37.4 | 13 | 5 | 32.6 | 30.2 | 33 | 30.2 | 30.3 | 29.7 | 29.8 | 584.1 | 1645.1 | 1075.5 | 625.2 | 5277.4 | 2805.5 | [48 empty] | 2.87 | 28.3 | 48.2 | 908 | 320.8
2026-09-06 16:20:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.4 | 42 | 29.2 | 42.2 | 28.9 | 43.1 | 2 | 3 | [7 empty] | 522.3 | 683.3 | 418.3 | 275.5 | 1237.9 | 1767.6
2026-09-06 16:21:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.7 | 41.3 | 29.5 | 41.4 | 29.2 | 42.4 | 3 | 3 | [7 empty] | 492.4 | 692.2 | 530.8 | 278.2 | 1294.6 | 1820.8 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.8 | 38.3 | 31.1 | 39.4 | 31.8 | 38.5 | 12 | 5 | 32.8 | 30.4 | 33.4 | 30.3 | 30.2 | 29.7 | 30.1 | 537 | 1730.8 | 1002.9 | 623.3 | 4439.7 | 1195.2 | [48 empty] | 3.87 | 28.5 | 48 | 908 | 73.8
2026-09-06 16:22:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30 | 40.8 | 29.8 | 41 | 29.6 | 41.8 | 2 | 3 | [7 empty] | 542.8 | 704.3 | 538.3 | 284.8 | 1317.8 | 1874.9 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32 | 37.9 | 31.4 | 39.1 | 31.9 | 38 | 12 | 5 | 33.2 | 30.5 | 33.6 | 30.5 | 30.2 | 29.7 | 30.2 | 538.2 | 1757.7 | 1060.1 | 635.4 | 4439.9 | 1234.3 | [48 empty] | 4.11 | 27.6 | 49.3 | 908 | 72.2
2026-09-06 16:23:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.2 | 40.4 | 30 | 40.4 | 29.7 | 41.3 | 2 | 3 | [7 empty] | 551.7 | 709.6 | 527 | 279.9 | 1315 | 1851.6 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32 | 38 | 31.4 | 38.9 | 32 | 38 | 12 | 5 | 33.1 | 30.5 | 33.5 | 30.5 | 30.3 | 29.7 | 30.2 | 546.1 | 1759.2 | 1072.9 | 637.1 | 4440 | 1286.4 | [48 empty] | 5.36 | 27.6 | 49.4 | 908 | 70.2
2026-09-06 16:24:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.4 | 40.2 | 30.2 | 40.3 | 29.9 | 41.1 | 3 | 3 | [7 empty] | 540.9 | 704.3 | 515.5 | 274.9 | 1312.7 | 1842.4
2026-09-06 16:25:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.5 | 39.9 | 30.3 | 40.2 | 30.1 | 41 | 2 | 3 | [7 empty] | 535.4 | 698.3 | 514.3 | 275.8 | 1291.2 | 1827.9
2026-09-06 16:26:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.6 | 39.7 | 30.5 | 39.8 | 30.1 | 40.9 | 2 | 3 | [7 empty] | 520.8 | 687.1 | 510.9 | 270.2 | 1249.7 | 1782.7
2026-09-06 16:27:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.6 | 40 | 30.5 | 39.7 | 30.3 | 40.9 | 2 | 3 | [7 empty] | 509.8 | 667.8 | 500.4 | 266.7 | 1211.8 | 1694.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.7 | 38.1 | 31 | 39.8 | 31.6 | 38.7 | 11 | 6 | 33.5 | 30.6 | 34.4 | 30.5 | 30.3 | 29.9 | 30.3 | 488.7 | 1652.8 | 3150.7 | 570.4 | 4092.6 | 2449.3 | [48 empty] | 4.87 | 28.2 | 48 | 908 | 202
2026-09-06 16:28:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.8 | 39.7 | 30.6 | 39.7 | 30.3 | 40.4 | 2 | 3 | [7 empty] | 496.2 | 656.2 | 482.7 | 253.7 | 1180.5 | 1615.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32 | 38 | 31.2 | 39.4 | 31.9 | 38.4 | 11 | 6 | 33.4 | 30.3 | 34.3 | 30.3 | 30.3 | 30 | 30 | 459.5 | 1628.6 | 3123.2 | 566.6 | 3977.7 | 2406.6 | [48 empty] | 4.87 | 27.4 | 50.7 | 908 | 220.2
2026-09-06 16:29:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 39.2 | 30.6 | 39.4 | 30.4 | 40.3 | 2 | 3 | [7 empty] | 477.4 | 640.4 | 472.9 | 248.8 | 1144.9 | 1540.8 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.2 | 37.4 | 31.4 | 39.1 | 32.1 | 38.1 | 11 | 7 | 33.2 | 30.3 | 34.5 | 30.2 | 30.4 | 29.9 | 30.2 | 485.1 | 1604 | 3230.2 | 571.6 | 3924.5 | 2480.1 | [48 empty] | 2.87 | 27.8 | 49.8 | 908 | 357.4
2026-09-06 16:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.8 | 39 | 30.7 | 39.3 | 30.3 | 40.1 | 2 | 2 | [7 empty] | 448.6 | 596.9 | 455.8 | 240.4 | 1087.8 | 1450.2
2026-09-06 16:31:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.8 | 39.4 | 30.6 | 39.6 | 30.3 | 40.3 | 2 | 2 | [7 empty] | 378.5 | 540.6 | 426.6 | 227.9 | 1022.1 | 1368.1
2026-09-06 16:32:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.8 | 39.5 | 30.7 | 39.4 | 30.5 | 40.4 | 2 | 2 | [7 empty] | 367.1 | 512.9 | 411.6 | 219.1 | 980.4 | 1315.6
2026-09-06 16:33:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 39.7 | 30.7 | 39.7 | 30.4 | 40.3 | 2 | 2 | [7 empty] | 348.9 | 486.2 | 397.1 | 217.8 | 946.9 | 1254.9
2026-09-06 16:34:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31 | 39.7 | 30.7 | 39.8 | 30.5 | 40.6 | 2 | 2 | [7 empty] | 339 | 462.5 | 387.2 | 202.5 | 917 | 1227.2
2026-09-06 16:35:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 40 | 30.9 | 40.4 | 30.6 | 40.7 | 2 | 2 | [7 empty] | 186.4 | 442.8 | 371.5 | 204.1 | 892.1 | 1206.1
2026-09-06 16:36:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 39.8 | 30.9 | 40 | 30.6 | 40.6 | 2 | 2 | [7 empty] | 311.8 | 428.4 | 357.5 | 192.9 | 859.5 | 1119.1 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.6 | 38.9 | 30.8 | 40.8 | 31.5 | 39.8 | 4 | 3 | 33.4 | 30.3 | 34.4 | 30.3 | 30.2 | 29.9 | 30.9 | 299.5 | 1092.7 | 850.1 | 368.9 | 2121.2 | 777.2 | [48 empty] | 10.1 | 26.1 | 55.3 | 908 | 150
2026-09-06 16:37:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 39.9 | 30.9 | 39.9 | 30.6 | 40.5 | 2 | 2 | [7 empty] | 303 | 418.8 | 342.1 | 185.7 | 841.6 | 1088.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.9 | 38.5 | 31.1 | 40.4 | 31.7 | 39.6 | 3 | 3 | 33.2 | 30.3 | 34.6 | 30.4 | 30 | 29.8 | 30.5 | 258.1 | 1027.8 | 521.9 | 325.8 | 1846.4 | 540.1 | [48 empty] | 6.12 | 26.2 | 55.1 | 908 | 201.2
2026-09-06 16:38:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31 | 39.8 | 31 | 39.9 | 30.6 | 40.6 | 2 | 2 | [7 empty] | 292.7 | 408.2 | 329.3 | 178.4 | 827.2 | 1051.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.1 | 38.4 | 31.2 | 39.8 | 32 | 39 | 3 | 3 | 33.2 | 30.3 | 34.5 | 30.3 | 30 | 29.7 | 30.2 | 241.3 | 980.6 | 464.2 | 311.6 | 1744.3 | 501.6 | [48 empty] | 8.09 | 26.3 | 55 | 908 | 162.3
2026-09-06 16:39:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 40 | 30.9 | 40 | 30.8 | 40.7 | 2 | 2 | [7 empty] | 279.3 | 394 | 313.7 | 170.5 | 794.6 | 1022.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.2 | 38.7 | 31.4 | 39.7 | 32 | 38.7 | 3 | 2 | 33.1 | 30.1 | 34.2 | 30.2 | 29.8 | 29.7 | 29.9 | 223.4 | 939.7 | 415.2 | 293.3 | 1643 | 468.3 | [48 empty] | 2.86 | 26.2 | 55.3 | 908 | 175.1
2026-09-06 16:40:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31 | 40 | 30.9 | 39.8 | 30.7 | 40.7 | 2 | 2 | [7 empty] | 255.5 | 370.5 | 297 | 162 | 763.1 | 985.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 38.2 | 31.4 | 39.6 | 32.2 | 38.6 | 2 | 2 | 32.6 | 30.1 | 33.9 | 30 | 29.6 | 29.4 | 29.9 | 212.2 | 871.4 | 385.8 | 274.8 | 1547.6 | 439.2 | [48 empty] | 6.84 | 26.5 | 54.7 | 908 | 169
2026-09-06 16:41:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 40 | 30.9 | 39.9 | 30.7 | 40.6 | 1 | 2 | [7 empty] | 229.5 | 334.1 | 278.3 | 151.6 | 704.4 | 913.7 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 38.7 | 31.6 | 39.5 | 32.2 | 38.5 | 2 | 2 | 32.7 | 30 | 33.8 | 30 | 29.7 | 29.5 | 29.8 | 198.3 | 803.9 | 352 | 254 | 1441 | 412.6 | [48 empty] | 10.35 | 26.2 | 55.2 | 908 | 153.7
2026-09-06 16:42:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31 | 40.1 | 31 | 40 | 30.7 | 40.6 | 1 | 2 | [7 empty] | 209.2 | 308.9 | 262.1 | 143.2 | 655.7 | 839.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.4 | 38.7 | 31.6 | 39.5 | 32.2 | 38.6 | 2 | 2 | 32.9 | 30.2 | 33.6 | 30.1 | 29.7 | 29.5 | 29.8 | 170.8 | 761.1 | 343.6 | 232.5 | 1335.7 | 389 | [48 empty] | 5.33 | 26.1 | 55.5 | 908 | 163.9
2026-09-06 16:43:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 40.1 | 31 | 40 | 30.7 | 40.6 | 1 | 1 | [7 empty] | 193.5 | 288.9 | 248.4 | 136.2 | 629.9 | 770.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.4 | 39 | 31.6 | 39.3 | 32.2 | 38.4 | 2 | 2 | 32.3 | 30.2 | 33.2 | 29.9 | 29.4 | 29.4 | 30 | 180.8 | 730.5 | 343.5 | 214.2 | 1234 | 367.6 | [48 empty] | 9.59 | 26.2 | 55.3 | 908 | 140.2
2026-09-06 16:44:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 40.2 | 30.9 | 39.9 | 30.7 | 40.6 | 1 | 1 | [7 empty] | 182.2 | 275.1 | 238.3 | 130.9 | 618.5 | 704.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.5 | 38.4 | 31.6 | 39.4 | 32.2 | 38.5 | 2 | 2 | 32.3 | 29.9 | 33.2 | 29.7 | 29.5 | 29.3 | 29.6 | 181.4 | 714.8 | 344.5 | 198.4 | 1138.8 | 356.7 | [48 empty] | 10.59 | 25.6 | 56.3 | 908 | 158.3
2026-09-06 16:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 39.9 | 31 | 39.9 | 30.7 | 40.6 | 1 | 1 | [7 empty] | 173.9 | 263.9 | 229.7 | 126.6 | 601.2 | 656.2 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.5 | 37.9 | 31.7 | 39.3 | 32.1 | 38.6 | 2 | 2 | 32.3 | 29.4 | 33.2 | 29.3 | 29.5 | 29 | 29.2 | 176.6 | 704.7 | 341.8 | 186.5 | 1073.7 | 354.1 | [48 empty] | 9.59 | 25.9 | 55.6 | 908 | 136.9
2026-09-06 16:46:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 39.8 | 31 | 39.8 | 30.7 | 40.4 | 1 | 1 | [7 empty] | 168 | 252.9 | 222.9 | 122.9 | 567.6 | 620.6 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.5 | 37.7 | 31.6 | 38.9 | 32.1 | 38.5 | 4 | 4 | 32.3 | 29.7 | 32.8 | 29.7 | 29.4 | 28.7 | 29.3 | 195.9 | 694.3 | 544.7 | 193.6 | 1177.5 | 430 | [48 empty] | 7.84 | 26 | 55.3 | 908 | 114.4
2026-09-06 16:47:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.9 | 39.8 | 30.9 | 39.7 | 30.7 | 40.4 | 1 | 1 | [7 empty] | 165.1 | 245.7 | 219.7 | 121.7 | 564.1 | 584.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.9 | 37.3 | 31.6 | 39.1 | 32.1 | 38.6 | 6 | 6 | 32.2 | 29.4 | 32.8 | 29.4 | 29.4 | 28.9 | 29.2 | 196.8 | 708.6 | 764.6 | 204 | 1334.2 | 496 | [48 empty] | 6.12 | 25.9 | 55.5 | 908 | 213.8
2026-09-06 16:48:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.7 | 39.9 | 30.9 | 39.8 | 30.7 | 40.5 | 1 | 1 | [7 empty] | 158.2 | 235.1 | 213.8 | 117.8 | 563.5 | 556.7 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33 | 37.1 | 31.6 | 39.4 | 32.1 | 38.7 | 2 | 3 | 32 | 29.7 | 32.7 | 29.6 | 29.4 | 28.9 | 29.2 | 166.5 | 656.7 | 354 | 147.7 | 930.5 | 264.8 | [48 empty] | 14.8 | 25.7 | 56 | 908 | 132.7
2026-09-06 16:49:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.8 | 40 | 30.9 | 39.7 | 30.6 | 40.4 | 1 | 1 | [7 empty] | 153.7 | 226.4 | 210.7 | 115.9 | 574.4 | 536.9 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.9 | 37.1 | 31.6 | 39.3 | 32.2 | 38.9 | 2 | 2 | 31.9 | 29.7 | 32.6 | 29.6 | 29.5 | 28.7 | 29.2 | 163.1 | 652.5 | 328.9 | 157.5 | 897.1 | 306.8 | [48 empty] | 11.32 | 25.6 | 56.2 | 908 | 132.3
2026-09-06 16:50:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.7 | 39.9 | 30.8 | 39.7 | 30.6 | 40.5 | 1 | 1 | [7 empty] | 147.6 | 217.5 | 205.1 | 113.2 | 574.1 | 510.4
2026-09-06 16:51:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.7 | 40 | 30.9 | 39.7 | 30.6 | 40.5 | 1 | 1 | [7 empty] | 140.2 | 206.9 | 196.8 | 108.9 | 561 | 476.9
2026-09-06 16:52:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.7 | 40.1 | 30.8 | 39.8 | 30.5 | 40.5 | 1 | 1 | [7 empty] | 134.7 | 198.6 | 190.6 | 106.8 | 544.1 | 449.8
2026-09-06 16:53:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.6 | 40.1 | 30.8 | 39.8 | 30.5 | 40.6 | 1 | 1 | [7 empty] | 129.8 | 189.1 | 186.6 | 103.6 | 528.6 | 423.1
2026-09-06 16:54:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.5 | 40.3 | 30.7 | 39.9 | 30.5 | 40.6 | 1 | 1 | [7 empty] | 124.5 | 178.5 | 182.2 | 101.3 | 515.7 | 402.1
2026-09-06 16:55:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.5 | 40.3 | 30.6 | 39.9 | 30.4 | 40.6 | 1 | 1 | [7 empty] | 120 | 171.4 | 181 | 100.6 | 512 | 392.2
2026-09-06 16:56:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.5 | 40.4 | 30.6 | 40 | 30.4 | 40.6 | 1 | 1 | [7 empty] | 115.4 | 165.3 | 178.8 | 100 | 510.1 | 375.9
2026-09-06 16:57:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.4 | 40.4 | 30.6 | 40.1 | 30.3 | 40.7 | 1 | 1 | [7 empty] | 111.4 | 161 | 176.4 | 98.6 | 500.3 | 373
2026-09-06 16:58:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.3 | 40.5 | 30.4 | 40.3 | 30.2 | 40.7 | 1 | 1 | [7 empty] | 107.9 | 154.9 | 171.4 | 95.6 | 476.3 | 362.8
2026-09-06 16:59:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.3 | 40.6 | 30.4 | 40.3 | 30.2 | 40.9 | 1 | 1 | [7 empty] | 106.3 | 152.2 | 168.2 | 94 | 458.5 | 355.8
2026-09-06 17:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.2 | 40.6 | 30.4 | 40.2 | 30.2 | 40.9 | 1 | 1 | [7 empty] | 106 | 151.8 | 167.3 | 93.7 | 451.3 | 345.1
2026-09-06 17:01:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.2 | 40.8 | 30.3 | 40.5 | 30.2 | 40.9 | 1 | 1 | [7 empty] | 105.6 | 151.7 | 166.9 | 93.6 | 449.2 | 343
2026-09-06 17:02:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.2 | 40.9 | 30.1 | 40.6 | 30 | 41.1 | 1 | 1 | [7 empty] | 104.9 | 150 | 163.9 | 92 | 445.1 | 337.8
2026-09-06 17:03:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.1 | 40.9 | 30.3 | 40.6 | 30 | 41.2 | 1 | 1 | [7 empty] | 103.8 | 147.7 | 159.7 | 89.9 | 440.8 | 334.9
2026-09-06 17:04:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30 | 41.1 | 30.2 | 40.7 | 30.1 | 41.2 | 1 | 1 | [7 empty] | 101.3 | 143.9 | 155.6 | 87.8 | 433.4 | 326.7
2026-09-06 17:05:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.9 | 40.9 | 30.2 | 40.8 | 30 | 41.2 | 1 | 1 | [7 empty] | 97.9 | 139.5 | 151.8 | 85.6 | 426 | 320.2
2026-09-06 17:06:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30 | 41.1 | 30.1 | 40.9 | 30 | 41.2 | 1 | 1 | [7 empty] | 93.5 | 134.3 | 148.1 | 83.4 | 416 | 307
2026-09-06 17:07:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30 | 41.1 | 30 | 41.1 | 29.9 | 41.4 | 1 | 1 | [7 empty] | 89.2 | 128.5 | 143.5 | 82.3 | 403 | 299.5
2026-09-06 17:08:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.9 | 41.3 | 30 | 41.1 | 29.9 | 41.4 | 1 | 1 | [7 empty] | 85.5 | 123.5 | 139.6 | 79.9 | 391.1 | 287.2
2026-09-06 17:09:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.9 | 41.3 | 29.9 | 41.1 | 29.9 | 41.6 | 1 | 1 | [7 empty] | 82.2 | 119.4 | 136.7 | 78.5 | 380.7 | 275.2
2026-09-06 17:10:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.8 | 41.4 | 29.9 | 41.2 | 29.9 | 41.6 | 1 | 1 | [7 empty] | 79.7 | 116.4 | 133.7 | 76.5 | 369.2 | 268.8
2026-09-06 17:11:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.8 | 41.3 | 30 | 41.2 | 29.9 | 41.8 | 1 | 1 | [7 empty] | 77.4 | 113.5 | 131 | 74.6 | 357.8 | 260.6
2026-09-06 17:12:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.8 | 41.4 | 29.9 | 41.2 | 29.7 | 41.9 | 1 | 1 | [7 empty] | 74.4 | 110.4 | 127.7 | 72.3 | 346 | 251.4
2026-09-06 17:13:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.7 | 41.5 | 29.9 | 41.2 | 29.8 | 41.9 | 1 | 1 | [7 empty] | 70.8 | 105.7 | 123.2 | 69.6 | 333.3 | 235.8
2026-09-06 17:14:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.7 | 41.6 | 30 | 41.2 | 29.7 | 41.9 | 1 | 1 | [7 empty] | 67.4 | 101.7 | 119.1 | 67.9 | 321.5 | 224.2
2026-09-06 17:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.7 | 41.7 | 29.9 | 41.1 | 29.7 | 41.8 | 1 | 1 | [7 empty] | 64.3 | 97.7 | 114.7 | 65.4 | 310 | 218.2
2026-09-06 17:16:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.7 | 41.5 | 29.9 | 41.3 | 29.6 | 41.8 | 1 | 1 | [7 empty] | 60.7 | 92.7 | 110.1 | 62.7 | 299.1 | 207.9
2026-09-06 17:17:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.7 | 41.6 | 29.9 | 41.3 | 29.7 | 41.9 | 1 | 1 | [7 empty] | 60.1 | 91.7 | 109.6 | 62.4 | 297.5 | 205.3

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-06 00:00:00 | To | 2026-09-06 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 111
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 111
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 111
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 111
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 111
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 111
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 29.4 | 30.42 | 31 | 58
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 39 | 40.42 | 42 | 58
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 29.2 | 30.45 | 31 | 58
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 39.3 | 40.3 | 42.2 | 58
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 28.9 | 30.22 | 30.8 | 58
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 40.1 | 40.97 | 43.1 | 58
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 1 | 1.4 | 3 | 58
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 1 | 1.57 | 3 | 58
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 28 | 29.59 | 30.8 | 53
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 28.3 | 29.8 | 31 | 53
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C | 28.9 | 29.95 | 30.9 | 53
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C | 28.1 | 29.59 | 30.7 | 53
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 27.9 | 29.22 | 30.2 | 53
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 28.3 | 29.18 | 29.9 | 53
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 27.7 | 29.03 | 30 | 53
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 60.1 | 225.8 | 551.7 | 58
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 91.7 | 316.41 | 709.6 | 58
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 109.6 | 268.34 | 538.3 | 58
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 62.4 | 146.85 | 284.8 | 58
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 297.5 | 689.99 | 1317.8 | 58
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 205.3 | 794.15 | 1874.9 | 58
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 110
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 110
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 110
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 110
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 110
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 110
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 28.2 | 31.41 | 33.2 | 97
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 29.4 | 35.89 | 40.7 | 97
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 27.5 | 30.65 | 32.4 | 97
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 30.5 | 36.95 | 41.7 | 97
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 27.7 | 31.07 | 32.8 | 97
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 29.8 | 36.31 | 41.3 | 97
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 2 | 5.89 | 18 | 97
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 2 | 3.88 | 7 | 97
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 28 | 31.51 | 34.7 | 110
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 29.2 | 31.27 | 34.2 | 110
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 28.6 | 32.75 | 40.7 | 110
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 27.3 | 29.67 | 31.3 | 110
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 27.2 | 29.4 | 31 | 110
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.8 | 28.96 | 30.6 | 110
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 27.1 | 29.27 | 30.9 | 110
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 163.1 | 539.83 | 718.5 | 97
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 652.5 | 2238.62 | 3026.7 | 97
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 328.9 | 1042.96 | 3230.2 | 96
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 633.94 | 969.7 | 67
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 897.1 | 9920.43 | 32564.2 | 96
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 1267.1 | 4470.5 | 68
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.37 | 6.2 | 15.82 | 92
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 25.6 | 28.29 | 31.6 | 92
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 34.2 | 45.39 | 56.3 | 92
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 908 | 908.39 | 911 | 92
WS-MOD-01 | WS-DIR | Arah Angin | ° | 25.4 | 208.08 | 357.4 | 91

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.