## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-09 00:00:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.5 | 24.4 | 30.3 | 29.9 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.2 | 29.4 | 55.2 | 29.3 | 55.5 | 1 | 1 | 24.4 | 24.8 | 24.1 | 24.6 | 27 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.8 | 0.4 | 50 | 0.41 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.8 | 0.56 | 50 | 0.38 | 226.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.1 | 0 | 0 | 1.85 | 50 | 0 | 0.39 | 21.6 | 87.8 | 911 | 287.2
2026-09-09 00:01:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25.1 | 28.6 | 24.4 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 55.2 | 29.5 | 55.2 | 29.4 | 55.6 | 1 | 1 | 24.4 | 24.8 | 24.3 | 24.5 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.9 | 0.4 | 50 | 0.42 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.8 | 0.56 | 50 | 0.38 | 226.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.1 | 0 | 0.4 | 1.85 | 50 | 1 | 1.13 | 21.6 | 87.7 | 911 | 215.7
2026-09-09 00:02:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.6 | 24.4 | 30.3 | 29.9 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.1 | 29.5 | 55.3 | 29.4 | 55.6 | 1 | 1 | 24.3 | 24.8 | 24.2 | 24.6 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.9 | 0.4 | 49.9 | 0.42 | 225.9 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.4 | 0.12 | 10.3 | 0.56 | 49.9 | 0.38 | 226.3 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.1 | 0 | 0 | 1.85 | 49.9 | 0 | 2.86 | 21.5 | 87.9 | 911 | 224
2026-09-09 00:03:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25.1 | 28.6 | 24.5 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.1 | 29.6 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.3 | 24.8 | 24.2 | 24.6 | 27 | 27 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 10.9 | 0.4 | 50 | 0.42 | 226.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.12 | 10.9 | 0.56 | 50 | 0.39 | 226.4 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 1.85 | 50 | 0 | 3.87 | 21.5 | 88 | 911 | 249
2026-09-09 00:04:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.6 | 24.5 | 30.4 | 29.9 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.1 | 29.4 | 55.2 | 29.3 | 55.5 | 1 | 1 | 24.4 | 24.8 | 24.2 | 24.6 | 26.9 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 11 | 0.4 | 50 | 0.42 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.12 | 10.8 | 0.56 | 50 | 0.39 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 1.85 | 50 | 0 | 1.14 | 21.4 | 88.4 | 911 | 239.9
2026-09-09 00:05:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25.1 | 28.5 | 24.5 | 30.3 | 29.9 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 55.2 | 29.5 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.4 | 24.9 | 24.2 | 24.6 | 27 | 27 | 26.8 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.12 | 10.8 | 0.56 | 50 | 0.38 | 226.3 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.1 | 0 | 0 | 1.85 | 50 | 0 | 1.36 | 21.5 | 88.4 | 911 | 158.5
2026-09-09 00:06:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 25 | 28.6 | 24.6 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.1 | 29.5 | 55.2 | 29.4 | 55.5 | 1 | 1 | 24.4 | 24.9 | 24.2 | 24.6 | 27 | 27 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.1 | 0.12 | 10.8 | 0.4 | 49.9 | 0.42 | 225.9 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.3 | 0.12 | 10.9 | 0.56 | 50 | 0.39 | 226.1 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226 | 0 | 0 | 1.85 | 50 | 0 | 2.61 | 21.5 | 88.2 | 911 | 231.8
2026-09-09 00:07:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25.1 | 28.5 | 24.4 | 30.4 | 29.9 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.2 | 29.5 | 55.2 | 29.4 | 55.5 | 1 | 1 | 24.3 | 24.8 | 24.1 | 24.6 | 26.9 | 27 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 10.8 | 0.4 | 50 | 0.41 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.12 | 10.9 | 0.56 | 50 | 0.39 | 226.4 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 2.11 | 21.5 | 88.4 | 911 | 308.8
2026-09-09 00:08:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.5 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.2 | 29.3 | 55.4 | 29.3 | 55.5 | 1 | 1 | 24.4 | 24.9 | 24.1 | 24.5 | 27 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.12 | 10.8 | 0.56 | 50 | 0.39 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 0.86 | 21.4 | 88.3 | 911 | 254.7
2026-09-09 00:09:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25.1 | 28.5 | 24.5 | 30.4 | 29.9 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.2 | 29.5 | 55.3 | 29.4 | 55.6 | 1 | 1 | 24.3 | 24.9 | 24.2 | 24.6 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 10.8 | 0.4 | 50 | 0.41 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.12 | 10.7 | 0.56 | 50 | 0.39 | 226.4 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 1.85 | 50 | 0 | 0.88 | 21.5 | 88.2 | 911 | 215.5
2026-09-09 00:10:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25.2 | 28.6 | 24.5 | 30.4 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 55.1 | 29.5 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.4 | 24.9 | 24.2 | 24.6 | 26.9 | 26.9 | 26.8 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.3 | 0.12 | 11 | 0.4 | 49.9 | 0.41 | 226 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.4 | 0.13 | 10.9 | 0.56 | 49.9 | 0.39 | 226.3 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.1 | 0 | 0.4 | 1.85 | 49.9 | 1 | 1.14 | 21.6 | 88 | 911 | 253.7
2026-09-09 00:11:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25.2 | 28.6 | 24.5 | 30.4 | 29.9 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.1 | 29.5 | 55.4 | 29.4 | 55.5 | 1 | 1 | 24.4 | 24.9 | 24.2 | 24.5 | 26.9 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 11 | 0.4 | 50 | 0.41 | 226.1 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.6 | 0.13 | 10.8 | 0.56 | 50 | 0.38 | 226.4 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 1.85 | 50 | 0 | 1.36 | 21.5 | 88 | 910 | 285.9
2026-09-09 00:12:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.6 | 24.5 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.2 | 29.5 | 55.3 | 29.4 | 55.6 | 1 | 1 | 24.4 | 24.8 | 24.2 | 24.6 | 27 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.13 | 10.8 | 0.56 | 50 | 0.38 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 1.61 | 21.5 | 88 | 910 | 306.4
2026-09-09 00:13:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.5 | 24.4 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.1 | 29.5 | 55.2 | 29.4 | 55.6 | 1 | 1 | 24.4 | 24.8 | 24.2 | 24.5 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 11 | 0.4 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 3.16 | 21.5 | 88.2 | 910 | 286.9
2026-09-09 00:14:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25.1 | 28.6 | 24.5 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55 | 29.5 | 55.3 | 29.3 | 55.6 | 1 | 1 | 24.5 | 24.9 | 24.3 | 24.6 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 10.9 | 0.4 | 49.9 | 0.41 | 226.1 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.6 | 0.13 | 11 | 0.56 | 50 | 0.39 | 226.4 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.3 | 0 | 0 | 1.85 | 50 | 0 | 2.86 | 21.4 | 88.5 | 910 | 230.8
2026-09-09 00:15:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.5 | 24.5 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 55.2 | 29.5 | 55.3 | 29.3 | 55.5 | 1 | 1 | 24.4 | 24.9 | 24.3 | 24.6 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.13 | 10.8 | 0.56 | 50 | 0.38 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 2.86 | 21.4 | 88.5 | 910 | 222.5
2026-09-09 00:16:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25.1 | 28.5 | 24.5 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.2 | 29.4 | 55.3 | 29.5 | 55.6 | 1 | 1 | 24.4 | 24.9 | 24.1 | 24.6 | 27 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 11 | 0.4 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.13 | 11 | 0.56 | 50 | 0.38 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0.4 | 1.85 | 50 | 1 | 3.1 | 21.4 | 88.3 | 910 | 316.5
2026-09-09 00:17:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.4 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.1 | 29.5 | 55.3 | 29.3 | 55.5 | 1 | 1 | 24.3 | 24.9 | 24.2 | 24.6 | 27 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.4 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.5 | 0.13 | 11 | 0.56 | 50 | 0.39 | 226.4 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.2 | 0 | 0 | 1.85 | 50 | 0 | 2.85 | 21.3 | 88.6 | 910 | 294.6
2026-09-09 00:18:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.5 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.2 | 29.4 | 55.3 | 29.4 | 55.6 | 1 | 1 | 24.4 | 24.8 | 24.3 | 24.6 | 27 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 11.1 | 0.4 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0.4 | 1.85 | 50 | 1 | 2.1 | 21.3 | 88.8 | 910 | 288
2026-09-09 00:19:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25.1 | 28.5 | 24.5 | 30.4 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 55.3 | 29.5 | 55.3 | 29.3 | 55.6 | 1 | 1 | 24.4 | 24.9 | 24.2 | 24.6 | 26.9 | 27 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 11.1 | 0.4 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 5.34 | 21.3 | 88.8 | 910 | 262.3
2026-09-09 00:20:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.5 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.2 | 29.4 | 55.3 | 29.4 | 55.6 | 1 | 1 | 24.4 | 24.9 | 24.3 | 24.5 | 26.9 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 11 | 0.4 | 50 | 0.41 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 1.85 | 50 | 0 | 3.59 | 21.3 | 88.9 | 910 | 268.6
2026-09-09 00:21:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.5 | 30.4 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.3 | 29.4 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.3 | 24.8 | 24.2 | 24.6 | 27 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 11 | 0.4 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.8 | 0.56 | 50 | 0.38 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 4.11 | 21.3 | 88.8 | 910 | 287.6
2026-09-09 00:22:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.4 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.2 | 29.3 | 55.2 | 29.4 | 55.5 | 1 | 1 | 24.4 | 24.8 | 24.2 | 24.5 | 27 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.13 | 10.6 | 0.56 | 50 | 0.37 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.3 | 0 | 0 | 1.85 | 50 | 0 | 5.85 | 21.2 | 89.3 | 910 | 308.5
2026-09-09 00:23:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.4 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.3 | 29.5 | 55.3 | 29.4 | 55.6 | 1 | 1 | 24.5 | 24.8 | 24.2 | 24.6 | 26.9 | 26.9 | 26.8 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.6 | 0.12 | 11.2 | 0.4 | 50 | 0.42 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.13 | 10.7 | 0.56 | 50 | 0.38 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 2.87 | 21.2 | 89.6 | 910 | 346.9
2026-09-09 00:24:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.4 | 30.4 | 29.9 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.4 | 29.3 | 55.2 | 29.4 | 55.5 | 1 | 1 | 24.3 | 24.9 | 24.2 | 24.5 | 26.9 | 27 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0.4 | 1.85 | 50 | 1 | 2.88 | 21.2 | 89.4 | 910 | 289.5
2026-09-09 00:25:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 25 | 28.5 | 24.4 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.3 | 29.3 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.5 | 24.8 | 24.4 | 24.6 | 26.9 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 11 | 0.4 | 50 | 0.42 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 50 | 0 | 3.1 | 21.2 | 89.2 | 910 | 263.2
2026-09-09 00:26:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 25 | 28.5 | 24.4 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.3 | 29.3 | 55.3 | 29.2 | 55.5 | 1 | 1 | 24.4 | 24.8 | 24.2 | 24.5 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.5 | 0.12 | 10.8 | 0.4 | 49.9 | 0.41 | 226.2 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.6 | 0.12 | 10.7 | 0.56 | 49.9 | 0.39 | 226.5 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.3 | 0 | 0 | 1.85 | 49.9 | 0 | 2.86 | 21.3 | 89 | 910 | 258.5
2026-09-09 00:27:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.5 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.4 | 29.4 | 55.4 | 29.4 | 55.6 | 1 | 1 | 24.5 | 24.8 | 24.2 | 24.5 | 26.8 | 27 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 11.1 | 0.4 | 50 | 0.42 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.7 | 0.56 | 50 | 0.39 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 50 | 0 | 2.85 | 21.2 | 89.1 | 910 | 297
2026-09-09 00:28:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.4 | 30.4 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.4 | 29.4 | 55.4 | 29.4 | 55.5 | 1 | 1 | 24.4 | 24.8 | 24.2 | 24.5 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 0.4 | 49.9 | 0.41 | 226.3 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.7 | 0.12 | 10.9 | 0.56 | 50 | 0.39 | 226.6 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 4.61 | 21.1 | 89.5 | 910 | 303.8
2026-09-09 00:29:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 25 | 28.6 | 24.4 | 30.4 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.3 | 29.4 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.4 | 24.8 | 24.3 | 24.5 | 26.9 | 26.8 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 11 | 0.4 | 50 | 0.42 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.8 | 0.56 | 50 | 0.39 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 2.36 | 21.2 | 89.4 | 910 | 291.3
2026-09-09 00:30:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.4 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.3 | 29.4 | 55.4 | 29.4 | 55.7 | 1 | 1 | 24.4 | 24.7 | 24.3 | 24.5 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 0.4 | 50 | 0.42 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.8 | 0.56 | 50 | 0.39 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 1.62 | 21.2 | 89.2 | 910 | 342.2
2026-09-09 00:31:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 25 | 28.5 | 24.4 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.3 | 29.4 | 55.4 | 29.4 | 55.6 | 1 | 1 | 24.6 | 24.7 | 24.3 | 24.5 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 11 | 0.4 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.7 | 0.56 | 49.9 | 0.38 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 49.9 | 0 | 2.38 | 21.3 | 88.9 | 910 | 325
2026-09-09 00:32:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 24.9 | 28.6 | 24.4 | 30.3 | 29.8 | 28.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.3 | 29.4 | 55.3 | 29.4 | 55.7 | 1 | 1 | 24.6 | 24.8 | 24.3 | 24.5 | 26.9 | 26.8 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 11 | 0.4 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.12 | 10.6 | 0.56 | 50 | 0.38 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 4.35 | 21.2 | 89.2 | 910 | 318.7
2026-09-09 00:33:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.6 | 24.4 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.3 | 29.4 | 55.4 | 29.4 | 55.6 | 1 | 1 | 24.5 | 24.8 | 24.3 | 24.5 | 26.9 | 26.8 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 10.8 | 0.4 | 49.9 | 0.4 | 226.4 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.9 | 0.13 | 10.8 | 0.56 | 50 | 0.38 | 226.7 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 2.85 | 21.2 | 89 | 910 | 298
2026-09-09 00:34:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.6 | 24.4 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 55.2 | 29.4 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.5 | 24.8 | 24.3 | 24.5 | 26.9 | 26.8 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 11.1 | 0.4 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 2.86 | 21.2 | 89.3 | 910 | 319.8
2026-09-09 00:35:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.7 | 24.4 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.2 | 29.3 | 55.3 | 29.4 | 55.6 | 1 | 1 | 24.5 | 24.7 | 24.4 | 24.4 | 27 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 0.4 | 50 | 0.4 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.8 | 0.56 | 49.9 | 0.37 | 226.6 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.5 | 0 | 0.4 | 1.85 | 49.9 | 1 | 2.37 | 21.3 | 89.1 | 910 | 315.8
2026-09-09 00:36:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.9 | 28.6 | 24.4 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.2 | 29.4 | 55.3 | 29.4 | 55.6 | 1 | 1 | 24.6 | 24.7 | 24.3 | 24.4 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 3.59 | 21.2 | 89.2 | 910 | 298.9
2026-09-09 00:37:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.6 | 24.4 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 55.2 | 29.4 | 55.3 | 29.3 | 55.5 | 1 | 1 | 24.7 | 24.7 | 24.4 | 24.4 | 26.9 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 10.8 | 0.4 | 50 | 0.4 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 50 | 0 | 3.59 | 21.1 | 89.6 | 910 | 296.7
2026-09-09 00:38:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.6 | 24.3 | 30.4 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.1 | 29.5 | 55.2 | 29.4 | 55.6 | 1 | 1 | 24.6 | 24.7 | 24.4 | 24.4 | 26.9 | 27 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.9 | 0.56 | 49.9 | 0.38 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 2.62 | 21 | 89.8 | 910 | 312.7
2026-09-09 00:39:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.9 | 28.5 | 24.4 | 30.4 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.1 | 29.4 | 55.4 | 29.4 | 55.5 | 1 | 1 | 24.5 | 24.6 | 24.4 | 24.4 | 26.9 | 26.9 | 26.8 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.8 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.13 | 11 | 0.56 | 50 | 0.38 | 226.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.8 | 0 | 0 | 1.85 | 50 | 0 | 2.88 | 21 | 89.9 | 910 | 312.7
2026-09-09 00:40:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.9 | 28.6 | 24.4 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55 | 29.3 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.5 | 24.6 | 24.4 | 24.4 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.9 | 0.12 | 11 | 0.4 | 50 | 0.41 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 10.8 | 0.56 | 50 | 0.37 | 227 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.8 | 0 | 0 | 1.85 | 50 | 0 | 1.89 | 21 | 89.9 | 910 | 322.2
2026-09-09 00:41:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 25 | 28.6 | 24.3 | 30.3 | 29.8 | 28.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55.1 | 29.5 | 55.4 | 29.4 | 55.5 | 1 | 1 | 24.6 | 24.6 | 24.4 | 24.4 | 26.8 | 26.8 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 227 | 0.12 | 10.9 | 0.4 | 50 | 0.4 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 10.8 | 0.56 | 50 | 0.38 | 227 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.8 | 0 | 0 | 1.85 | 50 | 0 | 0.87 | 21 | 89.9 | 910 | 303.7
2026-09-09 00:42:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.9 | 28.6 | 24.4 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 55 | 29.4 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.6 | 24.6 | 24.3 | 24.4 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 226.9 | 0.12 | 10.9 | 0.4 | 49.9 | 0.41 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 10.9 | 0.56 | 49.9 | 0.38 | 227 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.8 | 0 | 0 | 1.85 | 49.9 | 0 | 0.02 | 21.1 | 89.5 | 910 | 287.7
2026-09-09 00:43:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.9 | 28.6 | 24.4 | 30.4 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 54.9 | 29.4 | 55.3 | 29.4 | 55.6 | 1 | 1 | 24.7 | 24.6 | 24.5 | 24.3 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 227.1 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.2 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 227.1 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.9 | 0 | 0 | 1.85 | 50 | 0 | 1.62 | 21.2 | 89.1 | 910 | 319.8
2026-09-09 00:44:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.9 | 28.6 | 24.3 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 55 | 29.4 | 55.3 | 29.4 | 55.5 | 1 | 1 | 24.6 | 24.6 | 24.4 | 24.3 | 26.9 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 227.1 | 0.12 | 11.1 | 0.4 | 50 | 0.41 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.2 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 227 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.9 | 0 | 0.4 | 1.85 | 50 | 1 | 1.12 | 21.2 | 89 | 910 | 346.2
2026-09-09 00:45:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.9 | 28.7 | 24.3 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 55 | 29.4 | 55.4 | 29.4 | 55.5 | 1 | 1 | 24.6 | 24.6 | 24.5 | 24.3 | 26.9 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 227 | 0.12 | 10.9 | 0.4 | 50 | 0.41 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 10.9 | 0.56 | 50 | 0.38 | 227 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.8 | 0 | 0.4 | 1.85 | 50 | 1 | 1.37 | 21.2 | 89 | 910 | 346

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-09 00:00:00 | To | 2026-09-09 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0 | 0 | 46
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 20 | 20 | 20 | 46
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 46
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 46
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 46
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 46
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 46
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 46
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 46
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 46
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 29.6 | 29.75 | 29.9 | 46
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 24.9 | 25.01 | 25.2 | 46
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C | 28.5 | 28.55 | 28.7 | 46
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C | 24.3 | 24.43 | 24.6 | 46
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 30.3 | 30.34 | 30.4 | 46
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.7 | 29.79 | 29.9 | 46
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 28.8 | 28.93 | 29 | 46
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 46
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 46
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 46
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 46
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 46
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 46
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 29.4 | 29.49 | 29.6 | 46
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 54.9 | 55.18 | 55.4 | 46
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 29.3 | 29.43 | 29.6 | 46
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 55.2 | 55.3 | 55.4 | 46
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 29.2 | 29.38 | 29.5 | 46
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 55.5 | 55.55 | 55.7 | 46
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 46
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 46
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24.3 | 24.45 | 24.7 | 46
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.6 | 24.78 | 24.9 | 46
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 24.1 | 24.27 | 24.5 | 46
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 24.3 | 24.51 | 24.6 | 46
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.8 | 26.92 | 27 | 46
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.8 | 26.91 | 27 | 46
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.8 | 26.92 | 27 | 46
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 46
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.1 | 0.1 | 0.1 | 46
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.1 | 0.1 | 0.1 | 46
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0.1 | 0.1 | 0.1 | 46
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 46
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0.1 | 0.1 | 0.1 | 46
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 226.1 | 226.62 | 227.1 | 46
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.12 | 0.12 | 0.12 | 46
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.8 | 10.94 | 11.2 | 46
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 0.4 | 0.4 | 0.4 | 46
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.98 | 50 | 46
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.4 | 0.41 | 0.42 | 46
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 225.9 | 226.32 | 226.8 | 46
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 46
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 46
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.29 | 0.29 | 0.29 | 46
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.98 | 50 | 46
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 46
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 226.3 | 226.74 | 227.2 | 46
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.12 | 0.12 | 0.13 | 46
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 10.3 | 10.83 | 11 | 46
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 0.56 | 0.56 | 0.56 | 46
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.98 | 50 | 46
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.37 | 0.38 | 0.39 | 46
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 226.1 | 226.59 | 227.1 | 46
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 46
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 46
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 0.05 | 0.05 | 0.05 | 46
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.98 | 50 | 46
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 46
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 226 | 226.45 | 226.9 | 46
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 46
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0.07 | 0.4 | 46
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 1.85 | 1.85 | 1.85 | 46
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.99 | 50 | 46
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0.17 | 1 | 46
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.02 | 2.49 | 5.85 | 46
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 21 | 21.3 | 21.6 | 46
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 87.7 | 88.84 | 89.9 | 46
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 910 | 910.24 | 911 | 46
WS-MOD-01 | WS-DIR | Arah Angin | ° | 158.5 | 285.08 | 346.9 | 46

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.